## Slide 1: An Overview of ISO 13485:2016, Medical Devices—Quality Management Systems
Presented by: Michelle Johnston
Quality System Consultant
August 28, 2018

## Slide 2: Note to Self…
"Make sure you have finished speaking before your audience has finished listening."
-- Dorothy Sarnoff (accomplished Broadway singer and Brooklyn native)

## Slide 3: What is a Quality Management System?
People
Equipment
Processes
Components/Materials
Documentation
Products/Service

## Slide 4: ISO13485:2016
“Voluntary” standard—sort of
Generic in nature due to wide audience
This version was published in March 2016, there is a 3 year transition period for organizations registered to 2008 version
Applicable to finished medical device manufacturers, component manufacturers, and service providers

## Slide 5: Any Similarities Between ISO 13485 and ISO 9001? Yes
Emphasis on management support—the buck stops at the top
Define the quality management system
Need for documentation
Risk—more on that in a minute
Monitor and measurement of processes
Development of a quality policy and quality objectives
Employees must be trained
Processes: CAPA, internal audits, calibration (not all inclusive)

## Slide 6: Differences
Industries
  ISO 9001 is not industry-specific
  ISO 13485 is specific to the medical device industry
    There are specific requirements for some types of medical devices (sterile or implantable)
    Requirements for devices requiring installation
    Requirements for devices requiring servicing

## Slide 7: Differences
Management Representative
  No longer required by ISO 9001
Quality Manual
  No longer required by ISO 9001

## Slide 8: Differences
Format of the Standards
  ISO 9001 has 10 sections
  ISO 13485 has 8 sections
Section Headings

## Slide 9: Differences
ISO 9001 Terminology and Requirements
  Interested Parties
  External Providers
  Documented Information
  Internal and External Issues
  Opportunities (risk can be positive)
  Eliminated “preventive action”

## Slide 10: Differences
ISO 13485 Terminology and Requirements
  Medical Device File
  Risk Management (reference to ISO 14971—Risk Management standard for medical devices)
    Definition of “risk” differs as well as context. In this standard, risk cannot be positive
    Specific risk management records must be maintained
  Sterile medical devices
  Implantable medical devices
  Complaint—related to product

## Slide 11: In A Nutshell…
ISO 9001—focus on continual improvement and customer satisfaction, consideration of business needs, customer needs
ISO 13485—QMS “shall meet customer and applicable regulatory requirements for safety and performance”
Regulatory agencies don’t care about customer satisfaction—they care that medical devices are safe and effective
ISO 13485 is more stringent than ISO 9001

## Slide 12: Regardless of the standard, avoid this.

## Slide 13: A Closer Look at ISO 13485

## Slide 14: General Comments
Again, this is a voluntary standard, it is not a regulation
Not a lot of significant changes from 2003 version
Clarifying text—removed ambiguity
Stronger linkage to regulatory requirements
Requirements are similar to FDA Quality System Regulation—not identical
Note: If a company does not place a medical device in commercial distribution, many regulatory requirements do not apply. For example, a machine shop who provides a plastic component for a ventilator which their customer places on the market.

## Slide 15: Section 4: Quality Management System
Determine and implement processes, establish controls so that processes are effective
Monitor, measure, and analyze processes
Risk-based approach
Changes to processes must be evaluated for their impact on QMS and the medical devices
Software used in the QMS must be validated for their application—risk based determination

## Slide 16: Section 4: Documentation Requirements
Quality Manual
Medical Device File
Control of Documents
  Unlike ISO 9001, there are numerous required procedures.
Control of Records
  Protect confidential patient information
  Retention times can be driven by regulatory requirements or the lifetime of the device

## Slide 17: Section 4: Documentation Requirements
Avoid This:

## Slide 18: Section 5: Management Responsibility
Top management is responsible for the implementation and effectiveness of the QMS—activities can be delegated, responsibility for the QMS cannot
Appoint a management representative who reports to top management
Conduct management reviews at planned intervals (this is a comprehensive review of the QMS) Inputs and outputs are prescriptive
Quality planning—maintain the effectiveness of the QMS in spite of changes

## Slide 19: Management engagement/support is key!

## Slide 20: Section 6: Resource Management
Provide appropriate resources
Employee competent to perform their job functions
Provide and document training
Evaluate the effectiveness of training
Appropriate infrastructure to perform QMS activities
Document work environment controls necessary to achieve product requirements
Monitor and control environment when it can impact product quality

## Slide 21: Section 6: Resource Management
Control contamination
  Sterile devices—control particulate, maintain cleanliness during packaging and labeling activities
  Sterile devices are typically manufactured in a cleanroom or otherwise environmentally controlled area
  Consider ESD controls

## Slide 22: Section 7: Product Realization
Risk management during product realization—cradle to grave
Production planning
  Required documents/records
  Validation activities
Customer related requirements
  What are the customer needs?
  Can the organization meet these needs?
  Identify user training needs

## Slide 23: Section 7: Product Realization
Design and development activities:
  Control the design activities
  Define Responsibilities and authorities
  Beefed up design inputs, must be able to verify
    Consideration of human factors
  Beefed up requirements for verification and validation—statistically valid sample sizes
  Ensure design outputs are traceable to design inputs
  Satisfy regulatory requirements
  Maintain records (design file)

## Slide 24: Section 7: Product Realization
Control suppliers
  Evaluate and approve for use—responsible for outsourced processes
  Controls over supplier based on risk of what they provide
  Monitor performance
  Ensure adequacy of specified requirements (supplier agreement, purchase order, etc)
  Notification of changes by supplier so impact can be evaluated
Control of manufacturing and servicing requirements
  Activities shall be planned, carried out, monitored and controlled to ensure product meets specifications
  Records maintained, traceability identified
  Requirements for sterile devices
  Requirement for specific record for manufacturing history

## Slide 25: Section 7: Product Realization
Installation and Servicing Activities
Validation of sterile devices and sterile barrier systems

## Slide 26: Section 7: Product Realization
Validation of processes whose output cannot be fully verified.
  Includes computer software—level of validation dependent upon risk
  Requirements for sterilization validation
Product Identification, product status, and traceability requirements
Control customer property, this includes IP
Controls for the preservation of product
Control of measuring and test equipment

## Slide 27: Section 8: Measurement, Analysis, and Improvement
Establish feedback process
  Production and post-production
  Feed info into risk management process
Complaint handling process—complaints may need to be reported to regulatory agencies
Conduct internal audits, corrective actions timely
Monitor and measure processes
Monitor and measurement of product (QC activities)
Recall requirements—may need to be reported to regulatory agencies

## Slide 28: Section 8: Measurement, Analysis, and Improvement
Nonconforming Material
  Specific requirements for rework, impact on finished device
  Justification for Use As Is

## Slide 29: Section 8: Measurement, Analysis, and Improvement
Analysis of data to determine that the QMS is functioning effectively
  Defined inputs: product conformity, supplier data, internal audits, service reports, etc.
Implement changes (improvements) so that the QMS maintains effectiveness
Corrective/preventive actions to address QMS issues (can be processes or products)

## Slide 30: Closing Thoughts/Questions?
ISO 13485 takes a risk-based approach to the controls needed within your QMS
Generic but prescriptive
Focus is different than ISO 9001
Hard requirement for procedures throughout the standard
Bottom line—meet regulatory requirements

## Slide 31: How to Reach Me
Michelle Johnston
Principal Consultant
Advanced Quality System Solutions
San Diego, CA
858.722.4471
www.advqss.com

## Slide 32: Thanks for your time!