## PE-EM status
Standard Number | Year | Expiration Date | Sponsor | IEEE-SA Standards Board Approval Date | IEEE-SA Standards Board Reafffirmation Date | IEEE-SA Standards Board Stabilization Date | ANSI Approval Date | ANSI Reaffirmation Date | Title
11 | 2000 | 2018-12-31 | PE/EM | 2000-01-30 | 2006-12-06 |  | 2000-06-07 | 2007-05-18 | IEEE Standard for Rotating Electric Machinery for Rail and Road Vehicles
43 | 2000 | 2018-12-31 | PE/EM | 2000-03-06 | 2006-03-30 |  | 2000-10-12 | 2006-08-23 | IEEE Recommended Practice for Testing Insulation Resistance of Rotating Machinery
62.2 | 2004 | 2019-12-09 | PE/EM | 2004-12-08 | 2009-12-09 |  |  |  | IEEE Guide for Diagnostic Field Testing of Electric Power Apparatus - Electrical Machinery
67 | 2005 | 2020-09-30 | PE/EM | 2005-11-29 | 2010-09-30 |  | 2006-04-17 | 2011-08-11 | IEEE Guide for Operation and Maintenance of Turbine Generators
95 | 2002 | 2018-12-31 | PE/EM | 2002-03-21 | 2007-09-27 |  | 2002-08-01 | 2008-04-24 | IEEE Recommended Practice for Insulation Testing of AC Electric Machinery (2300 V and Above) With High Direct Voltage
112 | 2004 | 2018-12-31 | PE/EM | 2004-02-09 |  |  | 2004-05-12 |  | IEEE Standard Test Procedure for Polyphase Induction Motors and Generators
115 | 2009 | 2019-12-09 | PE/EM | 2009-12-09 |  |  | 2010-06-25 |  | IEEE Guide for Test Procedures for Synchronous Machines Part I—Acceptance and Performance Testing Part II—Test Procedures and Parameter Determination for Dynamic Analysis
252 | 1995 | 2018-12-31 | PE/EM | 1995-09-21 | 2007-09-27 |  | 1996-04-08 | 2008-04-24 | IEEE Standard Test Procedure for Polyphase Induction Motors Having Liquid in the Magnetic Gap
286 | 2000 | 2018-12-31 | PE/EM | 2000-03-30 | 2006-03-30 |  | 2000-10-30 | 2006-08-14 | IEEE Recommended Practice for Measurement of Power Factor Tip-Up of Electric Machinery Stator Coil Insulation
433 | 2009 | 2019-12-09 | PE/EM | 2009-12-09 |  |  | 2010-05-21 |  | IEEE Recommended Practice for Insulation Testing™ of AC Electric Machinery with High Voltage at Very Low Frequency
434 | 2006 | 2018-12-31 | PE/EM | 2006-12-06 |  |  | 2007-04-26 |  | IEEE Guide for Functional Evaluation of Insulation Systems for AC Electric Machines Rated 2300 V and Above
492 | 1999 | 2021-03-31 | PE/EM | 1999-01-28 | 2011-03-31 |  | 1999-05-12 | 2005-12-29 | IEEE Guide for Operation and Maintenance of Hydro-Generators
522 | 2004 | 2019-09-11 | PE/EM | 2004-02-09 | 2009-09-11 |  | 2004-05-12 | 2010-01-26 | IEEE Guide for Testing Turn Insulation of Form-Wound Stator Coils for Alternating-Current Electric Machines
620 | 1996 | 2018-12-31 | PE/EM | 1996-06-20 | 2008-12-10 |  | 1997-01-06 | 2009-04-30 | IEEE Guide for the Presentation of Thermal Limit Curves for Squirrel Cage Induction Machines
1110 | 2002 | 2018-12-31 | PE/EM | 2002-11-11 | 2007-09-27 |  | 2003-02-26 | 2008-04-24 | IEEE Guide for Synchronous Generator Modeling Practices and Applications in Power System Stability Analyses
1255 | 2000 | 2021-12-31 | PE/EM | 2000-08-07 | 2011-12-07 |  | 2001-01-05 | 2007-05-18 | IEEE Guide for Evaluation of Torque Pulsations During Starting of Synchronous Motors
1310 | 1996 | 2018-12-31 | PE/EM | 1996-07-03 | 2004-09-23 |  | 2005-02-02 |  | IEEE Recommended Practice for Thermal Cycle Testing of Form-Wound Stator Bars and Coils for Large Generators
1415 | 2006 | 2018-12-31 | PE/EM | 2006-12-06 |  |  |  |  | IEEE Guide for Induction Machinery Maintenance Testing and Failure Analysis
1434 | 2000 | 2018-12-31 | PE/EM | 2000-04-26 | 2005-09-22 |  | 2005-12-29 |  | IEEE Guide to the Measurement of Partial Discharges in Rotating Machinery
1553 | 2002 | 2018-12-31 | PE/EM | 2002-12-11 | 2007-12-05 |  | 2008-04-15 |  | IEEE Standard for Voltage Endurance Testing of Form-Wound Coils and Bars for Hydrogenerators
1665 | 2009 | 2019-09-11 | PE/EM | 2009-09-11 |  |  | 2010-01-19 |  | IEEE Guide for the Rewind of Synchronous Generators | 50 Hz and 60 Hz | Rated 1 MVA and Above
1776 | 2008 | 2018-12-31 | PE/EM | 2008-12-10 |  |  | 2009-07-06 |  | IEEE Recommended Practice for Thermal Evaluation of Unsealed or Sealed Insulation Systems for AC Electric Machinery Employing Form-Wound Pre-Insulated Stator Coils for Machines Rated 15 000 V and Below
1799 | 2012 |  | PE/EM | [5 empty] | Recommended Practice for Quality Control Testing of External Discharges on Stator Coils, Bars and Windings
C50.12 | 2005 | 2020-09-30 | PE/EM | 2005-09-22 | 2010-09-30 |  | 2005-12-29 | 2011-08-11 | IEEE Standard for Salient-Pole 50 Hz and 60 Hz Synchronous Generators and Generator/Motors for Hydraulic Turbine Applications Rated 5 MVA and Above
C50.13 | 2005 | 2020-09-30 | PE/EM | 2005-09-22 | 2010-09-30 |  | 2005-12-29 | 2011-08-11 | IEEE Standard for Cylindrical-Rotor 50 Hz and 60 Hz Synchronous Generators Rated 10 MVA and Above

## Standards
Status of Standards |  |  | Electric Machinery Committee | EMC Running Standards: 25
Standard No. | PAR No. | IEEE No. | Title | Status | Board Approved | ANSI Approved | Coordination - PES | Subcommittee/ Contact | WG #
11-2000 (R2011) |  | 11 | Standard for Rotating Machinery for Rail and Road Vehicles | Published 2000 | 2000-01-30 |  | IA | Motors/Innocent Kamwa
43 – 2000 (R2006) | P43 | 43 | Recommended Practice for Testing Insulation Resistance of Rotating Machinery | Published 2000 | 16-03-2000 |  | INSCON | Materials / Ian Culbert | WG-2
67 – 2005 (R2010) |  | 67 | Guide for Operation and Maintenance of Turbine Generators | Published 8-5-2006 | 29-11-2005 | 17-4-2006 |  | Generators / GEOFFREY S KLEMPNER
95 – 2002 (R2012) |  | 95 | IEEE recommended practice for insulation testing of AC electric machinery (2300 V and above) with high direct voltage | Published 12-4-2002 | 20-3-2002 | 1-8-2002 | INSCON | Generators / NILS E NILSSON
112 – 2004 | P112 | 112 | Test Procedure for Polyphase Induction Motors and Generators | Published 2004 | 09-02-2004 |  |  | Motors /Nick Stranges
115 – 2009 |  | 115 | Test Procedures for Synchronous Machines Part I – Acceptance and Performance Testing Part II – Test Procedures and Parameter Determination for Dynamic Analysis | Published 7-05-2010 | 09-12-2009 |  |  | Generator/ HARAN C KARMAKER | WG-12
286 – 2000 (R2012) |  | 286 | Recommended Practice for Measurement of Power-Factor Tip-Up of Rotating Machinery Stator Coil Insulation. | Published 2001 | 06-06-2000 | 30-10-2000 | INSCON | Materials / Stefano Bomben
433-2009 |  | 433 | Recommended Practice for Insulation Testing of AC Electric Machinery with High Voltage at Very Low Frequency | Published 21-02-2010 | 09-09-2009 | 21-05-2010 |  | Materials / Aleksandra Jeremic
434 – 2006 |  | 434 | Guide for Functional Evaluation of Insulation Systems for Large High Voltage Machines | Published 15-03-2007, Disapproved in Dec 2012 | 6-12-2006 | 26-04-2007 |  | Materials/Stefano Bomben
492 – 1999 (R2011) |  | 492 | Guide for Operation and Maintenance of Hydro-Generators | Published 19-2-1999 | 28-1-1999 | 12-05-1999 |  | Generators/Bob Drummond | WG-5
522 – 2004 (R2009) |  | 522 | IEEE Guide for Testing Turn Insulation of Form-Wound Stator Coils for Alternating-Current Electric Machines | Published 9-8-2004 | 9-2-2004 | 12-5-2004 |  | Materials / CHARLES A WILSON
620 – 1996 (R2008) |  | 620 | Guide for the Presentation of Thermal Limit Curves for Squirrel Cage Induction Machines | Publsihed 23-8-1996 | 20-6-1996 |  |  | Motors / NILS E NILSSON
1043-1996 (R2009) |  | 1043 | IEEE recommended practice for voltage-endurance testing of form-wound bars and coils | Published 14-04-1997 | 17-09-1996 | 6-02-1997 |  | Materials /Chuck Wilson
1110 – 2002 (R2007) |  | 1110 | Guide for Synchronous Generator Modeling Practices and Applications in Power System Stability Analyses | Published 11/11/2003 | 2002-02-26 | 2002-11-02 |  | Generators / Innocent Kamwa | WG-7
1255 – 2000 (R2011) |  | 1255 | Guide for Evaluation of Torque Pulsations During Starting of Synchronous Motors | Published 2000 | 7-8-2000 |  | IAS | Motors / Nick Stranges | WG-1255
1310-2012 |  | 1310 | IEEE Recommended Practice for Thermal Cycle Testing of Form-Wound Stator Bars and Coils for Large Rotating Machines | Published 4-10-1996 |  |  |  | Materials / Richard Huber | Matl - WG1310
1415-2006 | P1315 | 1415 | Guide for Induction Machinery Maintenance Testing and Failure Analysis | Published 21-May-2012 | 06-12-2006 | 30-04-2007 | ` | Motors/John Ready | WG-1415
1434 – 2000 (R2005) | P1434 | 1434 | Guide to Measurement of Partial Discharges in Rotating Machinery | Published 15-8-2000 | 26-04-2000 | 29-12-2005 |  | Materials / Willam McDermid
1553 – 2002 (R2007) |  | 1553 | Test and Acceptance Criteria for Voltage-Endurance Testing of Form-Wound Coils and Bars used in Hydroelectric Generators and Large Pumped Storage Motors | Published 7-3-2003 | 11-12-2002 |  |  | Materials / Alecksandra Jeremic
1665-2009 |  | 1665 | Guide for the Rewind of Synchronous Generators, 50 and 60 Hz, rated 1 MVA and above | Published 12-02-2010 | 1-09-2009 | 19-01-2010 |  | Generators/William Bartley | WG-3
1776-2008 |  | 1776 | Recommended Practice for Thermal Evaluation of Unsealed or Sealed Insulation Systems for AC Electric Machinery Employing Form-Wound Pre-insulated Stator Coils for Machines Rated 15000 V and Below | Published 13-2-2009 | 10-12-2008 | 13-02-2009 |  | Materials / Chuck Wilson
62.2-2004 (R2009) |  | 62.2 | IEEE Guide for Diagnostic Field Testing of Electric Power Apparatus - Electrical Machinery | Published 8-6-2005 | 8-12-2004 |  | PSIM | Materials /Chuck Wilson | WG62.2 | WG for Thermal Evaluation of Insulation Systems
1799-2012 | P1799 | 1799 | Recommended Practice for Quality Control Testing of External Discharges on Form-Wound Coils, Roëbel Bars, Vacuum Pressure Impregnated Stator Insulation and Fully Assembled Stator Windings |  |  |  |  | Materials/Rémi Tremblay | WG1799
C50.12-2005 (R2010) |  | C50.12 | Standard for salient-pole 50 Hz and 60 Hz synchronous generators and generator/motors for hydraulic turbine applications rated 5 MVA and above | Published 15-2-2006 | 22-9-2005 | 29-12-2005 |  | Generators / Kay Chen | WG-8
C50.13-2005 (R2010) |  | C50.13 | Standard for cylindrical rotor 50 and 60 Hz synchronous generators rated 10 MVA and above | Published 15-2-2006 | 22-9-2005 | 29-12-2005 |  | Generators / Kay Chen | WG-8
Note:A Standard number in the first column indicates there is a published standard. A PAR no. in second column indicates an active project.

## PARs
Status of PAR - Summary |  |  | EMC Running PARS: 11
Standard No. | PAR No. | IEEE No. | Title | Status | PAR Submitted | PAR Approved | PAR Extended | PAR Expires | Subcommittee | WG Chair | Expected Completion Date | Coordination requested PES | Coor. from others | WG #
43 – 2000 (R2006) | P43 | 43 | Recommended Practice for Testing Insulation Resistance of Rotating Machinery | PAR for a Revision to an existing IEEE Standard 43-2000 | 25-11-2009 | 5-2-2010 |  | 31-12-2013 | Materials | Ian Culbert | 2013 |  |  | WG-2
| P56 |  | Guide for Insulation Maintenance of Electric Machines | New Std:Guide for Insulation Maintenance of Electric Machines | 27-Jun-2012 | 30-Aug-2012 |  | 31-Dec-2016 |  |  | 2013 |  |  | PE/EM/Matl - WG56
C50.13-2005 | PC50.13 | C50.13 | Standard for cylindrical rotor 50 and 60 Hz synchronous generators rated 10 MVA and above | PAR for revision of an existing standard C50.13 | 06-05-2011 | 16-06-2011 |  | 31-12-2015 | Generators | Kay Chen
| P1812 | 1812 | Guide for Testing Permanent Magnet Machines | Par for a New Trial Use Guide for new Guide on Permanent Magnet Machines testing | 28-09-2009 | 09-12-2009 |  | 31-12-2013 | Motors | Haran Karmaker | 2013 |  |  | WG-2
112 – 2004 | P112 | 112 | Test Procedure for Polyphase Induction Motors and Generators | PAR for a Revision to an existing IEEE Standard 112-2004 | 11-11-2009 | 5-2-2010 |  | 31-12-2014 | Motors | Nick Stranges | 2014 |  |  | WG-12
117-1974 (R1991) | P117 | 117 | Standard Test Procedure for Thermal Evaluation of Systems of Insulating Materials for Random-Wound AC Electric Machinery | PAR for a Revision to an existing IEEE Standard 117-1974 | 12-10-2012 | 05-Dec-2012 |  | 31-Dec-2013 | Materials | Nancy Frost | 2013 |  |  | WG-4
| P1129 | 1129 | Guide for Induction Machinery MaintenanceTesting and Failure Analysis | New guide:Guide for Online Monitoring of Large Synchronous Generators (10 MVA and above) | 26-Jul-2012 | 02-11-2012 |  | 31-Dec-2016 | Generators | Isidor Kerszeinbaum (kerszei@songs.sce.com) | 2014 |  |  | WG-1129
1415-2006 | P1415 | 1415 | Guide for Induction Machinery MaintenanceTesting and Failure Analysis | PAR for a Revision to an existing IEEE Standard 1415-2006 | 06-05-2011 | 16-06-2011 |  | 31-12-2015 | Motors | John Ready | 2015 |  |  | WG1415
1434-2000 (R2006) | p1434 | 1434 | Guide to Measurement of Partial Discharges in Rotating Machinery | PAR for a Revision to an existing IEEE Standard 1434-2000 | 09-10-2010 | 8-12-2010 |  | 31-12-2014 | Materials | Bill McDermid | 2014 |  |  | WG-1434
| P1719 | 1719 | Guide for Evaluating Stator Cores of AC Synchronous Electric Machines Rated 1 MVA and Higher | New Std - 1719: Guide for Evaluating Stator Cores of AC Synchronous Electric Machines Rated 1 MVA and Higher | 25-Jun-2012 | 30-Aug-2012 |  | 31-Dec-2016 | Materials | Glenn Mottershead | 2015 |  |  | PE/EM/Matl - WG1719
| P1798 | 1798 | Recommended Practice for Thermal Evaluation of Unsealed or Sealed Insulation Systems for AC Electric Machinery Employing Form-Wound Pre-insulated Stator Coils for Machines Rated 15000 V and Below | PAR for the Adoption of a Non-IEEE Standard | 27-10-2008 | 30-01-2009 | ` | 31-12-2013 | Materials | Meredith Stranges | 2012 |  |  | WG1798

## Lapsed
Status of Standards |  |  | EMC Withdrawn Standards | Currently lapsed: 17
Standard No. | PAR No. | IEEE No. | Title | Status | Board Approved | ANSI Approved
58-1978 |  | 58 | IEEE Standard Induction Motor Letter Symbols | Published 30-06-1978 | 11-03-1976
86-1987 |  | 86 | IEEE recommended practice: definitions of basic per-unit quantities for AC rotating machines | Published 16-02-1987: Withdrawn on December 03, 1992 | 19-06-1986 | 01-01-1989
85-1973 (R1986) |  | 85 | IEEE Test Procedure for Airborne Sound Measurements on Rotating Electric Machinery | Published 1973: Withdrawn on August 05, 1996 | Uknown | Uknown
334-1994 |  | 334 | IEEE standard for qualifying continuous duty class 1E motors for nuclear power generating stations | Published 9-06-1994 | 28-03-1994
432-1992 |  | 432 | IEEE guide for insulation maintenance for rotating electric machinery (5 hp to less than 10 000 hp) | Published September 1992: Withdrawn on January 16, 2004 | 18-06-1992 | 04-01-1993
117-1974 (R1991) |  | 117 | Test Procedure for Evaluation of Systems of Insulating Materials for Random-Wound AC Electric Machinery | Published on May 1973: Withdrawn on January 16, 2004 | 24-05-1973 | 07-09-1976
1107 – 1996 |  | 1107 | IEEE recommended practice for thermal evaluation of sealed insulation systems for AC electric machinery employing random-wound stator coils | Published on July 1996: Withdrawn on January 16, 2004 | 8-7-1996 | 18-06-1997
1129 – 1992 (R1998) |  | 1129 | Recommended Practice for Monitoring and Instrumentation of Turbine Generators | Published on June 1992: Withdrawn on January 16, 2004 | 18-6-1992 | 4-1-1993
792-1988 (R1995) |  | 792 | IEEE Recommended Practice for the Evaluation of the Impulse Voltage Capability of Insulation Systems for AC Electric Machinery Employing FormWound Stator Coils | Published 1997: Withdrawn on January 10, 2002 | 14-06-1995 | 12-01-1996
275-1992 | P275 | 275 | IEEE recommended practice for thermal evaluation of insulation systems for alternating-current electric machinery employing form-wound preinsulated stator coils for machines rated 6900 V and below | Published 2-10-1992: Withdrawn on January 16, 2004 | 18-06-1992 | 04-01-1993
56 – 1977 (R1991) | P56 | 56 | IEEE guide for insulation maintenance of large alternating-current rotating machinery (10,000 kVA and larger) | Published 17-03-1977: Withdrawn on January 16, 2004 | 03-06-1976 | 20-04-1992
113-1985 |  | 113 | IEEE Guide: Test Procedures For Direct-current Machines | Published 21-12-1984 | 22-09-1983
429-1994 | P429 | 429 | IEEE recommended practice for thermal evaluation of sealed insulation systems for AC electric machinery employing form-wound preinsulated stator coils for machines rated 6900 V and below | Published 31/10/1994: Withdrawn on January 16, 2004 | 24-09-1994 | 17-04-1995
116-1975 (R1982) |  | 116 | IEEE standard test procedure for carbon brushes | Published 21-10-1975 | 30-5-1974 | 27-1-1984
304-1977 (R1991) |  | 304 | IEEE test procedure for evaluation and classification of insulation systems for direct-current machines | Published 8-9-1977: Withdrawn on January 16, 2004 | 9-9-1976 | 17-7-1981
115A-1987 |  | 115A | IEEE standard procedures for obtaining synchronous machine parameters by standstill frequency response testing (Supplement to ANSI/IEEE Std 115-1983, IEEE guide: test procedures for synchronous machines) | Replaced by 115-1995
252 – 1995 (R2007) |  | 252 | Standard Test Procedure for Polyphase Induction Motors having Liquid in the Magnetic Gap | Published 5-4-1996, lapsed in 2012 | 21-09-1995 |  | Motors/ Nils E Nilsson