# Advanced Concepts

in Transformer Protection

Detailed Syllabus:

Protection of Power Transformers

- Modes of Transformer Failure

- Winding Failures and causes (moisture, overheating, etc)

- Voltage regulating tapchangers

- Bushings

- Core issues

- Misc. (CTs, oil leakage, overvoltage, v/Hz, etc)

- Types of Protection

- Mechanical

- Accumulated gases

- Pressure relays

- Thermal

- Hot spot temperature

- Heating due to overexcitation, harmonics solar induced (DC)

- LTC overheating (arcing)

- Electrical

- Fuse

- Overcurrent protection

- Overexcitation

- Overvoltage

- Differential

- Ground differential

- Unique factors for differential electrical protection

- Differential protection basics

- Classic three line with matching CTs

- Digital implementation with matching, vector and zero-sequence accomplished in software

- Current magnitude differences

- Winding ratio

- CT ratio differences

- Tapchangers

- Mitigating current magnitude differences

- Vector shift/quantity derivation differences

- Phase shift

- CT configuration

- Operating state diffrential current differences

- Mitigating vector shift/quantity derivation differences

- Inrush phenomena and its effect on differential systems

- Types of inrush

- Initial

- Recovery

- Sympathy

- Mitigating inrush phenomena and its effect on differential systems

- CT saturation and effect on differential systems

- Causes and waveform patterns

- Mitigation of CT saturation effects on differential systems

- Overexcitation and effect differential systems

- Causes and waveform patterns

- Mitigation of overexcitation effects on differential systems

- Use of a ground differential element for sensitivity near transformer neutral

h)	Use of directional criteria for additional security (vs, high-Z method)

- Special concerns

- Switch on to fault

- High side

Use of high set differential element for sensitivity

- Low Side

Use of ground differential element for sensitivity

7)	Back up protection

  - High side (50, 51, BF)

  - Low side (51N, 51, 46, BF)

Setting a Relay – Overcoming Engineering Challenges

- Configure relay to “the outside world”

- Element enabling

- Element setting

- Setting groups

- Purposes and configuration

- Input / Output Matrixing (Marshalling)

- Programmable logic

- Setpoint review & printout

- Input / Output review & printout

- File saving & recall (file management)

Commissioning of Transformer Differential Protection Systems

- Phasing Issues

  - A-B-C vs. A-C-B

  - The “dreaded delta” winding

  - The even more dreaded delta CT winding

- Polarity Issues

  - Roll anyone?

- Injection Testing

  - From the panel inward

- Load Testing

  - From the panel outward

- Tools for Commissioning

  - Advanced metering

- Examples of phasing and roll issues

  - Vector displays

- Examples of phasing and roll issues

  - Digital Oscillography

- Examples of phasing and roll issues