ASC C37 Liaison Report

May 1998

IEC TC17 - SWITCHGEAR AND CONTROL GEAR – (ROBERT HARNER)

TC17 and its subcommittees are meeting in Frankfurt in June.  There should be a report for the TC17, SC17A, 17B, 17C, and 17D on these meetings for the October Switchgear meeting.

IEC SUB-COMMITTEE SC17A – HIGH VOLTAGE SWITCHGEAR AND CONTROLGEAR – (A.K. McCABE)

No meetings or activities during this time.

# SC17D:  LOW VOLTAGE SWITCHGEAR & CONTROLGEAR –

(CHARLES POLLICK)

No meetings or activities during this time.

TC 95 MEASURING RELAYS – (ERIC A. UDREN)

No meetings or activities during this time.

TC 32 AND SC32A HIGH VOLTAGE FUSES – (DR. JOHN LEACH)

During this period the first draft of an editorially revised IEC 282-1, and revision of Test Duty 3 was issued.  These documents were reviewed at a meeting of SC32A Working Group 3, which met in Arnhem, The Netherlands, on December 1st and 2nd 1997.  The editorial revision of 282-1 is an attempt to make the standard more “user friendly”, by reordering the sections, while a simplification of the alternate testing methods for TD3 is being attempted.

A new work order is to be proposed to study testing for current-limiting fuses in enclosures.

As a result of the December meeting, a revised version of 282-1 has been issued for comment.  The next meeting of the working group and subcommittee will be in Houston, USA, in October 1998.

# T/A 17C: HIGH VOLTAGE SWITCHGEAR AND CONTROL GEAR-

(PETE DWYER)

No meetings or activities during this time.

# IEC WORKING GROUP 23: - MEL SMITH

No meetings or activities during this time.

IEC SC-17B WORKING GROUP 5 – LOW VOLTAGE SWITCHGEAR AND CONTROL GEAR (FROM REPORT FILED BY PHILIP PIQUEIRA FEB. 98-(SUBMITTED BY L. H. SCHMIDT)

I.E.E.E. LVSC S/C

IEC REPORT

MAY 4, 1998

IEC SC-17B WOKING GROUP 5

LOW VOLTAGE SWITCHGEAR AND CONTROL GEAR

(FROM REPORT PREPARED BY PHILIP PIQUEIRA)

IMPACT STATEMENT:

WG5 CONSISTS OF EXPERTS FROM VARIOUS COUNTRIES WHICH HAVE THE ASSIGNED RESPONSIBILITY FROM SUBCOMMITTEE 17B FOR THE DEVELOPMENT OF LOW VOLTAGE STANDARDS COVERING INDUSTRIAL MOLDED CASE AND POWER CIRCUIT BREAKERS DEFINED BY UL, NEMA AND ANSI DOMESTIC STANDARDS.

IEC 17B WORKING GROUP HAS MOST RECENTLY MET IN NICE, ON FEBRUARY 17-18, 1998.  ATTENDING THIS MEETING WERE DELEGATES FROM FRANCE, GERMANY, ITALY, SOUTH AFRICA, SWITZERLAND, UNITED KINGDOM AND THE U.S.A.

VISITORS ATTENDING THIS MEETING WERE “ELECTRONICS EXPERTS” FROM ITALY, THE UNITED KINGDOM, AND FRANCE.

ACTIVITIES AND DISCUSSION ITEMS ARE ATTACHED AS FOLLOWS:

ITEM 1-CIRCUIT BREAKER SWITCHES

ITEM 2-REVISIONS TO ANNEX F

ITEM 3-METALLIC SCREEN

ITEM 4-EXTENSION OF ANNEX B

ITEM 5-CONSTRUCTIONAL REQUIREMENTS

ITEM 6-FURTHER MINOR AMENDMENTS TO 947-2

ITEM 7-OPERATION OF RCD’S (NOT DISCUSSED)

ITEM 8-ISOLATION FUNCTION SYMBOL (NOT DISCUSSED)

ITEM 9-WITHDRAWAL OF POWER FREQUENCY TESTS (NOT DISCUSSED)

ITEM 10-OVERVOLTAGE CATEGORY (NOT DISCUSSED)

ITEM 11-OVERLOAD TESTS AND INRUSH CURRENTS (NOT DISCUSSED)

ITEM 12-PLANNING FOR THE NEXT AMENDMENTS  OF 947-2

ITEM 13-DEGREES OF PROTECTION

ITEM 14-EMC

ITEM 15-SC17B ADVISORY GROUP MEETING

ITEM 16-ANY OTHER MATTERS

ITEM 17-NEXT MEETING

SUBMITTED BY:  L.H. SCHMIDT

ITEM 1-CIRCUIT BREAKER SWITCHES:  SEVERAL EDITORIAL TYPE CHANGES WERE AGREED TO AND ARE ATTACHED AS NICE (02).  THE CHANGES WERE NOT SUBSTANTIVE, AND THE DOCUMENT IS TO BE RELEASED AS A “CDV” ALONG WITH OTHER CD’s WHICH ARE NOW IN PROCESS.

ITEM 2-REVISIONS TO ANNEX F(EMF):  AN ADHOC TASK FORCE OF THE ELECTRONIC EXPERTS MET SEPARATELY DURING THE WG5 MEETING IN ORDER TO ARRIVE AT A CONSENSUS WITH RESPECT TO THE REVISION OF F.4.7 OF APPENDIX F.  THE CHANGES TO APPENDIX F WERE AGREED TO BY WG5 AND ARE ATTACHED AS NICE (03) AND NICE (03A).  AS AN ACTION ITEM, THE U.S.A. ELECTRONIC EXPERTS SHOULD REVIEW THESE CHANGES THOROUGHLY IN ORDER TO VERIFY THAT THEY ARE APPROPRIATE.  THIS DOCUMENT WILL BE BROUGHT UP TO DATE AND AGAIN ISSUED AS A CD DOCUMENT.

ITEM 3-METALLIC SCREEN:  THIS ITEM WAS ISSUED AS IEC 17B/863/NP, WITH 16 COUNTRIES APPROVING IT, AND 3 COUNTRIES VOTED AGAINST THE DOCUMENT WILL NOW BE ISSUED AS A “CD” DOCUMENT.  A NOTE WILL BE ADDED TO THE “CD” DOCUMENT THAT THIS CHANGE WILL ALSO BE INCORPORATED ON PAGE 71 OF IEC 947-2.

ITEM 4-EXTENSION OF ANNEX B:  THIS SUBJECT COVERS A PROPOSAL TO INCORPORATE REQUIREMENTS INTO ANNEX B TO COVER RESIDUAL CURRENT DEVICES WITH SENSORS SEPARATE FROM THE CIRCUIT BREAKERS.  IT IS A FAIRLY LENGTHY DOCUMENT AND THE QUESTION WAS RAISED AS TO WHETHER IT SHOULD BE INTEGRATED INTO IEC 947-2 OR WHETHER IT SHOULD BE A SEPARATE DOCUMENT.  IT WAS SUGGESTED THAT THE TECHNICAL CONTENT OF THE DOCUMENT SHOULD BE REVIEWED FIRST, PRIOR TO MAKING THE DECISION AS TO WHETHER IT SHOULD BE A SEPARATE DOCUMENT.  A TECHNICAL REVIEW OF THE DOCUMENT WILL BEGIN AT THE NEXT IEC 17B/WG5 MEETING.

ITEM 5-CONSTRUCTIONAL REQUIREMENTS:  SUBCLAUSE 7.1 OF IEC 947-2 IS NOT COMPLETE AS THERE ARE SOME TESTS REFERRED TO IN IEC 947-1 BUT ARE NOT DESCRIBED IN IEC 947-2.  THE PROPOSAL IS TO TRANSFER CLAUSE 7.1 FROM IEC 947-1 INTO IEC 947.2.  THIS WILL BE REVIEWED AT THE NEXT MEETING (WG5 MEETING IN FRANKFURT).  THERE IS A PROPOSAL INCLUDED AS NICE (04).

ITEM 6-FURHTER MINOR AMENDMENTS TO IEC 947-2:  FOR THE SHORT TIME WITHSTAND TEST, A REVISION WAS MADE TO REACTIVATE THE OVERCURRENT TRIP DEVICE(S), AFTER THE TEST.  ALSO, VERIFICATION OF DESCRIMINATION TESTS WERE DISCUSSED, AND THE WORKING GROUP AGREED THAT THESE TESTS SHOULD BE LEFT TO THE DESCRIMINATION OF THE MANUFACTURER, BECAUSE THEY ARE NOT PERFORMANCE TESTS.

ITEM 7-OPERATION OF RCD’S:  NO DISCUSSION OR ACTION NOTED.

ITEM 8-ISOLATION FUNCTION SYMBOL:  NO DISCUSSION OR ACTION NOTED.

ITEM 9-WITHDRAWAL OF POWER FREQUENCY TESTS:  NO DISCUSSION OR ACTION NOTED.

ITEM 10-OVERVOLTAGE CATEGORY:  NO DISCUSSION OR ACTION NOTED.

ITEM 11-OVERLOAD TESTS AND INRUSH CURRENTS:  NO DISCUSSION OR ACTION NOTED.

ITEM 12-PLANNING FOR THE NEXT AMENDMENTS OF IEC 947-2:  AMENDMENT #1 IS PRESENTLY PUBLISHED.  AMENDMENT #2 WILL BE FINALIZED AS A CDV AND WILL PROBABLY COVER CIRCUIT BREAKERSWITCHES, CONSTRUCTIONAL REQUIREMENTS, TEST SEQUENCE IV, OPERATION OF RCD’S AND ISOLATION FUNCTION.  AMENDMENT #3 WILL INITIATE THE NEXT EDITION OF IEC 947-2, AND WILL PROBABLY COVER THE REVISION OF ANNEX F-a, METALLIC SCREEN, WITHDRAWAL OF POWER FREQUENCY TESTS, OVERVOLTAGE CATEGORY, AND OVERLOAD TESTS AND INRUSH CURRENTS.

ITEM 13-DEGREES OF PROTECTION :  THIS DOCUMENT PROVIDES CRITERIA FOR CONDUCTING THE DUST TEST IN ANNEX C OF IEC 947-1.  IT WAS APPROVED BY 17 COUNTRIES WITH TWO NEGATIVE VOTES (FRANCE and HUNGARY).  THIS WILL BE DISTRIBUTED AS A CD DOCUMENT ALONG WITH THE METALLIC SCREEN DOCUMENT WHEN THAT IS ISSUED AS A CD DOCUMENT.

ITEM 14-EMC:  THE AD HOC ADVISORY GROUP TASK FORCE HAS BEGUN TO DEVELOP A PROPOSAL, IECSC17B947-1EMC, TO HARMONIZE THE EMC REQUIREMENTS WITH THE IEC 947.  THIS DOCUMENT IS INCLUDED AS NICE (06).  THE NEXT MEETING OF THE TASK FORCE WILL BE ON MAY 5, 1998 AND COMMENTS ARE BEING SOLICITED.  THESE REQUIREMENTS SHOULD BE COMPARED WITH THE REQUIREMENTS IN IEC 947-2 TO VERIFY THAT THERE IS COMPATIBILITY.

ITEM 15-SC 17B ADVISORY GROUP:  REVIEWED THE ISSUES DISCUSSED AT THE 17B ADVISORY GROUP MEETING, HELD PREVIOUSLY.  THE ADVISORY GROUP ALSO DISCUSSED THE ISSUES OF OVERVOLTAGE WITH RESPECT TO RCD’S AND DIRECTED WG5 TO FORWARD ITS VIEWS TO THE SECRETARY.

ITEM 16-OTHER MATTERS:  THE ISSUE OF THE NEED FOR SIMPLIFIED TEST PROCEDURES WHEN TESTING 1-POLE AND 2-POLE BREAKERS, PARTICULARLY WHEN THEY EMPLOY A “MODULAR CONSTRUCTION WHICH MAKES THEM VIRTUALLY IDENTICAL TO THE THREE POLE BREAKERS".  A PROPOSAL WILL BE PREPARED FOR FUTURE DISCUSSION.

ITEM 17-NEXT MEETINGS:

JUNE 18-19, 1998:  FRANKFURT, GERMANY

JUNE 22-23, 1998:  FRANKFURT, GERMANY

OCTOBER 19-20, 1998:  FLORIDA, U.S.A.