ADSCOM  Meeting Minutes

September 22, 1998

Calgary  AB  Canada

Introductions

Dean welcomed Naeem  Amahd  our new representative with IEEE standards

OFFICIAL BUSINESS

1.	Addition to the Ft. Lauderdale ADSCOM minutes

There is a safety concern related to "padlock multipliers"  used for multiple lock-outs on switchgear.  Some of these are too flimsy to hold the switchgear  in the required position.  See Pete Dwyers attachment.  It was suggested that ANSI 535.4 ; and 534.5 be consulted for lock standards.

2.	Posting minutes on the "web"

The experimental posting of the spring 1998 Ft. Lauderdale Switchgear  meeting minutes set on the Switchgear web page was a success.  For the near future we will continue to distribute paper copies as well.  The minutes can be accessed through  http\\www.ieee.org/power/power.html

All subcommittee minutes should continue to be sent to the secretary as Word 6.0 documents.

Technical council is "standardizing" on MS Word 6.0 for all electronic submissions.

3.0  	Reclosers and Sectionalizers Subcommittee is requesting a formal name change. They are proposing "Reclosers and other Distribution Equipment".  Some lively discussion followed with the outcome being R&S Subcommittee will submit a formal ADSCOM ballot on the proposed name change.  Those voting negative need to offer alternative acceptable names.

4.0	New officers

As of 1/1/99:

Ray Capra will join the legions of past chairmen

Dean Sigmon will become Chairman

Roy Alexander will become Vice Chair  papers & TCPC

Alec Monroe will become Secretary

Kieth Gray will remain Vice Chair standards coordination

5.0	 Vision for the Future

In line with Technical council's direction, We need ways to attract more users.  PES is offering panel sessions for continuing education (ECUs  being offered)  Themes are being established for each Summer or Winter Power Meeting. Each Committee is being "pressured to develop conference papers.

Specific Ideas for Switchgear committee:

- Technical presentations of interest to the users at Tuesday Luncheon, and Thursday 10:00 AM sessions.

- Promote the Switchgear meeting to local utilities and industries.  Issue letters inviting the local utilities, large industrials, and colleges/universities.  consider a special day rate for local attendees.  Advertise Switchgear meetings in regional "Scanfacts" newsletter

- Develop a 3 year meeting schedule for incorporation into the Power engineering Review

- Advertise that CEU credits are available for participation in standards making meetings.

- Offer Timely, user oriented tutorials (4 hours duration)

- Have an opening Plenary Session geared to first time attendees,  describing the subcommittees and working groups, and how they relate to standards.

- As a start, A Plenary session will be held for new attendees Monday morning at the Charleston meeting.  Roy Alexander will organize this.

- 6.0	Balloting Pool

- The IEEE headquarters listing of the Switchgear balloting pool was distributed to the Subcommittee Chairs for validation/correction.

- TO have a vote on standards, one must become a member of the Standards Association (and pay the $10. annual fee.) for info Email via ieee-sa@ieee.org

- Many members have complained that they  paid the 10$ and have received no invitations to ballot.

- IEEE is NOT policing the "one missed ballot and your out" rule.  The policing is at the discretion of the Subcommittee chairs.

- Information

- There is a letter from Paul Notarian concerning ANCE (Mexican) Standards group complete rewrite of a molded case breaker standard it took 10 years to get to the approval phase.

- Subcommittee Highlights (details can be found in the Subcommittee report)

- ER&P

- Larry Schmidt will be retiring and will be succeeded by Mietek Glinkowski  in the fall of 1999.

- We thank Larry for his many years of service as ER&P Chair.   Larry encouraged those who are at IEEE grade of "member" to apply for "Senior Member" status.  the number of committee members eligible for Fellow grade is proportional to the number of Senior Members.

- Chuck Wagner will be receiving the "Herman Halperin Award" For outstanding contributions in the field of  Electric Transmission and Distribution.

- Congratulations Chuck!

- HV Switch

- EEI negative on C37.34 will be pursued and resolved.

- HV Circuit Breakers

- A paper review competency form was distributed to help Jeff Nelson find appropriate paper reviewers.

- LV Switchgear Devices

- Reclosers and Sectionalizers

- Switchgear Assemblies

- Regarding metrification:  It is not necessary to revise a standard if metrification is the only change.

- ADSCOM WG

- Common Clauses

- A position has been taken on Altitude Correction Factors.  this will be balloted in ADSCOM and then put to the Balloting pool.

- IEC 694 has been broken into 5 sections: Conditions;  Ratings;  Design and Construction;  Design Tests (Type Tests);  Production Tests (Routine Tests)

- Each section is assigned to a Task Force to extract noncontroversial topics for incorporation in C37.100.1 ASAP.

- Alan Storms will succeed Larry McCall as chair.

- Reconstruction:

- Matching New light duty mechanisms for Vacuum interrupters, with old MOC auxiliaries is a difficult problem.  Sometimes the old Auxiliaries require almost as much operating force as the new vacuum interrupters!

- There has been a saftey concern with some poor quality  lock multipliers which have been used for lock out tag out requirements for each person holding a "work permit" to have his own lock.  some of these poor quality padlock multipliers don't prevent operation of the equipment they are locking out!  It was suggested that the apropriate  ANSI padlock standards be referenced.

- Technical Council

- The paper review process will be by electronic format by 2000. An editorial board will send papers directly to reviewers, bypassing the Committee vice chair, and Subcommittee chair hand offs currently used.

- Conference papers will be required 3 months in advance of a panel session, with abstracts required 18 months in advance!  This advance preparation tends to make a panel session more lecture oriented and less interactive.

- Future Meetings

- Charleston SC  The Mills House  May 24 - 27 1999

- Pittsburgh PA  Hilton and Towers Nov 1-4 1999

- Ft Lauderdale FL  Radisson Bahia Mar  May 7 - 11 2000

- West Coast          	Fall 2000

- St. Louis MO?		Spring 2001

- Quebec City		Fall 2001  (Hydro Quebec has volunteered to host)

Roy Alexander

Secretary Switchgear Committee