IEEE/PES

HIGH VOLTAGE CIRCUIT BREAKER

SUBCOMMITTEE MEETING

# MINUTES

## Calgary, Alberta  CANADA

Wednesday September 23, 1998

12:45 – 17:00

1.	Introduction of Members and Guests: 23 members, 8 Guests

2.	Approval of Minutes of Previous Meeting

- Membership  - NO CHANGES

- Current make up   U=15; M=15; G=12

- Changes at this meeting

New members:

Former members:

4.	Chairman's Report

5.	Reports of Working Groups

- Synthetic Testing (C37.081 & C37.083)	Mel Smith

- Quality and Reliability of HVCBs (C37.10.1)	Bill Bergman

- Ratings Structure (C37.04)			Ruben Garzon

- Test Procedure (C37.09)			Ruben Garzon

- Application Guide (C37.010)			Yasin Musa

- Circuit Switchers  (PAR under development)	Randy Dotson

- Conversion Standards (C37.59)			Pete Dwyer

- Joint IEC/IEEE WG on HVCB Power

Test Procedures (IEC SC17A/WG23)		Kirk Smith

- Old Business

a.	Generator Circuit Breakers (C37.013)		Bill Long

- New PAR to edit Scope of C37.013 to cover large breakers

- T. F. for supplement to C37.013 for small Gen. CB’s

b.	Old w.g. “C37.017” does not exist - is really “Synthetic Testing W. G.”

7.	New Business

a.	Re-structured Task Force on Cap. Switching under Roy Alexander

8.	Future Meetings

Charleston, SC – May 1999

Pennsylvania – Fall 1999

9.	Special Technical Presentation:			Kirk Smith

The Harmonization of ANSI & IEC HVCB Standards for TRVs

(Dr. Smith is convenor of WG 23, IEC SC17A )

Submitted by R. W. Long, Secretary HVCB,  24 September 1998

HVCB Working Group on Synthetic Testing of Circuit Breakers

### FALL-1998 Meeting, Calgary

The working group met on Monday afternoon.  We reviewed the results of our successful ballot of C37.083, Guide for Synthetic Capacitance Current Switching Tests to AC High Voltage Circuit Breakers.  We received 9 ballots with suggested editorial changes.  We also received a late negative ballot, which we also reviewed and incorporated into our document.  Our review resulted in some additional editorial changes.

After these changes are made to the base document it will be submitted to IEEE HQ for publication.  The above concludes all identified work for this working group.  It has taken longer than anticipated, but now we can see the end of the road.

H. M. (Mel) Smith, Chair

1998-9-23

HVCB Working Groups on Rating Structure and Test Requirements for HV Circuit Breakers

### FALL-1998 Meeting, Calgary

The two working groups met separately and then jointly on Tuesday morning and afternoon.  Although the previous ballots were technically “successful”, there were enough helpful comments and suggestions that it was decided to revise the drafts once again and submit DRAFT 3 of each for re-circulation ballots:

C37.04 ballots are due 7 October

C37.09 ballots are due 14 October.

The working groups discussed comments to DRAFT 3 documents, which are under ballot at the present time.  All comments were “editorial” in nature, and can be addressed without re-ballot.  If these re-circulation ballots are successful, the editorial changes will be made and the final drafts will be submitted to the standards board for final approval by January 1999 so that it will be ready for approval at the April 1999 Standards Board meeting.  They both could be published before the end of 1999.

Ruben Garzon, Chair

1998-9-23

HVCB Working Group on Application Guide

for AC High Voltage Circuit Breakers

### FALL-1998 Meeting, Calgary

#### Members	11

Guests	14

The working group met on Monday afternoon.  We reviewed the summary of the re-circulation ballot.  The document was sent out for re-circulation ballot in late June 1998.  The results are 75 affirmative votes (99%), 1 negative and 7 abstentions.  The working group discussed and resolved the comments associated with the negative ballot, which were mainly editorial.  The chair will respond to the person who submitted the negative ballot in writing to inform him of the working group discussions and the proposed resolutions of his comments.

Y. (Yasin) I. Musa, Chair

1998-9-23

HVCB Working Group on Circuit Switchers

### FALL-1998 Meeting, Calgary

#### Members	12

Guests	8

The working group met on Tuesday morning and afternoon.

The PAR was extended to December 1999.  But the PAR now has to be re-submitted in order to assign a “C37” series number to it.

Major items discussed during the meetings included:

One common value for the (wet) power frequency voltage withstand test

Leak rate 0.3% per year.  Under conditions of mechanical endurance testing,

high temperature or low temperature, the leak rate may be 5% (for each condition).

Comments on the present draft are due by October 31, 1998.  The next draft will be ready for circulation by January 2, 1999, and comments on the new January 2 draft are due by March 1, 1999.  Expect it to be ready for ballot by meeting in spring of 1999.

REQUEST MOTION at SWITCHGEAR COMMITTEE MAIN MEETING:

To form balloting group and to begin balloting process for the new Circuit Switcher Standard.

R. (Randy) L. Dotson, Chair

1998-9-23

HVCB Quality and Reliability 	1998-09-23 Calgary

Members	17

Guests	8

The PAR for work underway by the committee has been prepared, forwarded for presentation to the Standards Board, circulated for coordination and tentatively assigned the number C37.10.1

The draft was discussed during the meeting with editorial improvements, notes and guidance for users of the guide.  The Failure Modes and Effects Analysis (FMEA) was reviewed with additional failure causes identified.  The Risk Management section will have guidance on consideration of safety, environmental and other consequences.  The business model will have additional notes for clarification for a user of the guide.

An informal working group ballot will be held before the year end after incorporation of discussion at the Calgary meeting.

Permission is requested to have IEEE proceed with the balloting process for this document on the understanding that the PAR has been presented to the Standards Board.  Approval to proceed with balloting was subsequently granted at the main Switchgear meeting.

Subsequent to the meeting, Keith Gray has informed me that the PAR will now be presented to the Standard Board during it’s December 1998 meeting.

An updated membership list is attached.

W.J. (Bill) Bergman

1998-10-05

PAR FORM

Fill in the answers to the questions in the bracket provided.

A Hard Copy of this document must be printed, signed with the

appropriate signatures and mailed or faxed to the Standards

Department for submission to NesCom.

1.  Sponsor Date of Request [1998/10/29]

2.  Assigned Project Number (confer with staff) [C37.10.1]

3.  PAR Approval Date (leave blank) []

4.  Project Title, Copyright Agreement and Working Group

Chair for This Project

I will write/revise a Standards Publication with the

following TITLE (Spell out all acronyms)

[] Standard [for] (Document stressing the verb "SHALL."), or

[] Recommended Practice for (Document stressing the verb

"SHOULD.") or

[X] [Guide for the Selection of Monitoring for Circuit Breakers]

I hereby acknowledge my appointment as Official Reporter

(usually the W.G. Chair) to the (Name of Working Group)

[W.J. (Bill) Bergman to the Quality and Reliability Working Group]

In consideration of my appointment and the publication of the

Standards Publication identifying me, at my option, as an

Official Reporter, I agree to avoid knowingly incorporating

in the Standards Publication any copyrighted or proprietary

material of another without such other's consent and

acknowledge that the Standards Publication shall constitute a

"work made for hire" as defined by the Copyright Act, and,

that as to any work defined, I agree to and do hereby

transfer any right or interest I may have in the copyright to

said Standards Publication to IEEE.

Signature of Official Reporter

Chair______________________________________________

Name				[W.J. (Bill) Bergman]

Date				[1998/10/29]

Title				[Senior Engineering Specialist]

Company			[TransAlta Utilities]

Address				[P.O. Box 1900]

City				[Calgary]

State				[Alberta, Canada]

Zip				[T2P 2M1]

IEEE Member Number		[5707708]

Telephone			[(403) 267-7329]

Fax				[(403) 267-7415]

E-Mail				[bill_bergman@transalta.com]

5.  Describe this project:  (Choose ONE from each group

below)

a.	[NO] Update an existing PAR (Yes or No/project number/

approval date)  Is this in ballot now?  (Yes or No)

b.	[NO] New Standard (Yes or No)

[NO] Revision of an existing standard.  (No or

Yes/standard number/year)

[Yes, Supplement to C37.10, 1995] Supplement to an existing standard (No or

Yes/standard number/year)

c.	[X] Full Use (5-year life cycle)

[] Trial Use (2-year life cycle)

d.	[2000/12/31] Fill in target completion date for submittal to IEEE

Standards Review Committee (RevCom).

6.  Scope of Proposed Project (What is being done including

the technical boundaries of the project?)

[This Guide provides direction in the selection of monitoring and the diagnostic parameters used for power circuit breakers.  It provides guidance on appropriate parameters for various circuit breaker technologies.]

7.  Purpose of Proposed Project (Why is it being done,

including the intended user(s) and benefits to that user(s))

[To guide owners, manufacturers and third parties in selection of key circuit breaker parameters to be monitored.  This information will help the industry reduce failures, minimize maintenance and improve future designs with the application of appropriate monitoring.]

8.  Sponsor (Give full name; spell out all Acronyms)

Society/Committee:

[Power Engineering Society, Switchgear Committee]

9.

9(a.1) 	[NO] Are you aware of any patents, relevant to this

project?  (YES, [attach explanation] or No)

9(a.2) 	[NO] Are you aware of any copyrights relevant to this

project? (YES, [attach explanation] or No)

9(a.3) 	[NO] Are you aware of any trademarks relevant to this

project?  (YES, [attach explanation] or No)

9b. 	[NO]Are you aware of any other standards or projects with a

similar scope?  (YES, [attach explanation] or No)

9c. 	[DO NOT KNOW]Is this standard intended to form the basis of an

international standard?  (Yes, or No [attach explanation])

9d. 	[NO]Is this project intended to focus on health, safety or

environmental issues?  (Yes, [attach explanation], No, or Do

Not Know))

10. Proposed Coordination/Recommended Method of Coordination

(Coordination is accomplished in any of the following three

ways: Circulation of Drafts or Liaison Membership or Common

Membership.)

10a. Mandatory Coordination

SCC 10 (IEEE Dictionary) and IEEE Staff Editorial Review

Circulation of Drafts

SCC 14 (Quantities, Units, and Letter Symbols) Circulation of

Drafts

10b. IEEE Coordination requested by Sponsor: (Use additional

page if necessary).  If you believe your project will require

a Registration Authority, please list IEEE RAC (refer to

Working Guide).

[	PES Substation Committee, Circulation of Drafts]

If coordination is not required, please attach an

explanation.

10c. Additional Coordination Requested by Others.  (Leave

blank.  This will be completed by the Standards Staff).

[]

11. Submitted by: (This MUST be the Sponsor Chair or the

Sponsor's Liaison Representative to the IEEE Standards Board)

Signature of Submitter____________________________

Name			[Keith I. Gray]

Title			[]

Date			[10/29/98]

Company		[Pacific Breaker Systems Inc.]

Address			[190-J Camino Oruga]

City			[Napa]

State			[CA]

Zip			[94558]

IEEE Member Number	[]

Telephone		[707-226-1144]

Fax			[707-226-1784]

E-Mail			[k.i.gray@ieee.org]

# TRV HARMONIZATION 

RECOMMENDED CHANGES TO TRV REQUIREMENTS
IN IEC and ANSI/IEEE
HIGH VOLTAGE CIRCUIT BREAKER STANDARDS
TO PROMOTE HARMONIZATION

## Kirk Smith & Mel Smith

## Working Group SC17A/WG23

## June 1998

# The affected standards are

## High Voltage Circuit Breaker Standards

## IEC Publication 60056 (Formerly Publication 56)

## ANSI/IEEE	   C37.04, C37.09, C37.010  and PC37.011

## ANSI		   C37.06

# Similarities between the standards

## RRRV at 100% of rated Isc

#### both use 2 kV/usec as the RRRV

#### both use a time delay of 2 usec

## Peak TRV

#### first pole to clear factor of 1.3 for effectively grounded systems at 245 kV and above

#### maximum TRV peaks are nearly the same

#### time to reach TRV peaks are nearly the same

# Similarities between the standards

## Short Line Fault

#### surge impedance = 450 ohms

#### time delays:

##### 0.2 microseconds at rated voltages less than 245 kV

##### 0.5 microseconds at rated voltages of 245 kV and above

#### amplitude factor of 1.6

## Initial TRV

#### same requirements

# Differences between the standards

## Wave Shape

### ANSI/IEEE 	= exponential / 1-cosine wave (Ex-Cos)

### IEC 		= 4 parameter straight line description

## Ex-Cos and the 4-parameter TRVs

### similar in the beginning and similar at the peak

### diverge in the middle

## TRV Peaks at < 245 kV first pole to clear factor

### ANSI 	Kpp = 1.3

### IEC 	Kpp = both 1.3 and 1.5 listed

# The Importance of Harmonization of TRV Standards

## Both methods of describing TRV and of specifying ratings have served the industry very well.

## TRV failures in service are very rare

## A harmonized TRV will allow one set of tests to be performed under conditions that will satisfy both standards.

# 145 kV at 100% Isc - ANSI vs IEC TRVs

# Changes to ANSI/IEEE

## Adopt the 4-Parameter TRV as the Rated TRV description at 100% and 60% Isc, and

## Adopt the 2-Parameter TRV as the Rated TRV description at 30% and 10% Isc

## Adopt the Same RRRVs, time delays and delay line descriptions as IEC at 100% and 60% Isc

## Adopt the Peak Voltage values of Uc (E2) and times to peak of t2 presently in IEC standards at 100% and 60% of Rated Isc

# Changes to IEC

## Use Solidly Earthed as basis of rating from 100 to 170 kV so Kpp = 1.3 At all percentages of Isc (Kpp = 1.5 becomes a special non-standard case)

## Use Solidly Earthed as basis of rating from 100 to 170 kV so the out-of-phase switching voltage factor is 2 (Koop = 2.5 becomes a special non-standard case)

## Adopt the 2-Parameter TRV as the Rated TRV description at 30% Isc

# Changes to Both ANSI/IEEE & IEC

## Adopt new harmonized values for U1 and T1 as a compromise between ANSI and IEC to harmonize the 2 standards around the middle of the TRV wavefront where the major differences presently exists:

### Present IEC,      U1= 1.0 per unit with   (T2 / T1) = 3

### Present ANSI,   U1= 0.5 per unit  with  (T2 / T1) = 5.5 approximately

### Harmonized,     U1 = 0.75 per unit with  (T2 / T1) = 4

## New Compromise Peak TRV Values,

### Uc (E2) and t3 (T2) at 30% & 10% of Rated Isc

## Use new harmonized TRV values for the source side TRV under short line fault conditions

## Use new harmonized TRV values for the source side TRV under out-of-phase switching condition

## Develop new common 2-Parameter TRV values for special purpose fast rate of rise TRV conditions such as transformer fed faults based on the new trial use standard ANSI C37.06.1-1997

# Harmonized TRV with compromise U1 &T1

# Plan

## Revise working group document describing the recommendations for harmonized TRVs.

## Submit to the TC17 secretary Anne Bosma by November 1, 1998

## Secretary will format document as required by IEC and send it out as a committee draft (CD) for comment by the national committees

## Receive comments on the CD by April 1, 1999

## Working group meets to review the comments and decide on action

## Review comments at next TC17 meeting in Kyoto, Japan in 1999.

## Revise and send out as a Committee Draft for Voting (CDV)

## Issue as an amendment to IEC 56 upon a successful ballot.

## Follow a parallel path of action within IEEE Switchgear Committee and NEMA to get US acceptance of these TRV changes to result in amendments to C37.04, C37.06, C37.09 and other C37 series of standards.