IEEE SWITCHGEAR COMMITTEE CORRESPONDENCE

MINUTES:			IEEE High-Voltage Fuse Subcommittee

PLACE:				Calgary, Alberta, Canada

DATE AND TIME:		September 23rd 1998-- 1:15 PM

PRESIDING OFFICER:	T. E. Royster -- Chairman

RECORDER:			J. G. Leach -- Secretary

MEMBERS PRESENT

T. A. Bellei		S & C Electric Co.

G. Borchardt		S & C Electric Company

R. L. Capra 		Consultant

J. G. Leach		Hi-Tech Fuses, Inc.

J. R. Marek		Consultant

R.    Ranjan		General Electric Co.

T. E. Royster		Virginia Power

J. S. Schaffer		G & W Electric Co.

J. G. St. Clair		Consulting Engineer

J. G. Wood		Pacific Gas & Electric

M. Zandonella		Underwriters Lab.,  Inc.

J.    Zawadzki		Powertech Labs Inc.

MEMBERS ABSENT

J. G. Angelis		Kearney Company

R. H. Arndt		Consultant

J. L. Barger*		Cooper Power Systems

L. R. Beard  		A.B. Chance Co.

H. E. Foelker*	 	Central Power & Light

S. P. Hassler		Cooper Power Systems

W. J. Huber* 		Cooper Power Systems

G. Luzzi		Elastimold

F. J. Muench		Cooper Power Systems

R. N. Parry		Cutler Hammer

H. M. Pflanz*		Consultant

E. W. Schmunk*	S & C Electric Co.

GUESTS

D. Akers		Commonwealth Edison

M. Potter		Cooper Power Systems

M. Stavnes		S & C Electric

* Correspondence Only

1) The meeting was called to order by the chairman at 1:28 PM.

2) Members and guests introduced themselves.

- There was no change in membership

4) The May 6, 1998 minutes were accepted with a correction of C37.48 to C37.73 in item 8 b).

5) Report from the Chair

Tim Royster reported that the items of interest from the ADSCOM meeting included:

Meeting minutes are now available on the internet; one may get to them by going through the IEEE website or directly to:

www.ieee.org/society/power/subpages/committees-folder/switchgear/index.htm

Dean Sigmon discussed increasing participation in our meetings, particularly by users.  It is proposed that utilities, colleges, etc. in the vicinity of our meetings be contacted and possibly be given a reduced attendance fee.  In connection with this, it is proposed to have a brief introductory session prior to the meetings to explain what each subcommittee does.

The common clauses group, rather than try to assemble a complete document, will ballot and issue topics as available.  It will then be up to individual subcommittees to incorporate these into their own documents until a comprehensive C37.100.1 is produced containing all of the common clauses.

The Standards Association is still balloting non-members, but there will be a cut-off date, as yet unannounced.  One can check the balloting pool through the IEEE website.  It was noted that not all HVFSC members are SA members.

ADSCOM is seeking ways to reduce paperwork.  Due to the high cost of sending out minutes, it is proposed to put them on a website so that members can print out only the parts they need.

Members are urged to apply for Senior Member status, as the number of senior members influences how many fellows we can have.  Member survey forms are still required.

The "one missed ballot and you're out" is not presently enforceable.  However, working group chairs can have non-respondents removed from the pool.

6) Document/Project Coordinating Committee - R. Ranjan

Kris reported on document status and a copy of this is attached to the minutes as "Attachment A".

7) Working Group Reports

a) Revision of Fuse Standards -- John Leach reported that the Working Group met Monday, September 21st from 2:00 p.m. until 5:30 p.m. with nine members and six guests present, and again on Wednesday, September 23rd from 8:00 a.m. until 12:15 p.m. with ten members and two guests.  Almost all of the time had been spent addressing comments to the ballot of PC37.41 D1.  The intention is to form a balloting group to approve this document, which will leave the Spring meeting to address comments before the PAR expires.

There was then a general discussion on future work for this working group and the subcommittee.  It was suggested that we continue to have a full day for Revision of Fuse Standards, and having the two separate days was not detrimental, but actually helpful so that work could be done between the sessions.  it was decided that we should seek a PAR for C37.48, as the last revision was only partial, and we have to address concerns of the EEI.  Revision items still exist for C37.41 and C37.40, so after the new C37.41 is published, PARS for further revisions will be sought.

Some members again expressed concern over the C37.4X documents under the control of NEMA.  Although NEMA meeting are now "open", it was still felt that development was not by as representative a body as would be possible under the auspices of the IEEE.  In addition the approval process of NEMA documents contains no formal balloting at the H.V. fuse subcommittee level, and whether our members see the documents before being published is left to, largely, informal circulation of drafts and common membership.

Most members felt that we should approach NEMA with a view to "taking over" their C37.4X documents (as was done with some C37.7X documents).  One view in favor of this approach pointed out that NEMA fuse membership is not supporting the development of these documents (for the last five to ten years, attendance by non-NEMA organizations have equaled or exceeded NEMA companies at over fifty percent of the NEMA meetings).  On the other hand, a view against taking over NEMA documents was that presently all NEMA documents are automatically forwarded for approval by ASC to become ANSI documents.  However, IEEE is resisting getting ANSI approval for their standards.  IEEE would like all of its standards to be considered "world" standards rather than "American" standards.  However, on balance, the membership requested that overtures be made to NEMA to see if we could take over responsibility for C37.42 through C37.47.  Tim Royster agreed to contact Mervis Calwise (NEMA secretary).

b) Full Range Fuses --  In the absence of Dick Arndt and Frank Muench, no meeting was held.

8) Report of Liaison to Other Committees

a) NEMA -- Kris Ranjan reported that the NEMA committee met on Tuesday, September 22nd with three members and six guests.  Review of draft 14 of C37.46 was completed and draft 15 will be circulated, including to our subcommittee.  It contains some application information, which will be folded into C37.48 at its next revision.  This section also includes timely information on paralleling of fuses.  This topic appears to be causing some confusion at the moment, and a statement regarding testing has just been incorporated into the draft C37.41.

b) R&S WORKING GROUP  ON PADMOUNT FUSE SWITCHES --  Ray Capra reported that C37.73 had been approved by the IEEE Standards Board.  Parallel balloting of ASC had not been done, however.  Consequently, it is likely to be published only as an IEEE document (see item 7a!).  There is a new project to combine C37.71, 72, and 73 into C37.74.

c) ER&P COMMITTEE --  See Report from the Chair -- item 5.

d) COMMON CLAUSES -- John St. Clair reported Alan Stavnes   is the new chair of this group, which has split into five task groups.  Each subcommittee is being asked to supply a member for each group.  They are hoping to produce a first draft of a document containing non-controversial items by the first of the year (C37.100.1).  Unfortunately there are not many non-controversial items.....

9) Report of IEC Activities -- John Leach reported that activities since May involved a ballot of the revised IEC 60282-1, in preparation for the next meeting of TC32, SC32A and working group 3, which will be in Houston, Texas, USA in October.  There were no substantive comments from the USA, as most of the document is just an editorial reordering, and the test duty 3 changes were made with substantial input from the USA.  John reported that the main task of the USA will be to ensure there is no "watering down" of the full-range fuse test duty for fuses to be used at over 40°C (which is essentially "our" C37.41 testing requirements for full-range fuses).

10) Unfinished Business  --  None

11) New Business: --  None

12) Future Meetings:

Charleston, SC	Mills House	      May 24-27, 1999

Pittsburgh, PA ??		      Fall 1999

Ft. Lauderdale, FL		      Spring 2000

13) The meeting was adjourned at 2:46 PM.

Respectfully Submitted,

John G. Leach, Secretary

Attachment “A”

PROJECT STATUS - OCTOBER, 1998

Document	PAR	PAR	Contact	Status        Status

ID	Number	DATE	Person	Date

C37.41 - 1994	  PC37.41	06/95	J.G. Leach	10/98	Group is continuing

(704)322 2860		work on numerous

T Royster		revision items.

(804)271  5327

Standard	  PC37.48d	02/90	R.H. Arndt	10/98	A par C37.48.1 has

Application,			(414)548 9105		been approved to

Operation, and			T Royster		include the full range	Maintenance			(804)271  5327		fuse application.

Guide for Full					Draft 12 of current

Range CLF					limiting fuse tutorial

under review.