Date: 26 May 1999

Minutes: C37.20.7-19xx

Meeting date: 24 May 1999		Charleston, S.C.  	Spring PES meeting

Attendance: 10 members ( 1 unexcused ) / 25 guests

Action Items

- PAR P1405 was allowed to expire and a new PAR was requested for C37.20.7.  The PAR request will be on the 26 June Standards Board agenda.

- Changes made to the document;

- A. 2.5 multiplier added for 50 Hz testing

- B. Removal of the ungrounded equipment test condition

- C. Clarification on the “indicator” evaluation

- The new Draft 10 will be circulated to STL and the SA Subcommittee for review..

- Upon approval of the PAR, Draft 10 will be balloted.

- Copies of a paper from IREQ concerning test voltages was distributed for comments to the working group and the laboratory representatives.  Thanks to Marcel Fortin for obtaining permission from IREQ for the group to review this document.

The working group was adjourned and a task force meeting was held to draft an outline for a technical paper on Arc Resistant switchgear to accompany the Test Guide.  Areas to be discussed are assigned as follows:

System Configuration – Ted Olsen

Site Configuration – Chuck Ball

Protective Measures ( Electrical ) – Dave Swindler

Protective Measures ( Mechanical ) – M. Wactor, R. Puckett, D. Lemmerman

Arc Physics – M. Wactor, J. Zawadski, N. McQuin, M. Fortin, S. Wilson

General Document Discussion – Michael Wactor

Michael Wactor

Working Group Chairman