WG C37.21 Report

Spring 99

Meeting: Monday 24 May 1999

Members:	5

Guests:		5

Working Group reviewed key issues including:

- Metrification: WG resolved changes for all dimensions based on directives provided in IEEE Style Manual.

- Altitude Correction Factors for Switchboards: WG presently agreed to use presently used Altitude Correction factor table with reference to Common Clauses WG.

- Harmonization with C37.20.1 and C37.20.2: This work is still an open item and will be target of next meeting.

- Administrative Item:  The PAR has not been acted on.  Since no action Has been taken by the previous submittal made to Keith Gray by Dave Gohil, a new submittal will be made to Keith with Doug Edwards listed as WG chair.

Done.

Doug Edwards