# Common Clauses Working Group

Report to ADSCOM Subcommittee of IEEE Switchgear Committee

May 25, 1999

The WG Meeting was held the afternoon of May 24, 1999 with 40 members and guests in attendance.  A PAR has been completed but not submitted per the direction of Keith Gray.  Is this ADSCOM Policy?

Reports of the 5 Task Forces were received.  These are: 1) Service Conditions,

2) Ratings, 3) Design & Construction, 4) Type (Design) Tests, and 5) Routine (Production) Tests.

The Service Conditions Task Force provided a complete matrix of IEEE Standards vs. Service Conditions -  of 112 C37 standards, only 39 had service conditions specified.

The W/G will write and issue a technical report of every common requirement area to ensure retention of technical information supporting the standard.  We will begin with temperature rise and altitude correction.  The W/G will not just reference the IEC document, but will include it in the IEEE standard.  The goal is to accept what is technically sound in IEC 694, not just accept.  Harmonization does not mean make equal.

We need long range plans of each Subcommittee to actively support and use Common Clauses, when available and ensure a member is assigned to W/G.  Each S/C Chair should provide a list of standards for which they are responsible.

Altitude Correction will begin at sea level (NTP) conditions.  L. McCall will provide the W/G Draft to circulate and ballot.  Review of balloting show comment “IEEE mandate to use IEC.”

Alan D. Storms

W/G Chair