IEEE/PES  HIGH VOLTAGE CIRCUIT BREAKER SUBCOMMITTEE

MEETING  MINUTES

Charleston, SC   27  May  1999

- Introduction of Members and Guests:  25 members and  17 Guests met 26 May.

- Membership:   NO CHANGES:  Current make up   U=15; M=15; G=12.

- Plan to contact inactive members to verify intentions to become active.

- Add/delete members for Fall meeting.

- Chairman's Report:  .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .	Jeff Nelson

- The Chairman announced formation of a new working group to review technical papers submitted to HVCB for publication.  It is made up of individuals who filled out the paper review survey and others who have reviewed papers in the past 2 years.  WG members have agreed to read papers and return review forms on time.

- Word processing documents submitted to the HVCB Secretary for inclusion in the minutes to be put on the web page should be in Microsoft WORD 6.0 and spreadsheets should be in EXCEL 5.0.

- Common Clauses WG is reviewing IEC 694 as a blueprint for an IEEE Common Clauses document.  They plan to complete in stages instead of waiting till the whole document is complete.

- Each Subcommittee is to review its scope and submit any proposed changes to ADSCOM.  I will submit the following proposed scope for HVCB: "Treatment of all matters relating to high voltage power circuit breakers and circuit switchers (above 1000 volts ac and 3000 volts dc)."  The current scope does not include circuit switchers.

- Reports of Working Groups:

- Synthetic Testing (C37.081 & C37.083,rev.)  .   .   .   .   .   .   .	Mel Smith

- C37.081 – has been re-affirmed

- C37.083 – expect final approval at June 1999 REVCOM mtg.

- Quality and Reliability of HVCBs (C37.10.1, new).  .   .   .   .	Bill Bergman

- DRAFT 0.7 ballots due by to IEEE SA by 4 June

- HVCB Ratings Structure (C37.04, rev.) .   .   .   .   .   .   .   .   .	Ruben Garzon

- Expect final approval at June 1999 REVCOM mtg.

- HVCB Test Procedure (C37.09, rev.)  .   .   .   .   .   .   .   .   .   .	Ruben Garzon

- Expect final approval at June 1999 REVCOM mtg.

- Application Guide (C37.010, rev.) .   .   .   .   .   .   .   .   .   .   .   .	Yasin Musa

- Ballot delayed due to REVCOM policy.  Corrected now.

Expect final approval at September 1999 REVCOM mtg.

- Circuit Switchers  (PAR approved)  .   .   .   .   .   .   .   .   .   .   .	Randy Dotson

- Expect to ballot Sept. 1; plan to discuss comments at next meeting.

- Circuit Breaker Conversions Standard (C37.59, rev.).   .   .	Pete Dwyer

- Expect next draft Sept. 1; plan to discuss comments at next meeting.

- IEC WG on HVCB Power Test Procedures

(IEC SC17A/WG23)  .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .	Kirk Smith

Kirk Smith will take the lead of a New Task Force to see which ANSI C37 standards require amendments, to implement the revisions suggested by his working group.  This will likely lead to new PARs for C37.04 and C37.09, C37.010 and C37.081.

- Reports of Task Forces:

- Capacitive Current Switching (Amend  C37.04 & -.09 ) .   .   .   .	Roy Alexander

- Present Revs. of C37.04, C37.09 and C37.010 did not include updates for

- recent developments Capacitance Current Switching (IEEE 1247 and

- IEC 60056).

- T. F. plans to submit PARs to revise affected clauses by 1 August 1999.

- Draft is expected to be ready for Ballot during summer 2000.

- (Small) Generator Circuit Breakers (Amend  C37.013) .   .   .   .	Bill Long

- Negative ballot in ANSI C37 caused T. F. to consider the need for

- more definitive requirements for smaller generator circuit breakers

- need to be included: (10-50 MVA; 4 kV and 8 kV; and 1200 A, 2000 A,

- 3000 A, 4000 A and 5000 A continuous currents are to be added.)

- PAR by Aug. 1 and Draft to T. F. by Oct. 1.  Plan review comments at Nov. mtg.

- Received and acted on written request submitted to IEEE HQ from user for

clarification / interpretation of C37.013 asymmetrical current requirement.

- Old Business:

- HVCB using “Technical Paper Review” forms returned by several HVCB members.

- Special Technical Presentation		Georges Montillet  &  Denis Dufournet

##### “Three Phase Short-circuit Testing of High Voltage Circuit Breakers using Synthetic Testing”  (Please see attached PowerPoint File SwitchDufMont95.zip for more information.)

- New Business

- After the special presentation, Mel Smith was asked to look into whether a revision in C37.081, to cover three-phase synthetic tests may be in order.

- Future Meetings

- Pittsburgh, Pennsylvania	8-11 November 1999

- Ft. Lauderdale, Florida	May 2000

#### Submitted   26 May 1999  by R. W. Long, Secretary HVCB