- LVSD SUBCOMMITTEE MEETING

THE MILLS HOUSE HOTEL

CHARLESTON, SC

May 26, 1999

- 8:00 - 12:00 noon

## Minutes

·	Welcome and Introduction of Members and New Officers			R.J. Puckett

Chair		Jerry Jerabek

Vice Chair	Ned Simon

Secretary	Shaun Slattery

·	Calgary, Alberta, Canada Minutes were approved				R.J. Puckett

·	ADSCOM Committee Report							J.M. Jerabek

Meeting minutes will be placed on web site.  Committee mailing of minutes was running $1200/year and was being absorbed by the secretary’s company.

We should assume that all members have Internet access.

All submissions should be in MS Word 6.0.

The chair of each subcommittee is requested to submit a paragraph summarizing the subcommittee’s work. The subcommittee summaries will be published as part of an article in the PES journal.

Each subcommittee should have a representative on common clauses.  LVSD has R. Puckett & A. Storms.

Working groups are encouraged to present technical reports concerning any aspects of the work in their projects.  These reports would form the basis of information about how items were added, removed or changed for the background information of those reading the standards and those responsible for future updates.  These will be balloted within the working group before being submitted to ADSCOM.

·	IEC Report										L.H. Schmidt

See attached.

·	Old Business

-	C37.108 Guide for Protection of Network Transformers			N. McQuin

Draft 7 just arrived on Saturday and is under review.

-	C37.14 Std. for LV DC Power Circuit Breakers Used in Enclosures		G.R. Nourse

See attached.

- PC37.13.1 Guide for Low-Voltage AC Removable Elements Other than

### Low-Voltage AC Power Circuit Breakers Used in Enclosures.	P.J. Notarian

The Working Group for C37.13.1 met on Monday morning with 7 members and 4 guests.  A draft had been prepared based on C37.13, which Bob Puckett had marked up, and sent it to members.  A philosophical discussion resulted in a further change to the proposed title. It was agreed that the title should be "Standard for Definite Purpose Switching Devices for Use in Metal Enclosed Low Voltage Power Circuit Breaker Switchgear".  Since the PAR had not yet been approved, Paul will resubmit the PAR with the new title.  Also the plan is to revise the draft with the new name and other changes, and send it to the WG in June with a 45-60 day comment period. Hopefully a new draft will be ready for discussion in Pittsburgh.  The challenge beyond this initial start is to write a meaningful test program. The draft has no test program. It references C37.50.

- C37.29 Std. for LV AC Power Circuit Protectors Used in Enclosures	D.L. Swindler

See attached.

- -	NETA Update									A.D. Storms

- Alan D. Peterson, Chair of NETA Standards Review Council, gave a summary of NETA's on going work.  Alan noted that NETA is now a recognized standards writing group by ANSI.  Also, Alan stated that there is another group called National Electrical Contractors Association (NECA) that prepares equipment installation standards.  Presently NECA has a standard for Panel Boards installation out for ballots.

- ·	New Business

- C37.13 Low Voltage AC Power Circuit Breakers used in Enclosures	F.C. Teufel

It was agreed that this standard only needs to be reaffirmed before its expiration date.

- C37.27 Application Guide for LV AC Nointegrally Fused Power

#### Circuit Breakers							R.J. Puckett

The last reaffirmation of this standard has been used.  A PAR needs to be prepared and a working group started by the spring of 2000.

-	LVSD Standard Status Review and Technical Contacts			J.M. Jerabek

J.M. Jerabek reviewed the status of the standards for which LVSD is responsible.

-	LVSD Scope								J.M. Jerabek

Discussion noted the fact that Molded Case Circuit Breakers (MCCB's) had been previously removed by this subcommittee from the LVSD scope description. A motion was made by Dave Swindler, seconded and passed that reaffirmed that MCCB’s are not included in the scope of the LVSD Subcommittee.  J.M. Jerabek will have ADSCOM correct the LVSD scope description.

·	Future Meetings

- Pittsburgh, PA, Hilton Towers	Nov. 10, 1999

- Fort Lauderdale, FL, 			May 10, 2000

Working Group Report

WG C37.14

Standard for Low Voltage DC Power Circuit Breakers Used in Enclosures

# May 26, 1999

Draft 4 of the revised C37.14 was successfully balloted prior to the last meeting.  The last WG meeting occurred during the Calgary meeting.  Incorporation of the ballot and WG comments resulted in draft 5 of the document, which was then successfully recirculation balloted.  After review by the Standards Board, draft 5.1 of the document was approved as a Revision Standard on March 18, 1999.

The initial Negative ballots were the result of the elimination of the 1,000V maximum design rating for DC circuit breakers.  As a result, a formal request was made to ANSI and NEMA for revision of C37.16 to include both 1,000V and 1,200V ratings, as equipment of both ratings now exist.  There was agreement to do this, so the process of revision of C37.16 is now underway by NEMA.

Therefore, this is a request to initiate a new project for a C37.14 supplement to include both 1,000V and 1,200V DC circuit breaker ratings, in order to match the requirements of C37.16.

George R. Nourse

Working Group Chair

5/26/99