SWITCHGEAR ASSEMBLIES SUBCOMMITTEE

MINUTES OF THE SPRING, 1999 MEETING

CHARLESTON, SC

The meeting was called to order at 1:20 PM on May 26, 1999 with the introduction of the following members and guests:

MEMBERS:	C. Ball			T. A. Burse		E. R. Byron

D. Edwards		D. Gohil		J. M. Jerabek

D. J. Lemmerman	W. C. McKay		P. Notarian

G. R. Nourse		T. W. Olsen		G. O. Perkins

E. Peters		R. J. Puckett		G. Sakats

J. C. Scott		M. Wactor

GUESTS:	D. Akers		V. Chan		S. Kapodistrias					A. Livshitz		S. Meiners		A. Morgan

M. Orosz		J. Ross			S. P. Slattery

J. E. Smith		R. Sunkara		D. Thonsgard

J. Wiseman

EXCUSED MEMBERS:		J. J. Dravis		W. E. Laubach

R. Iyer

The minutes of the Fall, 1998 Switchgear Assemblies Subcommittee meeting in Calgary, Alberta were approved without correction.

ADSCOM Report

- The following ADSCOM meeting items were presented by Mr. Burse and discussed by the group:

- The IEEE Switchgear Committee Minutes are now on the web at: http://www.ewh.ieee.org/soc/pes/switchgear/index.htm

- When sending documents to be posted on the IEEE web site use Microsoft Word 6.0

- An article is being prepared for publication in the PES journal.  Each working group chair is urged to submit a brief summary of the group’s present work to T. Burse (tburse2powl.com) by 7/15/99.  Mr. Burse will pass on to R. Alexander.

- The “Reclosers and Sectionalizers” sub-committee will be changing its name.  The new name will be “Reclosers and Other Distribution Switchgear”.  In conjunction all sub-committees are urged to review their scope statements and submit any changes to R. Alexander as soon as possible.  Mr. Burse will coordinate this effort, any comments and/or suggestions should be submitted thru him.

- Mr. Burse will be sending the Switchgear Committee chair a summation of the Switchgear Assemblies Sub-Committee’s understanding of the “Peak Current” vs. “Momentary” Rating (as applied to Switchgear Assemblies).  In the same area, the C37.20.2 working group chair, Mr. Wactor, will solicit changes in negative ballots on this issue and will be submitting the document for acceptance.

- There was a wide spread recognition of the need to embrace C37.100.1 (Common Clauses document) on a point by point basis, as it evolves.

- There was wide spread acceptance of the need for and value of “technical reports”.  These are the reports to be developed documenting the discussions and rationales behind published standards.  C37.20.7 will be developing one during the next 6 months.

- WORKING GROUP REPORTS

- The following working group reports were presented:

- C37.20.1 (IEEE Standard for Metal-Enclosed Low-Voltage Power Circuit Breaker Switchgear)(attached)

- C37.20.2  (IEEE Standard for Metal-Clad and Station-Type Switchgear)(attached)

- C37.20.3  (IEEE Standard for Metal-Enclosed Interrupter Switchgear)(attached)

- C37.20.4  (IEEE Trial-Use Standard for Indoor AC Medium Voltage Switches for Use in Metal-Enclosed Switchgear)(attached)

- C37.20.7  (PAR P-1405)(attached)

- C37.21  (IEEE Standard for Control Switchboards)(attached)

- C37.23  (IEEE Standard for Metal-Enclosed Bus and Calculating Losses in Isolated Phase Bus) (not available at time of mailing)

- C37.24  (IEEE Guide for Evaluating the Effect of Solar Radiation on Outdoor Metal-Enclosed Switchgear)(attached)

- C37.100.1  (not available at time of mailing)

- It should be noted that several of these working groups have experienced difficulty in receiving “PARs” for their work.  PAR processing hold-ups need to be addressed!

- OLD BUSINESS

- An ad-hoc committee was formed under Mr. Byron to develop an outline to be circulated among the sub-committee members concerning:

- the inclusion of stationary breakers in the C37.20.2(IEEE Standard for Metal-Clad and Station-Type Switchgear) and C37.20.3(IEEE Standard for Metal-Enclosed Interrupter Switchgear) standards

- Inclusion of stationary switches in the C37.20.2(IEEE Standard for Metal-Clad and Station-Type Switchgear) standard.

- NEW BUSINESS

- Sub-committee members were apprised of a need to help coordination of IEEE 323 (IEEE Standard for Qualifying Class 1E Equipment for Nuclear Power Generating Stations) with C37.81 (IEEE Guide for Seismic Qualification of Class 1E Metal-Enclosed Power Switchgear Assemblies) and C37.82 (IEEE Standard for the Qualification of Switchgear Assemblies for Class 1E Applications in Nuclear Power Generating Stations).

- Sub-committee members were notified of work taking place on PAR P-1407 (GIS vs. AIS systems) and encouraged to get involved.

- Next Meetings:

11/10/1999- Pittsburgh, PA , Hilton Towers

05/10/2000- Ft Lauderdale, FL

The meeting adjourned at 3:02 PM.

David J. Lemmerman

Secretary