C37.21 Working Group met on Monday, November 8, 1999 with 4 members and 3 guest.

Administrative Items:

- PAR:  C37.21 PAR was approved on 9/16/99.  Task was communicated to identify and consider International Standards to achieve the “Global Acceptance” included in the purpose listed in the PAR.  IEC 439-1 has been identified as an applicable standard and is to be reviewed.

- Draft C37.21.3b:  A complete read through of C37.21 Draft 3b was made.

- Major Issues discussed include:

- Editorial changes:  Minor editorial changes were identified without controversy.

- Metrification: All metrification changes are resolved within WG.

- IEEE will be provided C37.21 Draft 4 for review of metrification changes (Bruce Barrow – SCC14).

- Altitude Correction:  Elimination of Altitude Correction proposed from C37.21.  Although altitude has an effect on control devices, the reduction of ratings for control devices is not practiced by manufactures, users, or labs.

C37.100.1 will be contacted for comments considering the application of Altitude Correction for control devices.

Switchgear Assemblies Subcommittee to be questioned for considering the application of Altitude Correction for control devices.