Summary of November 9, 1999 Pittsburgh Meeting of Working Group to Revise C37.59 - Conversions of Switchgear

The working group meeting was held between 2 p.m. and 5:30 p.m. and the twenty six person attendance consisted of nine users, six consultants and eleven manufacturers.

All received comments for draft 7 were reviewed and resolved. The chair will publish a tabulation of comments with their resolution to attendees within two weeks.

The requested coordination groups have  been sent all drafts and will be sent planned resolution via E Mail.

A draft 8 will be prepared by the end of December 1999 for initiation of the ballot procedure. A motion 1A will be requested in the Switchgear Committee. The balloting pool establishment will also be initiated.

Items of particular interest discussed include:

- Emphasis on overall technical coordination of any conversion, particularly when the conversion is accomplished at a location of limited technical resources.

- Conversions replacing breaker elements on a breaker frame with contactors of lower dielectric and interrupting capabilities as well as different type interlock systems must be very carefully undertaken and coordinated with other switchgear.

We plan to ballot Switchgear, tabulate all comments and propose resolution for review at the next series of Switchgear meetings in Spring 2000.

Respectfully submitted:   Pete Dwyer W/G Chair