Reclosers and Other Distribution Equipment Subcommittee

Meeting Minutes

Pittsburgh, Pennsylvania, November 9, 1999

| Members | Present: | Guests: |
| --- | --- | --- |
| John Angelis Bob Brown Ray Capra Bill Hurst Ed Jankowich Steve Meiners Timothy Royster | John St. Clair Ed Steele Dave Stone John Wood Al Worland Jan Zawadzki | Marcel Fortin Harry Hirz J.L. Koeptinger Carl Reigart |

1.   Call to order

The meeting was called to order at 3:00 PM.   There were 13 members and 4 guests present. The current RODE membership is 27 (see enclosed membership roster).

2.   Introductions

Members and guests introduced themselves.

3.   Membership Changes

Dan Partridge is a new member of the RODE Subcommittee.

Dave Kumbera has elected to retire from the Switchgear Committee.  Dave will send an official letter of resignation to the Switchgear Committee.

Dave Stone is the new C37.60 and C37.61 Chairman, replacing Dave Kumbera.

4.   Approval of Minutes

The minutes of the Spring 1999 meeting were approved without change.

5.   Chairman’s Report

ADSCOM’s meeting minutes were reported:

- The IEEE Technical Council officially approved the name change of the Reclosers & Sectionalizers Subcommittee.  The official name is now: Reclosers and Other Distribution Equipment Subcommittee (RODE).

- The WEB experiment of posting the Switchgear Committee meeting minutes on the IEEE WEB site went well.  Go to IEEE.org and drill down.  The Switchgear Committee will assume members will go to the WEB site for the Main Committee meeting minutes; otherwise, contact Alec Monroe for a hard copy.  Alec Monroe will send out an e-mail to members letting them know when the minutes are posted to the WEB.

- Upcoming meeting notices will be sent to members by e-mail.  If you do not have an e-mail address, you will be sent a hard copy.  If you want a meeting notice send to a colleague or someone else, send and e-mail to Alec Monroe with the name and e-mail address of that person.

- A general capacitive  switchgear task force has been formed under common clauses.  There is a need to coordinate standard requirements for HV Breakers, HV Switches, and RODE.  Ed Steele volunteered to represent C37.66, and Dave Stone volunteered to represent C37.74.  Ed and Dave are to contact Roy Alexander.

- The Subcommittee was informed that the WG Chairs need to create a schedule similar to a Ghant chart for the work they are to complete.  This is in response to the Technical Council’s concern about it taking too long to get the documents to completion within the time allotted in the PAR.

- The PES is considering moving the Summer and Winter meetings to Fall and Spring.  They would like for some of the technical committees to schedule their meetings during these meetings.  The Switchgear Committee Chairman has already informed them that we do not want to meet during their meetings.  There is concern that there would be problems with allotting time and space for our meetings and also that it would be an unwanted distraction.

6.  Working Group Reports

a) Regarding Recloser Standards C37.60 and C37.61, Working Group Chairman Dave Stone reported the following:

The Working Group met November 8, 1999 from 8:00 a.m. until noon.  There were 8 members of the Working Group and 9 guests present at the meeting.

The Working Group worked on draft 9.  Final draft 9 of C37.60 to be sent out by Chairman.  Working group to send Chairman comments on this draft by December 15, 1999.

The Working Group discussed what to do with the C37.61 guide.  The group decided to keep the guide, but to not spend a lot of time in updating.  Working Group to send Chairman comments on this standard by January 15, 2000.

b) Regarding Capacitor Switch Standard C37.66, Working Group Chairman Ed Steele reported the following:

The C37.66 Working Group met Monday, November 8 from 1:20PM - 5:00PM to discuss draft 4 of the standard.  There were 5 members present with 3 guests.  We covered the entire standard with primary focus on the ratings table, test circuits, and test duty.  There was also a discussion on standards C37.04/C37.09, P1247, and C37.66 all addressing capacitor switching.  The WG will review P1247 and send me there thoughts on how we should blend that standard into C37.66.  We will extend the rating table through 242 kV and include a column for isolated bank switching.  We eliminated the testing for outrush current at Charleston; however, further discussion we decided not to eliminate it.  Draft 5 will be prepared for the next meeting.

c) Regarding Subsurface Switch Standard C37.71, Working Group Chairman Don Martin (who could not make this meeting) reported the following by FAX:

After the spring meeting, the recommendations of the working group were incorporated into draft 2 of the revised standard.

The first ballot was declared failed by IEEE due to lack of response.

NEMA has been responded to regarding their negative ballot on draft 1 of the revised standard.

EEI was contacted through Al Worland at the spring meeting regarding EEI’s non response to their drat 1 ballot.

I am in the process of contacting IEEE to re-ballot draft 2 of the revised standard.

d) Regarding Pad-mounted Load Interrupting Switch Standard C37.72, Working Group Chairman John Wood reported the following:

This standard was re-affirmed by the Standards Board on June 26, 1999.

e) Minutes for the Working Group combining C37.71, C37.72, and C37.73 into one standard C37.74 (proposed), Chairman Dave Stone,  are as follows:

A working Group meeting was held on Wednesday, November 10, 1999 with ten members present.

A PAR has been prepared and submitted to IEEE for approval.

The Working Group prepared Draft 3.  Draft 3 to be worked on at next meeting.

7.  Reference

a)   See the enclosed RODE Status Report.

8.   Old Business

None

9.   New Business

None

10. Next Meetings:

- May 7-11, 2000	Ft. Lauderdale, FL		Radisson Bahia Mar

- Oct 8 -12, 2000	Tucson, AZ		Westin LaPaloma

- May 20 - 24, 2001	Charleston, SC		Mills House

- Sept 30 - Oct 4, 2001		Quebec City, CAN		Loews LeConcorde

Respectively yours,

John G. Wood

Chairman

Reclosers and Other Distribution Equipment Subcommittee