Nigel P McQuin - Electrical Power Consultant

1610 Basil Street, North Versailles, PA 15137-2603, USA

Tele & Fax :- 1 - (412) 824-2165, E-fax:- 1 - (520) 222-8112

E-mail:- N.P.McQuin@ieee.org or NPMcQuin@iee.org

29th May 2000

Subject: Liaison report to LVSD for PSR committee document C37.108, Guide for     Protection of Network Transformers.

At the Fall 1999 meeting, three members of the subcommittee requested copies of draft 8 of the document, one set of comments were received in response. This draft had tidied up some previous amendments following the completion of the work on C57.12.44, as well as some additional issues regarding inter-phase barriers, cable elbows and the use of encapsulated vacuum interrupters. At that time the main concern with the document related to the use of LV circuit breakers in distributed power generation applications, for which no qualification testing or ratings have ever been assigned. The compromise was to require sufficient delay in the operation of the LV side protection devices, to allow the action of a HV side protective device which would be capable of meeting the requirements of a generator breaker type application.

Draft 9 of the document was only just received on 05/04/00, and no time was available to have distributed the document before this meeting. Incidentally the IEEE PSR committee is meeting concurrently in Grand Rapids, MI, and their agenda includes the review of this most recent draft. Three members of subcommittee requested electronic copies of the draft 9, with a request for comments to be returned by 07/30/00.

In passing, an associated document is also being reviewed by PSR, namely P1547 from SCC21, Standard for Distributed Resources Interconnected with Electric Power Systems. This document relates to the widespread connection of intelligent independent power resources, many of which incorporate solid state transfer switches and inverters in their construction. Such devices are not presently within the scope of the existing C37.108 document. Four members of subcommittee requested electronic copies of the draft 4, with a request for comments to be returned by 07/30/00.

In future a joint liaison report on this matter will include both the PSR C37.108 and SCC21 P1547 documents.