C37.21 Working Group met on Monday, May 8, 2000 with 4 members.

Old Business:

- PAR:  C37.21 PAR was approved on 9/16/99.

- Metrification:  The task of metrification is considered complete.

- Harmonization:  Draft includes revisions based on harmonization with C37.20.1 and C37.20.2.

- Major Issues discussed include:

- Flame Resistance Testing:  Resolved to reference ASTM D229 as standard for testing sheet insulating materials.

- Altitude Correction:  In the Fall 1999 WG meeting, the WG discussed removal of the Altitude Correction Factor (ACF) from C37.21.  Due to harmonization with relay standard, the ACF was retained in C37.21.

- Ratings:  Confusion between the ratings of the Control Switchboard and the devices contained within the Control Switchboard and how these are addressed in C37.21 were discussed.

- Considering the Switchboard Rating, WG resolved to provide Control Switchboard voltage and frequency ratings but not current ratings.

- Revisions were discussed to better identify consideration and application of ratings of individual devices within the Switchboard.

- Nameplates:  Changes to the Control Switchboard were discussed to coordinate with the ratings for the Switchboard.

- Coordination with IEC:  Review of IEC 439-1 was made and no specific changes to C37.21 identified.  IEC 439-1 will be listed in the Bibliography only.

- Harmonization:  Changes were discussed in reference to in process changes discussed by C37.20.1 WG concerning Voltage Circuit Protection.

- Action Items:

- Abstract and Introduction:  These sections are targeted for revisions in next draft.

- Bibliography:  Addition of Bibliography is targeted for inclusion in next draft.