Cap switching TF

Meeting 5/10/2000 Ft Lauderdale FL

IEC 60056 treatment of cap switching will be followed for C37.04, .09

A Tf consisting of :

Roy Alexander (HVCB)

Ed Steele (RODE)

Ginger Camber (HVS)

Peter Meyer (HVCB)

Will develop a table  by 6/30/2000 comparing cpacitiance current switching treatment of:

IEEE C37.04,.09 1979

IEC 60056

IEEE C 37.66 (old)

IEEE C37.66 (proposed)

IEEE 1247

IEEE C37.73

IEEE C37.60

The purpose will be to seek common clauses in line with IEC 60056

Capacitance current treatment will be broken into at least the following:

ITRV (Differential capacitance Voltage)

Recovery voltage

Grounded neutral

open wire line

ungrounded

restrike performance

Inrush

single

back to back

Outrush

Test current range

endurance

preconditioning

These common clauses will be compiled and prepared for ballot, a special PAR obtained. and the balloting process begun  9/2000.

The special treatment remaining from IEC 60056 applicable to HVCB only, will be put into IEEE format  Task forces to investigate improvements to Capacitance current switching were formed:

Outrush

Anne Bosma

Jeff Nelson

Kirk Smith

Ed Steele

Power Quality (reduced switching transients)

Tom Field

Harry Hirz

Yasin Musa

Joe Rostrun

Rao Sunkara

endurance

Pat Dilillo

Bill Long

Ed Steele

Richard Moore

Finally a users TF was formed to  do a survey on capacitive current switching practices in use.

Roy Alexander

Pat Dilillo

Rao Sunkara

Tony Manarino

Ed O’Donnel

Richard Moore

Yasin Musa

Carlos  Isaac

Jeff Nelson

Dave Galicia

Rick Jackson

Roy will prepare a survey form to be filled out by each user.

Also, The Doble users group will be canvassed.

survey form sent out 6/15

returned by 7/15

summarized by  8/5

Grace & Peace

Roy Alexander