IEC Activities

This is a report of IEC 17B/WG5 activities since the Fall meeting.

The WG met at Sanibel Island, FL on Dec. 6-8, 1999 and in Geneva Switzerland on April 26-28, 2000.

The primary topics covered at the Sanibel Island meeting were:

- Annex F, which has Additional Tests for circuit breakers with electronic over-current protection.  The tests are EMC, dry heat, damp heat and temperature cycling.

- Annex L – The USTAG proposed this Annex. It covers the product called a molded Case Switch in the US. The name “Circuit Breaker Interrupter” has been adopted by 17B.

- Annex BB – covers residual current operated devices without integral overcurrent breaking device.

- minimum operating voltage for RCDs (residual current devices); 85 volts for single phase RCDs has been accepted; 70% of the lowest rated voltage for three phase devices is proposed but is still under discussion.

- Simplified testing for circuit breakers of the same design – There is a plan to show in the standard the test program for additional models based on the same design as one that is already qualified.

- Unwanted tripping due to collective leakage current – not discussed; lack of time.

The meeting in Geneva, Switzerland was mostly a rehash of the same items. Some new items were discussed including the idea that networked industrial devices will become a work item in the future.

The next meeting of WG5 is to be in Bergamo, Italy on June 28-30

P. J. Notarian

IEC Activietie2/winword6/c.