Switchgear Assemblies Subcommittee / IEEE Switchgear Committee

Document Status  06-24-00

Please send updates to ted.olsen@ptd.siemens.com

| Document | Title | IEEE Status | ANSI C37 Status | PAR Date | ## Chair Telephone E-Mail | Document Status |
| --- | --- | --- | --- | --- | --- | --- |
| C37.20.1 | Metal-Enclosed Low-Voltage Power Circuit Breaker Switchgear | APP 9-93 RF 3-98 | 1993 RF 3-98 | 6-21-2000 | Ned Simon 828.687.3270 simonnh@ch.etn.com | D8 reviewed 05-08-00. D9 to be circulated to WG in early Summer, 2000 |
| C37.20.2 | Metal-Clad Switchgear | APP 10-99 | ANSI (not ASC C37) APP 03-14-00 | 9-94 | Mike Wactor 713.948.4918 mwactor@powl.com | IEEE did not send to ASC C37 for recirc ballot – ANSI approved 03-14-2000 |
| C37.20.3 | Metal-Enclosed Interrupter Switchgear | APP 9-83 RF 6-92 | APP 8-86 RF 93 | 6-97 | Eldridge Byron 615.459.8475 byrone@squared.com | D15 balloted. D17 reviewed 5-09-00. Recirc ballot about 08-01-00 |
| C37.20.4 | Trial-Use Standard for Indoor AC Medium Voltage Switches for Use in Metal-Enclosed Switchgear | APP 3-96 | APP 96 | 6-99 | Eldridge Byron 615.459.8475 byrone@squared.com | D4 balloted. D5 reviewed 5-09-00. Recirc ballot about 08-01-00. |
| C37.20.6 | 4.76 kV to 38 kV Rated Grounding and Testing Devices Used in Enclosures | APP 3-97 | APP 8-97 |  | Contact D. Lemmerman 610-648-7714 dlemmerman@peco-energy.com | (ADSCOM --joint HVCB/SA) Document current. Next action 2002. |
| C37.20.7 | Guide for Testing Medium-Voltage Metal-Enclosed Switchgear for Internal Arcing Faults |  |  | 6-99 rev. 3-00 | Mike Wactor 713.948.4918 mwactor@powl.com | D13 to WG 5-00. D14 to SA/ASC ballot about 07-01-00. |
| C37.21 | Control Switchboards | APP 9-85 RF 12-91 RF 6-98 | APP 4-88 RF 4-92 RF 98 | 9-99 | Doug Edwards 919.365.2337 doug.edwards@ptd.siemens.com | D4 under discussion. Expect to ballot in 2001. |
| C37.23 | Metal-Enclosed Bus and Guide for Calculating Losses in Isolated Phase Bus | APP 12-83 RF 12-91 | APP 9-86 RF 4-92 | 10-91 EXT 6-97 EXT 6-99 | Ram Iyer 708.451.1982 | Extension to 6/00 Recirc ballot expected about 07-01-00. |
| C37.24 | Guide for Evaluating the Effect of Solar Radiation on Outdoor Metal-Enclosed Switchgear | APP 9-86 RF 12-91 RF 6-98 | APP 10-88 RF 5-92 RF 98 | 9-99 | Dave Gohil 573.642.6811 ext. 34 dgohil@poweraisle.com | Revising D1. Expect to circulate to WG and SA about 08-15-00 |
| C37.59 | Requirements for Conversion of Power Switchgear Equipment | APP 12-96 | APP 96 | 3-99 | Pete Dwyer 610.296.1273 pete.dwyer@ieee.org | (ADSCOM -- joint HVCB, SA, and LVSD). Expect SA/ASC ballot 07-15-00 |
| C37.81 | Seismic Qualification of Class 1E Metal-Enclosed Power Switchgear Assemblies | APP 11-89 RF 12-94 RF 9-99 | APP 4-90 RF 8-95 RF 99 |  | Contact D. Lemmerman 610-648-7714 dlemmerman@peco-energy.com | Document current. Next action 2004. |
| C37.82 | Qualification of Switchgear Assemblies for Class 1E Applications in Nuclear Power Generating Stations | APP 12-83 RF 6-92 | APP 2-87 RF 7-93 RF 98 |  | Contact D. Lemmerman 610-648-7714 dlemmerman@peco-energy.com | Document current. Next action 2003. |

Switchgear Assemblies Subcommittee / IEEE Switchgear Committee

Working Group Memberships 06-24-00

Please send updates to ted.olsen@ptd.siemens.com

| C37.20.1 | C37.20.2 | C37.20.3 | C37.20.4 | C37.20.6 | C37.20.7 |  |
| --- | --- | --- | --- | --- | --- | --- |
| M. Beard T. Burse R. Colum W. Laubach P. Notarian T. Olsen N. Simon Δ D. Stokes F. Teufel | E. Byron W. Laubach T. Olsen R. Puckett C. Tailor J. Ugo M. Wactor Δ | C. Ball T. Burse E. Byron Δ J. Dravis J. Jerabek S. Kapodistrias W. Laubach P. Notarian G. Nourse G. Perkins R. Puckett G. Sakats S. Telander G. Ugo M. Wactor | C. Ball T. Burse E. Byron Δ J. Dravis J. Jerabek S. Kapodistrias W. Laubach P. Notarian G. Nourse G. Perkins R. Puckett G. Sakats S. Telander J. Ugo M. Wactor | No activity at this time – contact SA chair D. Lemmerman | C. Ball M. Beard E. Byron S. Kapodistrias D. Lemmerman T. Olsen J. Smith M. Wactor Δ J. Zawadski |  |
| C37.21 | C37.23 | C37.24 | C37.59 | C37.81 | C37.82 |  |
| D. Edwards Δ D. Gohil A. Morgan G. Nourse T. Olsen S. Slattery M. Wactor | T. Burse L. Doucet R. Iyer Δ J. Jerabek W. Metcalf G. Nourse E. Peters C. Tailor | D. Edwards D. Gohil Δ A. Morgan G. Nourse P. Notarian T. Olsen (CM) S. Telander (CM) F. Teufel M. Wactor (CM) | T. Burse P. Dwyer Δ H. Gill W. Laubach G. Lester N. McQuin M. Orosz T. Olsen R. Puckett G. Sakats A. Storms | No activity at this time – contact SA chair D. Lemmerman | No activity at this time – contact SA chair D. Lemmerman |  |

Δ Chair		(CM) corresponding member

Note: for e-mail addresses, phone and fax #’s, company affiliations and addresses of any member, refer to the Switchgear Committee web site at :

- www.ewh.ieee.org/soc/pes/switchgear/index.htm

- select “Minutes of the meetings (Archives)” link

- select the most recent meeting link- (e.g. “Spring 2000”)

- select the “Mailing List” link.