Minutes of 2001-05-21 Meeting in Charleston

HVCB Quality & Reliability WG

IEEE Switchgear Committee

Power Engineering Society

- IEEE Switchgear Committee, HVCB Quality & Reliability WG met in Charleston on 2001-06-21.

- Meeting attended by 12 members and 10 guests.  Several other members were unable to attend due to participation in Common Clauses WG.

- C37.10.1 IEEE Guide for selecting monitoring of circuit breakers is now published in .pdf format and will soon be available in print format.

- A working group paper to promote C37.10.1 will be submitted to IEEE for publication in IEEE PES transactions.

- C37.10-1995, IEEE Guide for Diagnostics and Failure Investigation of Power Circuit Breakers will be submitted for reaffirmation using electronic balloting.

- NETA will submit draft guides for maintenance testing of HV bulk oil, air blast circuit and SF6 circuit breakers to IEEE HVCB Q&R for comments.

- NETA (Alan Peterson) discussed the intent and requirements of ANSI/NETA-ETT 2000 (Electrical Test Technician) certification program.

- The WG made the decision to explore the need for an IEEE Guide for Content of Circuit Breaker Instruction Manuals.  The purpose is to consolidate and standardize manufacturers instruction book information to facilitate user access to this information.  It is seen as a several page document that would be inserted at the front of an instruction manual designated for a specific circuit breaker.

- John Brunke (CIGRE) requires a convener and participants in the 3rd International Survey of Switchgear performance that will include circuit breakers and air switches.

W.J. (Bill) Bergman

chair

HVCB Quality & Reliability WG

2001-05-21