C37.30.1-200X

“Standard Requirements for High Voltage Air Switches,

Switching Devices, and Interrupters”

# Working Group Meeting Charleston – May 21, 2001

## Meeting Agenda and Minutes

### Greetings and Introductions

#### Please see attached for meeting roster.

### Review Purpose and Scope of Working Group and PAR

- Disconnect and Interrupter Switches in one document

There was some discussion regarding the inclusion of both disconnect and interrupter switches within one document. The general consensus was that it was more convenient for the users to have all the information within one source document. Basically, this consensus supported the original PAR that was submitted and approved for the Working Group’s activity.

- Proposal for adoption of IEC 129 & 265 with US clauses

Again, there was much discussion regarding the “harmonization” process between IEEE and IEC documents. While it is the ultimate goal of the Working Group to have a common IEEE/IEC document, the group consensus was that dividing the work into two stages would help in understanding the existing documents and ensuring that sections are not overlooked. Once the consolidation is complete, a second Working Group and PAR  will be formed to harmonize with IEC.

### Present Submitted Comments on Draft 0.03 compilation

### Editorial

The majority of the editorial comments resulted from the pending updates in the C37.32 document. Since it is the intent to consolidate the latest revision of all the applicable documents, all the editorial comments were accepted and will be included in the next revision of the C37.30.1 document.

### Technical

Some of the “technical” comments were deemed editorial in nature, and will be folded into the next revision (Draft 0.04). However, a significant number of comments were truly technical and spurred some debate within the Working Group. These comments will be retained and deferred for future work on the C37.30.1 document. It is the strict intention of this Working Group to do merely consolidation of C37.30, 32, 34, 35, 36b, 37 and IEEE 1247 and not to change the technical content of any of these documents.

### Determine Work Flow and Assign Resources

##### ITEM				RESPONSIBLE		DATE DUE

#### 1. Update Document including 	Carl Reigart			June 22, 2001

#### editorial comments

#### 2. Review Draft 0.04			Ginger Kamber		July 13, 2001

#### Ken Harless

#### 3. Update as Required		Rick Gavazza			July 25, 2001

#### 4. Submit Draft 0.04 for Ballot	Alex Dixon			July 31, 2001

#### 5. Receive Ballot comments (45 days)				Sept 15, 2001

#### 6. Coordinate Ballot Comments	Ginger Kamber		Sept 25, 2001

- Other Issues

- NEMA has not yet officially notified the Working Group of permission to incorporate the C37.32 document within this combined standard. John Collins will follow-up with this issue and advise the members of the status.

- Yasin Musa initiated a discussion regarding problems they are experiencing with the 800 kV voltage levels across different equipment, such as switch, transformers, PT’s, etc. and his desire to coordinate the preferred ratings.

- Carl Reigart voiced concern regarding voltage creep, and the move from 121 kV to 123 kV within the C37.32 document, and how “grand fathered” switches will be handled by users.

- REMINDER:  
the consolidated document, Draft 0.03e,  can be viewed at the website:
Error! Bookmark not defined.
username	:	PC37.30.1
password:		hi-volt
both are case sensitive

- Adjourn

Ginger B. Kamber,

Working Group Chair

C37.30.1-200X  Meeting Roster

| Attendee | ## Phone | Email Address | ## Member / Guest |
| --- | --- | --- | --- |
| Brown, Bob | 563 682-8347 | rabrown@hps.hubbell.com | M |
| Dixon, Alex | 410 922-0014 | dixon.alex@ieee.org | M |
| Field, Tom | 205 992-5470 | tefield@southernco.com | G |
| Harless, Ken | 540 688-2212 | ken.harless@us.abb.com | M |
| Kamber, Ginger | 773 338-1000 | gkamber@sandc.com | # M |
| McVey, Mark | 804 257-4637 | mark.mcvey@dom.com | M |
| Monroe, Alec | 205 592-7241 | acmonroe@worldnet.att.net | M |
| Moore, Richard | 410 281-3518 | richard.k.moore@bge.com | G |
| Reigart, Carl | 770 946-4562 | Error! Bookmark not defined. | M |
| Rostron, Joe | 770 946-4562 | j.rostron@southernstatesinc.com | M |
| Zawadzki, Jan | 604 590-7487 | jan.zawadzki@powertechlabs.com | G |
| Nelson, Jeffrey | 423 751-8275 | jhnelson@tva.gov | G |
| Musa, Yasin | 614 552-1732 | yimusa@aep.com | G |
| Other Attendees: |  |  |  |
| Brisson, Lyne | 450 652-8605 | brisson.lyne@ireq.ca | G |
| Stallings, Larry | 843 665-4144 | larry.stallings@us.abb.com | G |
| Powell, Bryan | 843 665-4144 | bryan.o.powell@us.abb.com | G |
| Collins, John | 703 841-3244 | john_collins@nema.org | G |
| Sharma, Devki |  | devki.sharma@altcanada.ca | G |
| Non-Attending Members: |  |  |  |
| Gavazza, Rick | 415 973-6785 | Error! Bookmark not defined. | M |
| Fortin, Marcel | 450 922-0925 | fortin.marcel@ieee.org | M |
| Kollar, Alan | 330 384-5552 | kollara@firstenergycorp.com | M |