Minutes of 2001-10-01 Meeting in Quebec City

HVCB Quality & Reliability WG

IEEE Switchgear Committee

Power Engineering Society

- IEEE Switchgear Committee, HVCB Quality & Reliability WG met in Quebec City on 2001-10-01.

- Meeting attended by 8 members and 6 guests.  Six members were excused do to their travel restrictions.  Several other members were unable to attend due to participation in Common Clauses WG.

- A working group paper to promote C37.10.1 will be submitted to IEEE for publication in IEEE PES transactions.

- The Invitation to Ballot closes on 2001-10-06 for the following IEEE documents that have been submitted for reaffirmation by electronic balloting.

- IEEE C37.10-1995 “IEEE Guide for Circuit Breaker Diagnostics and Failure Investigation”

- IEEE 1325-1996 “IEEE Recommended Practice for Reporting Failure Data for Power Circuit Breakers”

- NETA will re-initiate development of maintenance test standards for HV oil and SF6 circuit breakers.  Discussion will continue with NETA to encourage participation by IEEE.

- The WG continued to discuss the value of an IEEE Guide for Content of Circuit Breaker Instruction Manuals.  The following are seen of benefit:

- A listing of topics for inclusion in the instruction manual and,

- A collection of specific data required for installation and maintenance

- EPRI Maintenance Management Workstation (MMW) met to discuss development of algorithms for circuit breaker issues using the C37.10.1 as a basis for their work.

W.J. (Bill) Bergman

chair

HVCB Quality & Reliability WG

2001-10-01

bergman@ieee.org