IEEE SWITCHGEAR COMMITTEE CORRESPONDENCE

Minutes:	IEEE High-Voltage Fuse Subcommittee

Place:	Newport RI

Date:	May 1st 2002

Presiding officer:	Tim Royster

Recorder:	J. G. Leach

MEMBERS PRESENT

J. G. Angelis		Kearney/Cooper Power Systems

G. Borchardt		S & C Electric Company

F. J. Brown 		ABB

R. L. Capra 		Consultant

J. G. Leach		Hi-Tech Fuses, Inc.

F. J. Muench		Cooper Power Systems

R.    Ranjan		General Electric Co.

T. E. Royster		Dominion Virginia Power

M. Stavnes		S & C Electric

MEMBERS ABSENT

R. H. Arndt*		Consultant

L. R. Beard  		A.B. Chance Co.

T. A. Bellei*		S & C Electric Co.

H. E. Foelker*	 	Central Power & Light

S. P. Hassler*		Cooper Power Systems

J. R. Marek		Consultant

R. N. Parry		Cutler Hammer

H. M. Pflanz*		Consultant

J. S. Schaffer		G & W Electric Co.

E. W. Schmunk*

J. G. St. Clair		Consulting Engineer

F. M. Stepniak	Elastimold/T&B

J. G. Wood		Pacific Gas & Electric

E. Worland		Southern California Edison

M. Zandonella		Underwriters Lab., Inc.

J.    Zawadzki		Powertech Labs Inc.

* Correspondence Only

GUESTS

Bob Brown		A. B. Chance

Chris Ambrose	Florida Power and Light Co.

1) The meeting was called to order by the chair at 1:35 PM.

2) Members and Guests introduced themselves.

- Roster Check

No change

- Approval of Oct 3rd 2001 minutes

Minutes were accepted as circulated.

5) Report from the Chair

Adscom issues:

- The request was made to allow paying for registration via credit card.  This could be done if we utilize IEEE Services as is done in the Transformer Committee.  The committee secretary, Jeff Nelson, will check with IEEE Services on the cost of having them handle pre-registration, which includes processing credit card charges and also them providing someone on site at the meeting to process the registers.  He will report these costs to Adscom for consideration.

- There will continue to be a discounted price for pre-registering for the Switchgear Committee meetings.  There will also be a portion of the registration that will be non-refundable if you decide that you cannot attend after registering (this is treated with some discretion by the officers, i.e., the complete fee may be refunded under special circumstances).

- Adscom discussed the need to update C37.100.  There was discussion of the problems of doing this when this is considered an IEEE Standard.  There is the possibility that already approved definitions added into the document get balloted as part of the normal approval process and get negatives ballots.  There was some discussion of making the standard a compendium document where changes could be made without the normal balloting process in order to get the new approved definitions from other documents into this document.  They have asked the Subcommittees to ask if anyone would volunteer to coordinate this effort.

- Dean Sigmon needs to know if we plan to reaffirm, revise or withdraw C37.48.  I need to get back to Dean this week with an answer.

- PES is still leaning on the Technical Committees to hold their meetings at the same time and place that the PES main meeting is held.  The consensus of Adscom was to take this into consideration for the 2005 meeting.  Generally speaking, there is little desire to do this primarily because of the shortage of time to hold our necessary meetings.

- The format of the Switchgear main committee meeting is going to be changed to try and make it shorter and more to the point.  One key change is the elimination of the Subcommittee reports.  When there are issues that the Subcommittee Chair needs to bring to the attention of the Main committee, they should be brought up during the “New Business” portion of the agenda.

- The Switchgear Committee Operating Manual is going to be placed on the web site.

- Adscom voted to continue submitting all non-IEEE documents to the IEEE Delegation of the ASC C37 committee.  They also voted to send IEEE documents to ASC C37 to be balloted prior to submitting for ANSI approval.

- Adscom wants it to be known that membership in the Main Committee is open to any member who is active in the Subcommittees (2 year requirement).  The Subcommittee Chairs may submit the name of the person requesting membership in writing including a brief description of their participation.

- A dues increase is being considered by IEEE-SA.

# ASC C37 meeting results

Refer to Ted Olsen’s presentation at the end of the minutes for a summary of the actions that have occurred and the motion that was voted on and approved.

There was also a motion to restructure the ASC C37 Operating Procedures to take into account the changes necessary to encompass the new process and also to retain Ted Olsen as Chair until such time a replacement can be elected.

6) Working Group Reports

a)	Revision of Fuse Standards -- John Leach reported that the Working Group met on May 1st 2002, with 9 of 16 active members present, and one guest.  Draft 7 of PC37.40 was reviewed.  It is proposed, if agreed to by the sub-committee, to replace the wording for the altitude correction factor by the same wording used for other recently balloted documents.  The revised standard, after a final review by the working group and sub-committee will then be ready for an IEEE ballot.  The sub-committee agreed to this course of action.

Action needs to be taken on C37.48 this year.  A number of corrections have been identified (some as a result of the original ballot comments to the present document).  It is proposed therefore to take out a PAR for C37.48, and request an extension of the present document to cover the time required for the revision (approximately 2 years).

A number of changes to C37.41–2000 have been identified, both as a result of proposals made to IEC, and revision items not completed before the last document revision.  A decision as to the timing of the PAR application will be made at the fall meeting.

In new business, the issue of TRV correction methods for very small rating fuses was raised.  Members will conduct system modeling studies and report back at the next meeting.

b)	Full Range Fuses -- Frank Muench reported that the working group did not meet, since the final task for the WG, the production of C37.48.1 current-limiting fuse application guide, is awaiting REVCOM approval.  The document failed to get through the ASC 37 balloting, due probably to the IEEE withdrawing from the MOU (approval was obtained from NEMA and EEI delegations).  However, since this standard is for information purposes only, this is not felt to be critical.

7) Report of Liaison to Other Committees

a)	NEMA – Kris Ranjan and Frank Muench reported that the NEMA committee met on Tuesday April 30th 8:00 a.m. to 11:00 a.m. with six members and four guests. This was Kris’ last meeting as chair, a ballot having elected Frank Munch to replace him.  Runner up Mark Stavnes was appointed vice-chair.  Standards C37.46 and 47 have peen published.  C37.43 (capacitor fuses) is ready for another ballot within the technical committee.  Oil-fuse cutout standard (C37.44) has been administratively withdrawn because such devices are no longer being manufactured.  The motor-starter fuse conformance document C37.53.1 is still being used, but requires revision to refer to the latest version of C37.41.  This is in order that testing procedures may take advantage of the latest thinking on conducting tests, particularly those “two-part” test procedures that are relevant to certain motor starter fuses.

A significant amount of time was spent discussing the effect of the IEEE’s withdrawal from the MOU.  It was felt that NEMA should try to preserve the ASC 37 process for its documents, and NEMA is exploring the costs of doing this.

b) ER&P (Education, Recognition and Publication) COMMITTEE – Tim Royster reported:

- There was discussion of the transaction paper review process.  It was decided that each Subcommittee should provide an editor so that papers relative to that Subcommittee could be coordinated.  The editor has an electronic process available to send out and track the documents to reviewers (3 required per paper).

- An effort is going to be made to update the Switchgear Committee information on the web site.  It is up to the Subcommittee and Working Groups to provide the updated information to Mietek.

- There was discussion of there being tutorials presented on the various committees in a technical sense. This may be a ½ day presentation and it was proposed that one subcommittee put on a presentation at each meeting.  The intent is to give others that don’t attend the work of these subcommittees an opportunity to get a better understanding of the work being done in an abbreviated way (rather than attending several meetings to gain this understanding).

c) COMMON CLAUSES

Frank Muench reported that the Working group was close to having a document ready to vote in the WG.  Altitude correction factors are given in the form of two sections, one from sea level, and the other with correction from 1000m.  The WG is reducing the scope of the document somewhat, recognizing that the whole document may not be applicable to all equipment (for example fuses).

8) Report of IEC Activities -- John Leach reported on the January 21st and 22nd IEC MT3 meeting in London, England,   (see attached report). We are still making little progress in getting acceptance of the North American positions on testing requirements for our types of fuses used on our types of electrical distribution systems (see previous sub-committee minutes).  The TAG has prepared a submission to the National Committees, in the hope that at the full IEC sub-committee meeting in Beijing we can get sufficient support to get the maintenance team overruled.  Because this may not be possible, a fallback position was to be to invoke the implementation procedures for the “implementation of the IEC policy on Global Relevance of IEC Standards”.  However, due to European opposition to this procedure, its implementation has been delayed and so our fall-back position may be an “in-some-countries” clause.  This would enable us to put our testing into the standard, but only as an informative annex.  We are awaiting advice from ANSI as to the best way to proceed.

9) Unfinished Business  -- None

10) New Business:  None.

11) Future Meetings:

Galveston, Texas (San Luis Resort) 	            September 29th –October 3rd 2002

St. Pete Beach, FL (Tradewinds Serata Beach Resort);                   4-8th May 2003

12) The meeting was adjourned at 2:30 PM.

Respectfully Submitted,

John G. Leach, Secretary

# IEC Report 2-2002, April, 2002 (brief)

The third meeting of Maintenance Team 3 (MT3) for IEC 60282-1 (High-Voltage Current Limiting Fuses) was held in London, England, on January 21st and 22nd, 2002.  The purpose of the meeting was to finish discussion of technical items that remained from our second meeting in Köln (September 10th and 11th 2001), and prepare a plan for issuing the Committee Draft (CD) in time for review before the general meeting in. Beijing this fall.  The issue of disbanding the Technical Committee was also discussed.

The issues of most importance to the USA (US proposals) were:

Extended Recovery Voltage Duration – The MT would not change from the 5 minute compromise proposed at the last meeting, despite our reports of failures between 5 and 10 minutes.  It was suggested that the USA object to the CD and provide a “paper” with evidence that 10 minutes is necessary.

High Temperature Testing (Fuses in enclosures) The Europeans are adamant that such testing does not belong in the fuse standard, but should appear in the standards for other equipment that contain the fuses (transformer standards, rubber-molded products, switchgear, etc.).  In order to get this issue discussed at the Beijing meeting by the sub-committee, we will need to get our national committee to re-circulate our proposal to the other national committees beforehand. Hopefully the chair will be prepared to discuss it in the full meeting.

Parallel fuses The Europeans will not put a mandatory test in the standard, but agree to insert parallel fuse information in the application guide.

It Tests The incorrect description of this test has been removed and replaced with wording very similar to ours.  Test parameters have been retained, but the US suggestion to specify TRV (presently “under consideration”) as being chosen based on the anticipated application of the fuse has been adopted.

Maintenance Cycle Questionnaire:

Questionnaires have been issued to National Committees requesting input on IEC documents 32A210Q for 60282-2 Ed 2.1 - Expulsion Fuses, 32A211Q for 60644 Ed 1 - Motor Circuit Fuses, and 60787 Ed 1 - Application Guide for fuses for transformer circuit application. This is needed to prepare a maintenance report for Beijing.  We have to report on whether maintenance is needed for these documents are valid to 2006, so if changes are needed after this date, we would have to start now.  Five experts are needed to start a new maintenance team to address a document.  With no input to the contrary to date, the US will vote to reconfirm these documents.

Details of the Beijing meeting are still not available, but fuse meetings are tentatively set for the week of October 21st 2002.

Dr. John G. Leach, Technical Advisor SC32A  (4-26-02)

______________________________________________________________________

Ted Olsen’s presentation regarding ASC C37 issue:

ASC C37

30- April- 2002

Newport, RI

# Status

• IEEE notice of termination

• MOU terminates June 3, 2002

• ANSI will “decertify” C37

• ANSI will withdraw ANSI recognition of ALL C37 documents

• IEEE asserts rights to all C37 documents

• NEMA has notified IEEE that rights to documents not sponsored by IEEE terminate when MOU terminates

# Options

• Let C37 die

• Reorganize C37 as a sole- secretariat, with NEMA as secretariat

– IEEE– sponsored documents?

– NEMA- sponsored documents?

– IEEE & NEMA copyright issues?

• Others ???

# Proposal

• IEEE- sponsored documents

– ~ 61 (+ one AEIC) documents

– IEEE Switchgear Committee will maintain

– IEEE- SA will submit to ANSI, as a recognized SDO for ANSI approval

• NEMA- sponsored documents

– ~ 23 documents

– NEMA will maintain

– Reorganize ASC C37 with NEMA as sole-secretariat

– Documents will be processed in a manner essentially similar to current practice

Motion

• Whereas IEEE has issued a formal notice to terminate the MOU between IEEE and NEMA, under which ASC C37 is organized,

• Recognizing that ANSI recognition of ASC C37 documents will be withdrawn unless action is taken,

• Acknowledging that the consensus process embodied in the ASC C37 process has been beneficial to the switchgear industry,

• We therefore move:

Motion (continued)

• ASC C37 shall be reorganized as a sole secretariat organization, and

• The secretariat of ASC C37 will be transferred to NEMA, and

• The existing approved operating procedures are to be revised, and submitted for formal ballot by the ASC C37 membership in May, 2002.

• The present overall membership (IEEE, NEMA, and EEI delegations, plus appropriate other organizations) shall be retained, subject to the will of the

organizations involved.

• The existing approval process for changes to the membership shall continue essentially unchanged.

• NEMA, as co- secretariat, will notify ANSI of the intentions expressed in this

motion, so as to preserve the ANSI recognition of the existing ASC C37

NEMA- sponsored documents.

• The co- secretariat shall request that IEEE take appropriate action to preserve the ANSI recognition of existing ASC C37 IEEE-sponsored documents.

• If the IEEE Switchgear Committee wishes to have IEEE- sponsored documents balloted under the ASC C37 process, ASC C37 will ballot and process these documents in accordance the revised / approved operating procedures.