# PC37.30.1 Working Group Meeting: Galveston, TX – September 30, 2002

## Meeting Minutes

### Greetings and Introductions

#### See attached for meeting roster.

### Purpose and Scope of Working Group and PAR
There was significant discussion of the future work related to IEEE 1247. The Main Committee (about 1 year ago) voted to maintain IEEE 1247 as a stand-alone document for the next 10 years. Thus, various WGs have been making reference to IEEE 1247, noting exceptions where needed. In an effort to avoid having two separate documents with specification for the same requirements, the 37.30.1 WG decided to remove the sections of the consolidated document that originally came from IEEE 1247 and simply refer to the 1247 document. 

Review Draft 1, revision 10e and Submitted Comments
The WG developed a new Scope for the C37.30.1 that is broader than the original wording in the document. Several editorial & formatting changes were accepted. These will be incorporated into revision 11.

###### III.	Task assignments

Incorporate comments into revision 11		Kamber

Remove IEEE 1247 text & replace with 
      reference to 1247 plus exceptions			Brisson
Submit for formal ballot				Kamber/Dixon

IV.	REMINDER: 
The consolidated document, Draft 1, revision 10e  can be viewed at the website:
http://grouper.ieee.org/groups/c37/30/1/private
username:	PC37.30.1
password:	hi-volt
both are case sensitive

Ginger B. Kamber,

Working Group Chair

Meeting Roster:   September 30, 2002  Galveston, TX

| Attendee | ## Phone | Email Address | ## Member / Guest |
| --- | --- | --- | --- |
| Angelis, John | 501-587-6390 | jangelis@cooperpower.com | M |
| Brisson, Lyne | 450 652-8605 | brisson.lyne@ireq.ca | M |
| Dixon, Alex | 410 922-0014 | dixon.alex@ieee.org | M |
| Dotson, Randall | 863-834-6494 | randall.dotson@lakelandgov.net | M |
| Fortin, Marcel | 450 922-0925 | fortin.marcel@ieee.org | M |
| Isaac, Carlos | 817-215-6370 | Cisaac@oncorgroup.com | M |
| Kamber, Ginger | 773 338-1000 | gkamber@ieee.org | # M |
| Kollar, Alan | 330 384-5552 | kollara@firstenergycorp.com | M |
| Monroe, Alec | 205 592-7241 | amonroe@uscopower.com | M |
| Moore, Richard | 410 281-3518 | richard.k.moore@bge.com | G |
| Zawadzki, Jan | 604 590-7487 | jan.zawadzki@powertechlabs.com | M |
| Morgan, Peter | 520 294-3452 | Switches@morpac.com | G |
| McCord, Neil | 770 946-4562 | n.mccord@southernstatesinc.com | G |
| Non-Attending: |  |  |  |
| Brown, Bob | 563 682-8347 | rabrown@hps.hubbell.com | M |
| Field, Tom | 205 992-5470 | tefield@southernco.com | G |
| Galicia, David | 314-554-3520 | dgalicia@ameron.com | G |
| Harless, Ken | 540 688-2212 | kharless@pascoratlantic.com | M |
| Reigart, Carl | 770 946-4562 | c.reigart@southernstatesinc.com | M |
| Rostron, Joe | 770 946-4562 | j.rostron@southernstatesinc.com | M |
| Sunkara, Rao | 510-874-2543 | rgs6@pge.com | G |
| Wisnewski, Joseph | 919-549-1497 | joseph.wisnewski@us.ul.com | G |
| Gavazza, Rick | 415 973-6785 | rjg4@pge.com | M |
| McVey, Mark | 804 257-4637 | mark.mcvey@dom.com | M |
| Nelson, Jeffrey | 423 751-8275 | jhnelson@tva.gov | G |

| Revision | Document Date | Comments |
| --- | --- | --- |
| ### Draft 1 | November 2, 1999 | base compilation of all documents not circulated |
| Draft 2 | December 22, 1999 | section numbering updates sequentially; references within body of document updated |
| Draft 3 …also named Draft 0.03 | September 1, 2000 | posted to website incorporates WG comments, loadability curves |
| Draft 0.04 | September 1, 2000 (actual date: June 28, 2001) | incorporates further WG editorial comments and changes due to new C37.32 revisions (revised by C. Reigart) not circulated |
| # Draft 1, revision 5 | September 20, 2001 | incorporates reference corrections (within document) and editorial comments from M. Fortin (revised by G. Kamber) Note: it is intended that Draft 1 be balloted to the general balloting pool |
| Draft 1, revision 6 | November 15, 2001 | C. Reigart: updated C37.32 tables and minor revisions from Fall 2001 meeting |
| Draft 1, revision 7 | January 6, 2002 | A. Dixon: updated references to other standards; updated Tables 6.1, 6.2. 6.16, 8.2, 9.1, 9.2; revised appendix B.5 with correct values; misc reference and wording changes to 4.1, 5.2.1, 5.4.5, 5.7, 7.1.1.5, 7.2.1, 7.3.1, 7.7.2, 7.8, 7.8.12, 8.1.1, 8.1.2.1, 8.2.7, 8.5.1, 8.6.2, 8.6.3.2, 8.7.2, 8.8, 9.1, 9.5.4, 9.6.2 not circulated |
| Draft 1, revision 8 | # January 31, 2002 | A. Dixon: same changes as shown in rev 7; added note 4 to Fig 8.11 and moved notes 1-4 to top of comments section of Fig 8.11 not circulated |
| Draft 1, revision 9 |  | circulated via website |
| Draft 1, revision 10a | May 2, 2002 | G. Kamber: updated with comments from Spring WG meeting not circulated |
| Draft 1, revision 10b | July 13, 2002 | A. Dixon: updated Tables 9.1 & 9.2 based on changes to C37.32 (includes new BIL levels for each class and increased interruption current levels), and updated Annex B Calculations (based on changes to Tables 9.1 & 9.2) not circulated |
| Draft 1, revision 10c | August 9, 2002 | G. Kamber: updated editorially, per comments from IEEE headquarters not circulated |
| Draft 1, revision 10d | September 8, 2002 | C. Reigart: updated Tables 6.3, 6.6, 6.9, 6.13 to include column for 50 Hz ratings not circulated |
| Draft 1, revision 10e | September 9, 2002 | G. Kamber: moved Tables 6.5, 6.6, 6.7, 6.10, 6.11, 6.14, 6.15 to Section 7 Construction Rqmts; renumbered remaining tables in Section 6 and new tables in Section 7; updated references throughout document; accepted editorial changes, leaving table revisions highlighted Posted to website |