RECLOSERS AND OTHER DISTRIBUTION EQUIPMENT SUBCOMMITTEE

STANDARDS STATUS REPORT

October 2002

Designation: C37.60-1981

Title: IEEE Standard Requirements for Overhead, Pad Mounted, Dry Vault, and Submersible Automatic Circuit Reclosers and Fault Interrupters for AC Systems

Current Status: Working group on general update.  Draft 14  was sent out for the second recirculation ballot on September 20, 2002..

Proposed Activity: It is expected that the current ballot will be successful; therefore, a WG meeting at the next Switchgear Meeting will not be necessary.

Chairman: Dave Stone			Email: dstone@cooperpower.com

Phone: 414/768-8247	FAX: 414/768-8236

PAR Designation: PC37.60	PAR Approval Date: 3/21/96

Completion Date:

Last Action: On 9/12/2002 IEEE-SA Standard Board approved the revised PAR until December 2002.

Last Date: September 16, 1997

Date Action Required: December 2002

Action: Revision (General Update)

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: C37.61-1973

Title: IEEE Standard Guide for the Application, Operation, and Maintenance of Automatic Circuit Reclosers

Current Status: The WG decided to allow C37.61 to be withdrawn.

Proposed Activity: The Chairman will officially withdrawn this standard through the IEEE process.

Chairman: Dave Stone			Email: dstone@cooperpower.com

Phone: 414/768-8247	FAX: 414/768-8236

PAR Designation: PC37.61	PAR Approval Date: 3/21/96

Completion Date:

Last Action: On 12/7/2000 IEEE-SA Standard Board approved an extension until December 2002.

Last Date: September 16, 1997

Date Action Required: December 2002

Action: Revision (General Update)

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: C37.63-1984

Title: IEEE Standard Requirements for Overhead, Pad-Mounted, Dry-Vault, and Submersible Automatic Line Sectionalizers for AC Systems

Current Status: Working Group on general update.

Proposed Activity: Chair will prepare draft for ballot before end of 2002.

Chairman: Marcel Fortin			Email: fortin.marcel@sympatico.ca

Phone: (450) 922-0925	FAX:

PAR Designation: C37.63	PAR Approval Date: 6/13/2002

Completion Date:

Last Action: Revised standard approved.

Last Date: March 20, 1997

Date Action Required: March 20, 2002

Action: Revision (General Update)

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: C37.66-1969

Title: Requirements for Oil-Filled Capacitor Switches for Alternating-Current Systems

Current Status: Working Group on general update.  Draft PC37.66/D9, dated September 2002 was reviewed and discussed at the 9/30/02 WG meeting in order to prepare the document for balloting by the end of 2002

Proposed Activity: Draft 10 is due to be released to the working members by the end of October for one last review before balloting.  All comments will be due two weeks after receiving Draft 10.  A request for a balloting pool is to take place during the middle of November.   The goal is to be out for balloting by the middle of December 2002.

Chairman: Harry Hirz			Email: Harold.Hirz@JoslynHV.com

Phone: 216/271-6600	FAX: 216/271-6600 ext. 203

PAR Designation: PC37.66	PAR Approval Date: PAR extension to December 2003.  Extension approved by the  IEEE-SA Standards Board on December 6, 2001.

Completion Date:

Last Action: Reaffirmed

Last Date: 1988

Date Action Required: 1993

Action: Revision (General Update)

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: C37.71-1984

Title: IEEE Standard for Three-Phase, Manually Operated Subsurface Load Interrupting Switches for Alternating Current Systems

Current Status: Standard is current.

Proposed Activity: This standard is being revised in the combining of C37.71, C37.72, and C37.73 into one standard. New standard to be designated as C37.74.  When C37.74 is approved, C37.71 will be canceled and dropped from the C37 series.

Chairman: Don Martin			Email: dmartin@gwelec.com

Phone: 708/388-5010	FAX: 708/388-5010

PAR Designation: 	PAR Approval Date:

Completion Date:

Last Action: Updated standard published.

Last Date: July 5, 2001

Date Action Required: 2006

Action: Rewrite into C37.74

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: C37.72-1987

Title: Single and Three Phase Manually Operated 600 Ampere Dead-Front Padmounted Load Interrupting Switches for Alternating Current Systems

Current Status: Reaffirmation approved by the IEEE-SA Standards Board on June 26, 1999

Proposed Activity: This standard is being revised in the combining of C37.71, C37.72, and C37.73 into one standard. New standard to be designated as C37.74.  When C37.74 is approved, C37.72 will be canceled and dropped from the C37 series.

Chairman: John Wood			Email: JGW5@PGE.COM

Phone: 415/973-3355	FAX: 415/973-8147

PAR Designation: 	PAR Approval Date:

Completion Date:

Last Action:  6/26/99 - Reaffirmed

Last Date: 1999

Date Action Required: 2004

Action: Rewrite into C37.74

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: C37.73-1998

Title: Standard Requirements for Padmounted Fused Switchgear

Current Status: Standard is current.

Proposed Activity: This standard is being revised in the combining of C37.71, C37.72, and C37.73 into one standard. New standard to be designated as C37.74.  When C37.74 is approved, C37.73 will be canceled and dropped from the C37 series.

Chairman: 					Email:

Phone: 	FAX:

PAR Designation: 	PAR Approval Date:

Completion Date:

Last Action: New standard published.

Last Date: September 3, 1998

Date Action Required: September 3, 2003

Action: Rewrite into C37.74

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: PC37.74

Title: Standard Requirements for Subsurface, Vault, and Padmounted Load-Interrupter Switchgear and Fused Load-Interrupter Switchgear for Alternating Current Systems up to 38 kV

Current Status: Draft 5 was sent out for the first recirculation ballot on September 23, 2002.

Proposed Activity: It is expected that the current ballot will be successful; therefore, a WG meeting at the next Switchgear Meeting will not be necessary.

Chairman: Dave Stone			Email: dstone@cooperpower.com

Phone: 414/768-8247	FAX: 414/768-8236

PAR Designation: PC37.74	PAR Approval Date: January 2000.

Completion Date:

Last Action:

Last Date:

Date Action Required: January 2004

Action: Submit new standard to the IEEE Standards Board for Approval

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: None - Task Force

Title: Controls for Distribution Equipment

Current Status: First TF meeting was held on 10/1/02 and assignments were made to investigate and research literature in six specific areas.

Proposed Activity: The six people who perform the literature review will complete written observations and recommendations by 3-1-03 regarding how to address any voids that are identified.

Chairman: Bill Hurst			Email: bhurst@maysteel.com

Phone: 262/832-9022	FAX: 262/251-5895

PAR Designation: 	PAR Approval Date:

Completion Date:

Last Action:

Last Date:

Date Action Required:

Action:

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No