S03HVCBa4 “Capacitance current switching WG C37.04a; 09a Meeting in St. PETE FL 5/7/2003”

# Notes of interest

C37.04a  D8  approved by REVCOM Stds board 5/12/2003.  C1, C2  (No C0)

C37.09a  (3 recirculations since last meeting)

Kirk Smiths Negative on Restrike requirements etc. was discussed.

RWA Proposal was approved as follows:

Provide test requirements for a C0  (unlimited restrike) CB.

Recirculate a D10 with the test requirements for the C0 class.

Request a new PAR to Add C0 to C37.04  (this would be C37.04c)

Discussion on restrike concerns NSDDs etc.

Anne Bosma agreed to provide the latest NSDD wording. (He has done so)

RWA actual field measured restrikes were circulated for information.

Meeting duration was about 1 hour.

Grace & Peace

Roy Alexander / chair WG on C37.04a, 09a