S03HVCBa6 Minutes of WG Revision of C37.012

WG Revision of C37.012 met in the afternoon of May 7, 2003 in St. Petersburg, FL, with 17 members and 23 guests attending.

Draft 4 was distributed before the meeting. The following changes were made to draft 3:

-	NSDDs: new definition added in accordance with draft 7 of CIGRE WG A33.11, table 1 removed;

-	Cables and lines in 5.1.2 and 5.1.3 have changed places (were 5.1.3 and 5.1.2). Figures for two cable configurations have been added;

-	New figure 5;

-	Most significant equations numbered;

-	Derivation of equations for inrush current and frequency have been expanded to show where the numbers 13 500 and 9.5 come from;

-	All remarks related to specific circuit breaker types have been removed and put in one place.

Some of the comments made by Bill Bergman, Roy Alexander and Tom Field were discussed and resulted in the following additional changes that will be made to draft 4:

-	A remark regarding double circuit lines, where due to the interphase coupling, the factor of 1.2 may not be enough;

-	With the introduction of class C0 in C37.09, the text in C37.012 needs to be updated to reflect this. The general purpose circuit breaker is equal to class C0, the existing “restrike free” is equal to class C1.