S03HVCBa8 C37.12, High Voltage Circuit Breakers, Specification Guide

Minutes of Meeting

May 4, 2003, St Pete Beach

The first meeting of the working group for C37.12, specification guide for circuit breakers, was held on Sunday 4th May 2003 at Sirata Tradewinds hotel in St Pete Beach. This meeting was chaired by Devki Sharma in the absence of chairman Ken Edwards who was unable to attend this meeting.

The meeting was attended by the following  members and guests;

Bill Bergman

Wally Binder

Don Cantrelle

Chih C. Chow

Bhavin Desai

Pete Dwyer

Leslie Falkingham

Tom Field

David Galicia

Andre Giboulet

Luther Holloman

Randall Kyle

Franco Lomonaco

Bill Long

Fortin Marcel

Yasin Musa

Jeffrey Nelson

Rod Sauls

Devki Sharma

Kirk Smith

Mel Smith

Jeff Williams

Thomas Wolfe

Rich York

Xi Zhu

- The first item to be discussed was to agree upon a format of this document. Three format options were discussed;

- A product standard that would include all standard design and construction features of the circuit breaker, that are normal and usual standard requirements and are also specified by the utilities but are not included in C37.04 and C37.09 standards. In addition this standard would include guidance for the users to specify special switching requirements.

- A model specification with fill-in-the-blanks for use by the users for circuit breaker purchases.

- A guide for the users to develop their own model specification suitable for their individual system.

After a substantial discussion it was apparent that a majority of those in attendance was in favor of pursuing the third option.

2)	It was agreed that this guide will not include requirements for oil, air-blast and air-magnetic circuit breakers.

- Working group members were requested to review existing clauses 7 to 10 and recommend whether any of these should be moved to C37.04.

4)	Purchaser’s Detailed Requirements, clause 11 of the existing document has to be expanded to provide guidance in the specification for capacitor bank switching and TRV requirements.

Anne Bosma, Tom Field and Rod Sauls offered to provide material for capacitor switching.

Yasin Musa, Tom Field and Rod Sauls will provide material for TRV requirements.

5)	This document will be posted on the IEEE Virtual Community web site. All members were requested to review it and provide their recommendations on existing clause wordings, and new suggested clauses. The clauses & section headings and rearrangement of the document will be subject to review after all the comments have been received.

Next meeting of the working group will be in Portland, Oregon in Sept. 2003. All members should submit their comments to the chairman Ken Edward before end of August 2003 for inclusion in the next draft of this guide.

Minutes by

Devki Sharma