## IEEE WG or TF report : P1247; Interrupter switches

Date of meeting: 6 may, 2003

Number of participants: (as per the sign sheet; some did not signed)

- Members:	 7

- Guests:	31

### Résumé of discussions and of work performed:

- The chairman presents the result of the ballot ended on 5 February, 2003, and presents a résumé of the comments received. A total of 514 individual comments was received:

- 63 pertaining to the actual correction limited PAR,

- 329 pertaining to glitches and editorial all over the document (these comes from the original IEEE conversion from a paper copy trough a text recognition scan); corrections have been made to the document.

- 122 technical and coordination comments on other parts of the document

The proposed corrections have been accepted and the negative ballotters will be contacted and we will proceed to reballot and approval. Other comments have been reviewed and actions taken will be detailed in the following section.

## Items for actions:

### Actual PAR

- Chair action: write to the negative ballotters, reporting the actions taken on their negative, and overall action that will follow. After reception of their response, reballot the document and proceed for approval by IEEE

- Letter to negative ballotters: end of may 2003

- Initiation of reballot procedure: mid-june 2003

- Submit for approval by IEEE: end of august 2003.

- Chair action: make documents (draft P1247, classified comments) available on the WEB, password protected: end of may

- Document number: the 1247 number is kept until this document become part of the common clauses (C37.100.1)

- Upper voltage limit: the WG decide to leave the voltage limit opened (not limit to 242 kV)

- Task force 1: Notes, Metrification and Definitions and Description of ratings: a task force is formed to review:

- Notes: review notes, normatives or a informatives? (see coordination comments)

- Metrification: review metrification and make sure conversions are correct

- Definitions and Description of ratings (sections 3 and 5): review these sections

- Task force 2: Transient recovery voltage for active load switching: review TRV definitions, description and values altogether with related source side circuit parameters (Zs/Zt, Xs/Rs, grounding and first and second pole factors ….)

- Task force 3: Capacitive current switching: review the clauses pertaining to this subject in regard with ongoing works for common clauses and distribution capacitor switch (C37.04a, C37.09a, C37.100.x and C3766)

- Chair action: Ice loading: WG recommend to pull these clauses out of 1247 and make sure that they are included in C37.30.1 (see task forces for C37.30.1: Carl Reigart, Marcel Fortin)

- Altitude correction factors: WG agree to keep this informative annex as is.

- Task force 4: Magnetizing current tests: review recent reports, tutorials and papers

Task forces deadlines:

- Document available on the WEB (WG chair): end of may 2003

- Report to WG Chair:  20 August, 2003

- Report to WG: Portland meeting

Meeting room needed:

- Number of attendees: 50

- Time period: 1 hour 45 minutes.

# IEEE P1247 future revision : Task forces members

# Spring 2003 Switchgear committee Meeting, Florida

Co-chairs: Lyne Brisson and Marcel Fortin

| Name | Email | User/manufacturer |
| --- | --- | --- |
| TF 1: Notes: to review all the notes in the document Metrification: review all the units, check the rounding and conversion Definitions and description of ratings: review sections 3 and 5 and make recommendations to upgrade clarity of the document |  |  |
| Chair: Carl Reigart | Carl.reigart@ferrasshawmut.com | Manufacturer |
| Member: Tom Wolfe | Tawolfe@duke-energy.com | User |
| Member: Erik Guillot | eguillo@entergy.com | User |
| Member: Randy Dotson | randall.dotson@lakeland.gov.net | User |
| Member: |  |  |
| Member: |  |  |
| ## TF 2: Transient recovery voltage: - review TRV representation - make recommendation whether we should set and define source side TRV, vs actual total TRV - make recommendation regarding the circuit parameters: - source impedance relative to total impedance (Zs/Zt) - source impedance Xs/Rs - grounding and first pole factor, or second pole factor for non simultaneous poles interrupter - others - recommend appropriate changes to the document |  |  |
| - Chair: Frank DeCesaro | fdecesaro@cooperpower.com | Manufacturer |
| Member: Bhavin N. Desai | bdesai@duke-energy.com | User |
| Member: Kirk Smith | kirklandsmith@eaton.com | Manufacturer |
| Member: |  |  |
| Member: |  |  |
| Member: |  |  |
| TF 3 : Capacitive current switching : review in regard to common clauses and others (C37.04a, C37.09a, C37.100.x, C37.66) |  |  |
| Chair: Jan Zawadzki | jan.zawadzki@powertechlabs.com | User, Lab |
| Member: Neil McCord | n.mccord@southerntatesllc.com | Manufacturer |
| Member: Bob Behl | bob.j.behl@us.abb.com | Manufacturer |
| Member: |  |  |
| Member: |  |  |
| Member: |  |  |
| Member: |  |  |
| TF 4 : Magnetizing current switching test: review recent reports, tutorials and papers and recommend changes |  |  |
| Chair: Mietek Glinkowski | mietek.glinkowki@us.abb.com | Manufacturer |
| Member: John Angelis | jangelis@cooperpower.com | Manufacturer |
| Member: |  |  |
| Member: |  |  |
| Member: |  |  |
| Member: |  |  |

| P1247 Working group member list (highlighted: member present at the Spring 2003 meeting) |  |  |  |
| --- | --- | --- | --- |
| Name | Address |  | Phone no. |
|  | Mail | Email |  |
| Angelis, John | Cooper Power System 3660 SO School Fayetville AR 12701 | jangelis@cooperpower.com | 479 587 6990 |
| Ball, Chuck | S&C Electric Company 6601 North Ridge Boul Chicago IL 60626 | cball@sandc.com | 773 338 1000 |
| Brisson, Lyne Co-chair | Hydro-Québec Laboratoire Grande Puissance 1806 Boulevard Lionel-Boulet Varennes QC J3X 1S1 Canada | Brisson.lyne@ireq.ca | 450 652 8605 |
| De Cesaro, Frank | Cooper Power System 1045 E. Hickory Street Franksville IL 53126 | fdecesaro@cooperpower.com | 282 835 1529 |
| Domo, Jim | Joslyn Hi-Voltage / Fisher-Pierce | jimdomo@joslynhv.com | 216 377 2232 |
| Fortin, Marcel Co-chair | 1293 rue Lussier Ste-Julie QC J3E 1Y2 Canada | Fortin.marcel@sympatico.ca | 450 922 0925 |
| Guillot, Erik M. | Entergy Services Inc | eguillo@entergy.com | 504 576 6311 |
| Lavorin, Ronald |  | Ronald.lavorin@sce.com |  |
| Meyer, Peter | S&C Electric Company 6601 North Ridge Boul Chicago IL 60626 | pmeyer@sandc.com | 773 338 1000 #2547 |
| Ranjan, Radhakrishna | GE 915 Tate Boul SE Hickory NC 28801 | Ranjan.rakhakrishna@indsys.ge.com | 828 304 5326 |
| Stone, Dave | Cooper Power System | dstone@cooperpower.com |  |

| P1247 Working group correspondant and guest list (highlighted: present at the Spring 2003 meeting) |  |  |  |
| --- | --- | --- | --- |
| Name | Address |  | Phone no. |
|  | Mail | Email |  |
| Alexander, Roy | 2 N 94th Street Allenton PA 18101-1179 | rwalexander@pplweb.com | 610 494 4684 |
| Ambrose, Chris | Florida Power & Light 2455 Port West Blvd FL 33407 | Chris_ambroe@ieee.org | 561 845 4841 |
| Brown, Bob | Chance Business Unit, Hubbell Power System | rabrown@hps.hubbell.com | 573 682 8347 |
| Byron, E. R. | Square D. | byrone@squared.com | 615 459 8475 |
| Cholewa, Edward | S&C Electric | echolewa@sandc.com | 773 338 1000 |
| Cruz, Carlos |  | ccruzmo@entergy.com | 504 310 5585 |
| Desai, Bhavin | Duke Energy | bdesai@duke-energy.com | 704 382 3616 |
| Dixon, Alex | 2 Hobart Ct Tandallstown MD 21133 | Dixon.alex@ieee.org | 410 922 0014 |
| Dotson Randy L. | Lakeland Electric 501 E Lemon Street Lakeland FL 33801 | Randall.Dotson@lakeland.gov.net | 863 834 6494 |
| Dufournet, Denis | Alstom Villerbanne France | Denis.dufournet@alstom.tde.com | +33 3 54 72 68 55 82 |
| Field, Tom |  | tefield@southernco.com | 205 992 5470 |
| Glinkowski, Mietek | ABB | Mietek.glinkowski@us.abb.com | 919 856 3861 |
| Harvey, Ian | Power management Services | ijharvey@hotmail.com | 812 332 8922 |
| Holloman, Luther | Dominion | Luther_holloman@dom.com | 804 257 4640 |
| House, George | Yaskawa | George_house@yaskawa.com | 847 887 7266 |
| Houston, Jim |  | jehousto@southernco.com | 205 258 4069 |
| Hurst, Bill | Maysteel | bhurst@maystell.com | 262 832 9022 |
| Isaac Carlos | Oncor Electric Delivery 115 W 7th Street Forth-Worth TX 76101 | cisaac@oncorgroup.com | 817 515 6370 |
| Jankowich, Ed |  | emjj@ieee.org | 908 813 2040 |
| Khazam, Ghaff |  | gkhazami@gawaz.com | 813 960 0990 |
| Kollar, Allan |  | kollara@firstenergycorp.com | 330 384 5552 |
| McCord, Neil | Southern States 30 Georgia Avenue Hampton GA 30215 | n.mccord@southernstatesllc.com | 770 946 4562 |
| Meiners, Steve | Eaton / Cutler-Hammer 2210 72/221 HWY Greenwood SC 29649 | stevenemeiners@eaton.com | 864 942 6344 |
| Monroe, Alec C. | USCO Power PO Box 1023 Birmingham AL 35202 | amonroe@uscopower.com | 205 592 9244 |
| Montillet, Georges | Alstom One Alstom Way Charleroi PA 15022 | Georges.montillet@tde.alstom.com | 724 483 7830 |
| Moore Richard K | Baltimore Gas & Electric 2900 Lord Baltimore DR Baltimore MD 21244 | Richard.k.moore@gge.com | 410 597 7828 |
| Morgan, Peter L. | Morpec Industries 2725 E Ginter Road Tucson AZ 85706 | pmmorpec@earthlink.net | 520 294 5452 |
| Muench, Frank | Cooper Power System 1045 E Hickory Street Pewaukee WI 53188 | fmuench@cooperpower.com | 262 691 8310 |
| Reigart, Carl | Ferraz Shawmut | Carl.reigart@ferrazshawmut.com | 978 465 4251 |
| Servies, David |  | dservies@cooperpower.com | 479 587 6334 |
| Sharma, Devki |  | devkisharma@ieee.org | 504 310 5426 |
| Smith, R. Kirkland | Eaton / Cutler-Hammer 200 Westinghouse Horseheads NY 14845 | kirklandsmith@eaton.com | 607 796 3370 |
| Steinbrecher, Brian T. | Cooper Power System 1045 Hickory Street Pewaukee WI 53072 | bsteinbrecher@cooperpower.com | 262 691 8221 |
| Sunkara, Rao | PG&E | Rgs6@pge.com | 510 874 2543 |
| Tobin, Tom | S&C Electric | ttobin@sandc.com |  |
| Wolfe, Thomas | Duke Energy | tawolfe@duke-energy.com | 704 382 6491 |
| Wood, John | Pacific Gas and Electric | Jgw5@pge.com | 415 973 3355 |
| Worland, Al | Southern California Edison 7300 Fenwick Lane Room 169 Westminster CA 92683 | worlanem@sce.com | 714 895 0432 |
| Zawadzki, Jan | Powertech Labs | Jan.zawadzki@powertechlabs.com | 604 590 7487 |