Reclosers and Other Distribution Equipment (RODE) Subcommittee

Meeting Minutes

St. Pete Beach, Florida – May 6, 2003

| Members | Present: | Guests: |
| --- | --- | --- |
| Chris Ambrose Bob Brown Ray Capra Ian Harvey George House Bill Hurst | Kris Ranjan Tim Royster Dave Stone Bill Walter John Wood | Bob Behl Wallace Binder Larry Davis Brian Steinbrecher Tom Tobin Walt VonMiller |

1.   Call to order

The meeting was called to order at 2:00 PM by Chairman John Wood.   There were 11 members and 6 guests present. The current RODE membership is 28 (see attached membership roster).

2.   Introductions

Members and guests introduced themselves.

3.   Membership Changes

None

4.   Approval of Minutes

The minutes of the Fall 2002 meeting were approved without change.

5.   Chairman’s Report

ADSCOM’s meeting summary was reported.  See ADSCOM meeting minutes.

6.  Working Group Reports

a) Recloser Standards C37.60 and C37.61  Working Group Chairman Dave Stone reported the following:

The Working Group for C37.60 and C37.61 has been disbanded following the successful completion of its work earlier this year. The Working Group did not meet at the May Switchgear meetings in Florida.

The final recirculation ballot for C37.60 closed on December 20, 2002 with 94% returned and 98% affirmative.  There was one unresolved negative ballot.

The final draft was submitted to IEEE in January, 2003 and approved by RevCom at its March 19 meeting.

The standard is currently being prepared by the Editorial Department of IEEE with a target date for publication in July, 2003.

Following the recommendations of the Working Group, the recloser application guide, C37.61 was administratively withdrawn by RevCom in December, 2002.

David T. Stone, Working Group Chairman, C37.60 & C37.61

Reclosers and Other Distribution Switchgear Subcommittee

09 May 2003

b)Sectionalizer Standard C37.63  Working Group Chairman Marcel Fortin reported the following:

Date of meeting: 7 May, 2003

Number of participants:

Members:	5

Guests:	7

### Résumé of discussions and of work performed:

Ballot results are reviewed. The standard will be reviewed, negative balloters will be contacted by email (beginning of July, 2003) and we will proceed to reballot (mid-July, 2003).

The WG members and attendees are expected to submit their comments to the Chairman by 7 June, 2003.

## Items for actions:

- Definition 3.1: the change is generally accepted; comments will be accepted until 7 June, 2003.

- Definition 3.4:  new definition, accepted; pulled out of 5.5

- 4.1: Usual service conditions: pulled in text from 1247 except that in a) the expression “cooling air” shall be pulled out and the expression “ambient temperature” shall be kept

- 4.2 unusual service condition: item f), transportation, is not a service condition, to be removed

- Cutout type sectionalizer (5.3 and 5.6): WG disagree with exceptions asked for by a ballotter for cutout type sectionalizers. The chair will write the ballotter, R Brown from A.B. Chance, for more information and arguments (email sent on 13 May, 2003)

- Table 1B: proposed note accepted

- Table 2: the objective of changing to a different format is to allow new products and ratings. WG to review and comment for 7 June, 2003.

- Table 4 note 2: Change was asked by a ballotter (neg). The WG decision is to keep the note as is and as in C37.60.

- Minimum current actuating test: added section 6.12. Replace the expression “as follow” in 6.12 by “per 6.12.1 and 6.12.2”

- 6. Partial discharge test: WG agree to replace by the latest version of C37.60

- 8.1 Nameplate: added nameplate for series coil accepted by the WG; editorial comments made

- 8.3.2 Insulation medium indicator: WG agree to keep the same text as C37.60

WG comment deadline:

comments to be received by 7 June, 2003

Meeting room and period needed:

Number of attendees: 25

Time period:  1h45

c) Capacitor Switch Standard C37.66  Working Group Chairman Harry Hirz reported the following:

The Working Group met on Monday, May 5, 2003 from 1:30 AM until 5:30 PM.  There were 7 members of the working group and 12 guests present at the meeting.  Harry Hirz, Working Group Chairman, presided over the meeting

The comments associated with Draft PC37.66/D10, dated April 30, 2003, were reviewed and discussed.  Nearly all the open items were closed with the exception of a few new approaches to BIL testing for vacuum contacts and a testing factor for 50Hz.  These 2 items were to finalized based on consensus from a few other working groups before balloting the standard.

Currently the draft 10 is out invitation for balloting.  Projected balloting to take place by the end of June 2003

Harry Hirz

Working Group Chairman, C37.66

Standard Requirements for Capacitor Switches for Alternating-Current Systems Subcommittee

May 17, 2003

d) Underground Subsurface and Pad-mounted Equipment Standard PC37.74    Working Group Chairman Dave Stone reported the following:

The Working Group for C37.74 has been disbanded following the successful completion of its work earlier this year.  The Working Group did not meet at the May Switchgear meetings in Florida.

The final recirculation ballot for C37.74 closed on January 27, 2003 with 91% returned and 98% affirmative.  There was one unresolved negative ballot.

The final draft was submitted to IEEE February and approved by RevCom at its March 19 meeting.

The standard is currently being prepared by the Editorial Department of IEEE with a target date for publication in July, 2003.

At the Main Switchgear Committee meeting on 8 May 2003, a motion was passed to withdraw C37.71, C37.72, and C37.73.  These standards are now replaced by the new consolidated standard C37.74.

David T. Stone

Working Group Chairman

PC37.74

Reclosers and Other Distribution Switchgear Subcommittee

9 May 2003

e) Task Force on Controls for Distribution Equipment   Reported by John Wood for Task Force Chairman Bill Hurst:

The Task Force met on Wednesday, May 7, 2003 from 1:30 PM until 5:00 PM.

# Progress from the following Literature Review was discussed:

Temperature, Humidity, Frost – Chuck Ball

Mechanical Vibration – Bill Hurst

Harmonics – To be Determined

Grounding Variations – Harry Hirz

Electro-Magnetic Interference – Bob Behl

Lightning and other Surges – Frank DeCasaro

More literature review is required from the TF volunteers.

Bill Hurst handed out and discussed the Pacific Gas and Electric Company’s specification for distribution line controls.  Members consensus was that many parts of this specification are valuable for inclusion into the TF draft.

The TF will meet at the Fall 2003 meeting.

7.  Attachments

- See the Attachment - RODE Standards Status Report.

- See the Attachment - RODE Membership Roster

8.   Old Business

None

9.   New Business

None

10. Next Meetings:

- Portland, Oregon, 20-25 September 2003, Marriott Portland Downtown

- Galveston, Texas, May 2004

Respectively yours,

John G. Wood, P.E.

Chairman

RODE Subcommittee