Minutes of WG Revision of C37.012

WG Revision of C37.012 met in the afternoon of September 23, 2003 in Portland, OR, with 15 members and 22 guests attending.

Draft 4 distributed before the spring meeting was not changed pending the outcome of the discussion regarding the introduction of class C0 in C37.09. The matter has now been settled and draft 5 can be prepared and sent out for balloting. The following changes are made to draft 4:

-	A remark regarding double circuit lines, where due to the interphase coupling, the factor of 1.2 may not be enough;

-	With the introduction of class C0 in C37.09, the text in C37.012 will be adapted to reflect this. The general purpose circuit breaker is equal to class C0, the existing “restrike free” is equal to class C1.