IEEE HVCB Quality & Reliability Working Group	Sept 24, 2003, Portland, OR

Proposed Agenda

- Meeting was attended by 22 members and 10 guests

- A preliminary proposal for an “IEEE Guide for Circuit Breaker Instruction Manuals” was discussed.  A majority of members expressed the view that an IEEE Guide for Circuit Breaker Instruction Manuals should be a separate IEEE guide rather than being incorporated into the IEEE Draft C37.12 Standard for AC High-Voltage Circuit Breakers – Specification Guide that is under revision.

- Approval to request a PAR for the “IEEE Guide for Circuit Breaker Instruction Manuals” was subsequently received from the HVCB subcommittee.

- Coordination will be exercised with the draft “IEEE C37.12 Standard for AC High-Voltage Circuit Breakers – Specification Guide” WG.

- CIGRE Circuit Breaker Reliability survey is being finalized for issue early in 2004.  Members are encouraged to either volunteer or nominate candidates who could coordinate the survey within their organizations.  Many members have volunteered to act as survey coordinator.  Send contact information to W. Bergman at bergman@ieee.org

- The IEEE transformer committee (Bipin Patel) had asked if there was any need to develop an IEEE guide for SF6 handling procedures.  The consensus is that IEC 1634 is an excellent guide and should not be duplicated by IEEE.

W. Bergman