Reclosers and Other Distribution Equipment (RODE) Subcommittee

Meeting Minutes

Portland, Oregon – September 23, 2003

| Members | Present: | Guests: |
| --- | --- | --- |
| Chris Ambrose John Angelis Harry Hirz George House Bill Hurst John St. Clair | Ed Steele Dave Stone Bill Walter John Wood | Frank Mayle Don Parker Bryan Pham Timothy Roscoe Brian Steinbrecher Tom Tobin Ken Workman |

1.   Call to order

The meeting was called to order at 2:00 PM by Chairman John Wood.   There were 10 members and 7 guests present. The current RODE membership is 28 (see attached membership roster).

2.   Introductions

Members and guests introduced themselves.

3.   Membership Changes

None

4.   Approval of Minutes

The minutes of the Spring 2003 meeting were approved without change.

5.   Chairman’s Report

ADSCOM’s meeting summary was reported.  See ADSCOM meeting minutes.

6.  Working Group Reports

a)Sectionalizer Standard C37.63  Working Group Chairman Marcel Fortin could not attend the RODE Subcommittee Meeting, but sent the following:

## IEEE WG report : PC37.63; Automatic Line Sectionalizers

Date of meeting: 24 September 2003

Number of participants:

Members:	7

Guests:	7

### Résumé of discussions and of work performed:

Ballot and recirculation ballot up to date reviewed. Technically, only 1 negative left. Although the technical comments from this ballotter have all been considered and although many mailing to this person, the chair never received a reviewed vote.

The editorial comments received will be reviewed and validated and the document submitted for approval by IEEE.

## Items for actions:

Chair action:

Wrap up recirculation comments, review the document and submit to WG for end of October 2003

Receive and compile WG members comments, end of November 2003

Submit for approval by IEEE/SA, mid December 2003

WG members:

Review chair report and document on recirculation and comment, mid November 2003

Meeting room and period needed: No meeting foreseen

b) Capacitor Switch Standard C37.66  Working Group report, Chairman Harry Hirz :

This standard went out for balloting in August 2003.  Negative ballots reviewed and resolved at the Portland WG Meeting.  To be sent out for re-ballot in October 2003.

c) Underground Subsurface and Pad-mounted Equipment Standard PC37.74    Working Group Chairman Dave Stone reported the following:

IEEE C37.74 was published in August 2003.  This standard consolidated Standards C37.71, C37.72, and C37.73.  As part of the PAR, these three standards are to be withdrawn when C37.74 is published.  The WG Chairman will officially notify IEEE/SA to withdraw these three standards.

d) Task Force on Controls for Distribution Equipment   Task Force Chairman Bill Hurst reported the following:

Controls For Distribution Equipment Task Force

Meeting Notes – Portland, 9-22-03

Attendees:	A total of fifteen people were present.

Literature Review:

The following is a list of categories and the people that volunteered to research existing standards and other documentation to identify what is covered and any voids regarding the application of controls on distribution lines.

| Temperature, Humidity, Frost | Chuck Ball |
| --- | --- |
| Mechanical Vibration | Bill Hurst |
| Harmonics | Dave Stone |
| Grounding Variations | Harry Hirz |
| Electro-Magnetic Interference | Bob Behl |
| Lightning and Other Surges | Frank DeCesaro |

Survey:

A survey was finalized and will be sent to users and manufacturers to obtain information regarding specifications and application experience.

Action Items:

- Bill Hurst to forward revised survey to TF for review.

- Bill Hurst to contact IEEE for access to standards for TF members.

- Above listed TF members to begin literature review and present findings at the next meeting.

Bill Hurst

7.  Attachments

- See the Attachment - RODE Standards Status Report.

- See the Attachment - RODE Membership Roster

8.   Old Business

None

9.   New Business

a) Marcel Fortin send an email requesting that the RODE Subcommittee prepare a standard covering load interrupter switches for applications on overhead distribution lines (similar to C37.74, except for OH lines).  After much discussion, the Subcommittee decided to “table” this item until the next meeting when Marcel can personally bring this up to explain his position.

b) The Subcommittee unanimously approved to have the Switchgear Committee submit C37.60 (recloser standard) for the dual IEEE/IEC logo, provided IEEE will still maintain control of the maintenance of this standard.

10. Next Meetings:

- Galveston, Texas, May 3-6 2004, San Luis Resort

- Tucson or Philadelphia, Fall 2004

Respectively yours,

John G. Wood, P.E.

Chairman

RODE Subcommittee