Report of WG « Revision of IEEE C37.011 »

The Working Group «Revision of C37.011 Application Guide for TRV for HV Circuit Breakers » met on Monday May 3rd 2004, with 7 members and 35 guests present.

During this meeting, draft 10a has been discussed. The last modifications were mainly editorial or made to align the text with the revised C37.04-200x and C37.06-200x.

Some figures will be modified to be consistent with the new TRV ratings for terminal fault test duty T10 (kpp= 1.5 in all cases).

A final draft will be prepared soon and sent to WG Members & Guests for comments.

A copyright statement will be added to comply with IEEE rules.

The document will then be ready for balloting in June 2004.

The WG Chair would like to ask the HVCB Subcommittee for permission to ballot Draft 011 of PC37.011 « IEEE Application Guide for Transient recovery Voltage for High-Voltage Circuit Breakers ».

Denis Dufournet	04-05-04