Chair: Neil McCord, Southern States LLC

n.mccord@SouthernStatesLLC.com ph  770/946-4562; fax 770/946-8106

Discussion on the Scope and Goals of this task force:

- To evaluate the various Capacitive Switching Standards in IEEE/ANSI.  This Task Force will cover AC Capacitor Switching devices rated above 1000 V.  This group will not discuss the fault Interrupting Values.

- Combine the requirements, where appropriate, into a “Proposed” Common Clause document.

- Evaluate any additional requirements that could/should be added to the standards

Discuss the various documents under review:

- Common Clauses C37.100.1

- High Voltage Circuit Breaker:

  - C37.04a

  - C37.06 & C37.06.1

  - C37.09a

- Capacitor Switches C.37.66

- Interrupter Switches IEEE 1247

- Circuit Switchers C37.016

- We added Reclosers C37.60 and C37.74 to the list

- At this time this task force will not evaluate the IEC documents 60694 and 62271-100 since C37.04a and C37.09a are harmonizing where appropriate with these documents.

Action plan for the task force:

- The basic comparison tables have been created to compare the standards.  Neil McCord will distribute them to Anne Bosma, George Montillet, Randy Dotson, Harry Hirz, Carl Reigart, Kirk Smith and Lyne Brisson for them to finish filling out the tables.

- Define “Parking Lot Issues” for future discussion

  - Rated transient inrush frequency & inrush current what values are correct

    - Application Guides; C37.012 and C37.66

  - 62271-100 has added new material

  - Universal definitions for probability of restrike classifications

  - Preconditioning tests before capacitor switching test.

  - Mechanical and electrical endurance as it relates to capacitor switching

  - Voltage limiters on line and cable switching

  - Transient reduction as related to the tests including:

    - Closing resistors

    - Point-on-Wave switching

Plan for the next meeting is to review the completed tables and see where the documents have commonality and where they differ.  Then decide what to do next.