# Report to HVS

# IEEE P1247, fall 2004 meeting, Tucson, Arizona, september 2004

# Meeting

The WG met on 21 September 2004, 14h00 to 15h00; 5 members and 10 guests attended.

The IEEE patent issues were reviewed.

# Ballot status

Last ballot (3rd recirculation on corrections to sections sections 8.3.2.3 and 8.3.2.6, figures 7, 8 and 10 and table 9) ended on 11 December 2003 (see spring 2004 meeting). We then had 3 negatives (Olsen, Whalen and House). All 3 have been contacted by the chair and Whalen, who ask for revision of TRVs and addition of single phase TRV notified that he will vote affirmative on next ballot. House raise questions about the load circuit power factor and source side TRV. Olsen raised major questions regarding notes. He pointed out that recently IEEE refused approval of some documents because some notes contain normative material (see style manual excerpts already sent out).

The editorial staff, Michelle Turner she called (13 September 2004) me to advise that the note question, raised by Ted Olsen, shall be addressed and will require a reballot. TF 1, Chuck Ball, already addressed this question (notes) and proposes appropriate changes.

# WG decision

TF 3, Capacitive current switching : this matter have been postponed, waiting for ADSCOM TF report (Neil McCord) and actions at RODE and HVCB subcommittee. Corrections made to the latest draft (draf 4) resolve actual application problems.

TF 1,  Metrification and notes (affirmative vs informative) : these have been reviewed by C. Ball and will be included in the draft to be recirculate (recirculation will be on these changes)

TF 1, Definitions and definition of ratings : this matter have been postponed, waiting for Common Clauses (C37.100.1; document on ballot).

TF 2, Transient recovery voltages : more studies are needed and this will be done for future revision, after approval of the actual document (new PAR)

TF 4, Magnetizing current switching : more studies are needed and this will be done for future revision, after approval of the actual document (new PAR)

New, maximum ambient temperature for test, clause 8.2.3.2 : actual +50°C changed for +40 °C

# Course of action

Although we have a successful ballot, we still have 2 negatives that shall be addressed or submit to ballot before going to REVCOM. Olsen’s comments shall be considered and all the notes reviewed according to IEEE style manual (already done by TF1). We thus have to include TF1 work in a new draft and reballot. Course of action will be as follow:

- Comments from WG on TF1 work: deadline 15 October 2004

- Based on TF1 work, and WG comments, prepare an new draft for reballot: beginning of November

- Recirculate among WG:  beginning of November to mid-November

- Reballot: end of November (30 days reballot)

- Pursue activities for other TF 2 and 4 : reports for end of January 2005

Marcel Fortin, ing

Lyne Brisson, ing

4 October 2004