Reclosers and Other Distribution Equipment (RODE) Subcommittee

Meeting Minutes

Tucson, Arizona – September 21, 2004

| Members | Present: | Guests: |
| --- | --- | --- |
| John Angelis Ray Capra Harry Hirz George House Bill Hurst Don Martin | Tim Royster Francois Soulard Dave Stone Bill Walter John Wood Jan Zawadzki | Frank Chapman Frank Lambert Frank Mayle Eric Sagen Kirk Smith Ken Workman |

1.   Call to order

The meeting was called to order at 2:00 PM by Chairman John Wood.   There were 12 members and 6 guests present. The current RODE membership is 26 (see attached membership roster).

2.   Introductions

Members and guests introduced themselves.

3.   Membership Changes

Francois Soulard requested membership which has now been approved.

4.   Approval of Minutes

The Spring 2004 meeting minutes were approved without change.

5.   Chairman’s Report

ADSCOM’s meeting summary was reported.  See ADSCOM meeting minutes.

6. Frank Lambert from NEETRAC gave a presentation titled: “Thermal and temperature cycling tests on solid dielectric switches, interrupter, and reclosers.”  As a result of this presentation, the RODE Subcommittee members agreed that Standards C37.60 and C37.74 should be revised to include a thermal and temperature cycling test for the solid dielectric equipment.   A copy of this presentation is shown in attachment 3.

7.  Working Group Reports

a) Recloser Standard C37.60  Working Group Chairman Dave Stone reported the following:

Corrigendum #1 for Standard Requirements for Overhead, Pad Mounted, Dry Vault, and Submersible Automatic Circuit Reclosers and Fault Interrupters for Alternating Current Systems up to 38 kV is in RevCom for approval.  Note: RevCom approved this corrigendum on 9/22/2004, and now the process for the dual IEEE/IEC logo will begin.

b)Sectionalizer Standard C37.63  Working Group Chairman Marcel Fortin reported the following:

# Meeting

The WG met on 22 September 2004, 13h30 to 14h00. 4 members and 6 guests attended the meeting.

IEEE patent issues presented.

# Ballot result

The recirculation ballot left us with 3 unresolved ballot and a new negative ballot.

Two of the unresolved ballot are from Mietek Glinkowski and Robert Godin who asked for the addition of partial discharges tests. These tests have been included, as per Glinkowski and Godin comments. After many tentative (emails and verbal) neither of them responded on the last reballot or officially notify the chair that their negative have been resolved.

A negative from Steve Whalen is not accepted, being without comment.

Ted Olsen raised a new negative regarding the notes. He pointed out that recently IEEE refused approval of some documents because some notes contain normative material (see style manual excerpts already sent out).

The editorial staff, Michelle Turner, raised a question about a minor change in the scope, as compared to the PAR. After checking with Dave Ringle and her boss, she called (13 September 2004) me to advise that I do not have to change the PAR for this small change. She also pointed out that the note question, raised by Ted Olsen, shall be addressed and will require a reballot.

# Proposed course of action

Although we have a successful ballot, that all the preceding negatives have been addressed and submitted for ballot, we have a new negative, Ted Olsen, that need to be addressed before going to REVCOM.

No PAR revision is required (phone call from Michelle Turner on 13 September 2004).

All notes shall be reviewed. I already circulate the document to the WG members and had responses from Ed Jankowich and Ted Olsen. I will review all the notes and make normative ones either in the text or footnote; the informative ones will remain as they are now, per the IEEE Style manual. After a quick recirculation among WG members and correspondants, I will do final corrections and go for hopefully final reballot. Follow time schedule:

- Review notes and produce new draft: mid October

- Recirculate among WG members and correspondents: mid October to beginning of November

- Make another attempt to resolve negatives from Glinkowski and Godin: mid October

- Reballot: November and December (10 days reballot)

Marcel Fortin, ing

# 28 September 2004

c) Capacitor Switch Standard C37.66  Working Group Chairman Harry Hirz reported the following:

The Working Group met on Monday, September 20, 2004, at 1:30 PM.  There were 10 members of the working group and 16 guests present at the meeting.  Harry Hirz, Working Group Chairman, presided over the meeting

The working group and the attending guests reviewed Draft 11, dated September 19, 2004.  The focus of the meeting was to review changes made to Tables 2a & 2b associated with the high frequency inrush current ratings.  Also, discussed were the additions to Annex B associated application frequencies during inrush conditions.  In order to prepare the documentation for re-circulation, the group was broken up into sections to perform an editorial and technical review of the entire document.  The revised draft and re-circulation package is projected to be ready by October 1, 2004.  The document will then be sent out for re-circulation at that time.

Harry Hirz

Working Group Chairman, C37.66

Standard Requirements for Capacitor Switches for Alternating-Current Systems Subcommittee

September 21, 2004

d) Task Force on Controls for Distribution Equipment   Task Force Chaired Bill Hurst meet on September 20, and went over the following:

The task force separated into six “break-out” groups to review the existing standards along the following topics:

Environmental – led by Chuck Ball

Surges / Harmonics – led by Fran DeCesaro

Grounding – led by Harry Hirz

EMI – led by Bob Behl

Mechanical – led by Bill Hurst

User / Producer Survey – led by Francois Soulard

Action Items:

- Each group identified above will complete a review of the existing standards to determine what is covered and to identify issues that are not covered but have relevance and, therefore, should be addressed.

- Complete the user / producer survey.

- Prepare for the next meeting at which time we will overlay the results of the survey with the review of the standards and then determine the direction to proceed.

8.  Attachments

- See Attachment 1 - RODE Standards Status Report.

- See Attachment 2 - RODE Membership Roster

- See Attachment 3 – NEETRAC Presentation

9.   Old Business

None

10.   New Business

None

11. Next Meetings:

- St. Pete Beach, Florida; 8-12 May 2005; Tradewinds Island Grand Resort

- Montreal, Quebec Canada; 2-6 October 2005; Hotel Omni MontRoyal

Respectively yours,

John G. Wood, P.E.

Chairman

RODE Subcommittee