Minutes of the meeting held on Wednesday May 11, 2005

from 8:00 AM to 12:00 Noon

WG Revision of C37.06/D6 - AC High Voltage Circuit Breakers Rated on a Symmetrical Current Basis - Preferred Ratings and Related Required Capabilities

Attendees: 35 Members  and 17 Guests ( 48 members up to now).

The purpose of the meeting was to discuss the comments received from the D6 vote within the Switchgear membership.

The result of the vote was 86 eligible vote, 53 affirmative, 14 negative with comments, 5 abstentions.

75 % affirmative vote was reached (79% affirmative)

We spend the first 4 hours to evaluate the comments send by the negative and the non-negative votes.

It amounted to 398 comments.

Some of the main comments were discussed within the meeting as capacitance switching rating and BIL rating / chopped waves of vacuum breakers. (about 15% of the comments).

The resolution of the Capacitance switching preferred rating was proposed. The tables have to be finalized and send to all the members.

The old C37.06.1 will be included within the main document not as an annex.

A package with all the main comments will be send to all the members and the members will be sending their comments within one month.

The intend is to make version D7 as per the IEEE Style Manual January 2005 requirements in July.

My intend is to respond to all comments directly by e-mail to the authors, (negative or not), once the working groups recommendations will be obtained.