# Report to HVS

# IEEE 1247, St-Pete, Florida, May 2005

# Meeting

Meeting was held on Monday morning, 9 May 2005; 3 members and 19 guests attended

# Patents

No patent issues known by participants.

# Resumé of discussions

Recirculation ballot: to be redone by the chair, the negative ballot comments having not been re-circulated.

TRVs and circuit parameters (Xs/Rs and load power factor) have been discussed. Many references have been made to reclosers, circuit breakers, circuit switchers and fuses standards. The actual definition (total TRV) as compared to other standards source side TRV have been discussed.

# WG decisions

- Extract source side TRV from actual total TRV and compare them with TRVs defined in circuit breakers, reclosers, circuit switchers and fuses standards.

- Review circuit parameters (Xs/Rs and load power factor)

- Motor load switching (series load representation) is not to be included in this standard

# Course of action

- Chair: re-circulate the standard and proceed for IEEE approval

- TF2: extract source side TRV and build a spreadsheet comparing these with reclosers, circuit breakers, circuit switchers and fuse standards.

- TF2: review circuit parameters (Xs/Rs and load power factor)

Marcel Fortin, ing

30-Jul-26