CIGRE Liaison Report at St Petersburg FL 5/12/05

CIGRE Study Committee A3 currently has 8WG and one TF of interest to Switchgear Committee:

A3.06 Reliability of HV Equipment  (this is the failure survey)  Users PLEASE Participate

A3.11 Application Guide for IEC 62271 (Circuit Breakers) and 60694 (Common Clauses)

This will be published as a dual logo document with IEC  (IEC - CIGRE)

A3.12  Circuit Breaker Controls

A3.13 Changing Network Conditions

A3.16 Fault current Limiters

A3.18 Grading Capacitors

A3.19 Implication of 3 Phase Line Fault TRVs on IEC and IEEE Circuit Breaker Standards

A3.20 Simulations and Calculations as Verification Tools

TF A3.01 Statistical analysis of Electrical Stresses on HV CBs in service

I am Convenor of A3.19, which will be meeting this afternoon (Thursday 12 May 2005). We had our first meeting in March 2005 in Bergamo IT, and began the simulation work on 3 phase vs. single phase line faults.  In addition to the 3-phase line fault issue, a recent TRV related Failure caused questions to be raised about short line faults at reduced fault current levels, and also the reasonableness of the 450 ohm standard phase to ground surge impedance.

More later!

Visit  www.cigre-a3.org for additional info.

Contact Roy Alexander  if you would like “secret” information or would like to participate in activities of a WG.

Submitted by

Roy Alexander

USA Regular Member of SCA3