## Introductions

## Attendance – please see attached Attendance ADSCOM-F05 file

Subcommittee Updates (by exception)

I.	Education, Recognition & Publications 	Mietek Glinkowski

Chairs – should bring nominations for awards to Wednesday meeting (noon)

Website discussion – Becoming mostly minutes

Subcommittee Chairs shall be responsible to update their Web pages:

- Agendas for SC and WG meetings

- What is this SC / WGs working on?

- What are the main issues?

“Ted’s new Meeting Book” is greatly appreciated, especially by newcomers, but also by veterans as well.  Thank you, Mr. Burse!

II.	High Voltage Fuses	Tim Royster

###### III.	High Voltage Switches	Alex Dixon

Par difficulties C37.30.1 & 1247 – being resolved

New numbers series – Olsen and ??

IV.	High Voltage Circuit Breakers 	Bill Bergman

25 documents 3 documents are current – list given

V.	Low Voltage Switchgear Devices	Doug Edwards

(2)  standards for ballot C37.13 and C37.27

(1)  obsolete std. C37.29 – to be admin withdrawn

VI.	Reclosers and other Distribution Equipment	John Wood

C37.63 for Sectionalizers approved & published

C37.66 REVCOM approved 20 – September

(2) new WG to revise and maintain (IEC) C37.60 and C37.74 – new: to include thermocycle  tests for solid dielectrics

VII.	Switchgear Assemblies	Dave Lemmerman

Ann Morgan – for Lemmerman (written report) see “SA” meeting notes

QUESTION arose: Shall the Switchgear Committee continue to prefer the older “1995” versions of Applications, including “WORD 95”, “EXCEL 95”, “ADOBE 5”  and “POWERPOINT 95”?

DECISION: The Switchgear Committee shall use those versions of WORD, ADOBE, etc. currently approved by IEEE-SA for “MY BALLOT”.

# ADSCOM Working Group Reports

- C37.100.1 Common Clauses					Dave Stone

- WG met yesterday  - 502 comments – expect next ballot year’s end

- Question about intended use of Common Clauses: What is “Mandatory”?  What is “Suggested”? – Guidelines for use will be posted later on the web site.  Intent is to use the text in Common Clauses by direct reference, whenever possible.  When that is not appropriate for the specific equipment, the document for that equipment may use the Common Clause, modified with appropriate additions and/or deletions.

- Informative Annex A recommends specific “PREFERRED” wording for how Common Clause requirements should be referred to within specific equipment standards.  Clear wording is given in A.3 for how to specify:

    - When a Common Clause is applicable in its entirety,

    - When a Common Clause is applicable only in part,

    - When a Common Clause is not applicable.

- Main topics are:

    - Temp Rise

    - Ratings

    - Altitude Correction Factors

- Include examples of ways Common Clauses are intended to be used.

[Secretary’s note:  Normative Annex B contains two examples for how Altitude Correction Factors are applied.  B.4 shows how to apply the present (new) method, with correction beginning at sea level.  And B.5 shows how the former (old) method was applied, with correction beginning at 1000 m, so that one can easily see the effects of the differences.]

- Ted Burse plans to use the requirements of C37.100.1 as the starting point in the coming revision of C37.20.6, Ground and Test Devices.

- C37.59   Reconstruction of Switchgear			Pete Dwyer

- D-4 this afternoon – then to editing & ballot

- How much detail should be included from other standards?

- Other types of conversions – “Contactors” replacing “CBs”

- Arc resistant conversion kits

- TF on Capacitor Switching					Neil McCord

- Comparing Cap Sw Requirements from among: 1247, C37.04, C37.06, C37.09, C37.016 , C37.66

- The goal is to write a Common Clause for Capacitance Switching for inclusion in C37.100.1

- 1291  Partial Discharge Measurement			Marcel Fortin

- New number is PC37.301

- PAR approved 22 –Sep

- meeting today – issues from recirculation ballot

- Review bibliography prior to work

- Future Meetings							Bill Long

- [ Please see Future Meetings Item under “New Business” Below. ]

# Standards Coordinator Update

- Standards Report / Actions for ADSCOM			Dean Sigmon

#### Jeff Nelson reported for Dean Sigmon, who could not be here

### MyBallot –

- Remove people who do not vote

- Designates someone to handle the ballot

- New Style Manual

- TEMPLATE not on web (WORD 2000)

- WORD with Figures is preferred

- Separate copies of figures as TIF files if available

AGENDA ITEMS

- IEEE-SA directive requires patent policies to be read at every meeting

  - SC Chairs, WG Chairs & TF Chairs: Please remember to read this at every meeting.

- IEEE SA Metrification Policy Issues – discussion led by Jeff Nelson & Sue Vogel, IEEE-SA Staff

  - Where “Dual dimensions” are used SCC-14 requires justification, item – by – item

  - Use of generally terminology accepted

    - “VAR-flow” -> “reactive current flow” is acceptable, but

    - “Rated kVA” is not acceptable name for a rating, because kVA is the “unit of measure”, not the “parameter”

  - SI system of units is preferred, exceptions are made for hardware, and other trade related parameters, such as  – cable spacing,

  - However, Standards Board will now accept dual dimensioning – issues are communication and implementation of the policy – Sue Vogel will provide reference

- IEEE Virtual Community

  - Please use it.

  - Use  “My Ballot”

- Stored energy capacitors to replace Station Batteries (request by Detroit Edison)

  - We are not working on this.

  - ACTION:  Bill Long - Forward the e-mail to Jeff Nelson - Battery Committee may be better able to assist

  - EPRI – research – Tennessee – Jim Houston

- Companions to attend WELCOME RECEPTION – at no additional charge

  - Generally, well received - Had several good comments.

- Criteria for Membership of Working Group, Subcommittee, Main Committee:

  - Jeff Nelson & Ted Burse to include in new O&P Manual Draft

  - Anyone can be a member of the WG, at discretion of the WG chair

  - Subcommittee members must be active WG member & participate in Sub-committee meetings for two years

  - Main Committee – be a member of a Sub-committee for two years and attend main committee meetings for two years

  - Draft from Ted by e-mail – for initial feed back

  - O&P Manual on SA- Web site – not followed by Tech Council

  - Official ballot by Swgr Main Committee

  - Exceptions then have to be approved by Tech Council

- C37.100 – Definitions – Require Revision ?

  - Nelson: C37.100 belongs to the Swgr Committee

  - Relay Committee – has definitions to be added

  - Compendium of Terms?

  - How should it be handled?

  - PAR to revise?

  - IEEE-SA  to investigate possible approaches

  - ADSCOM Seeks Chair for Definitions – Randy Dotson volunteered

  - Each Subcommittee shall appoint a member Definitions working group.

  - Definitions in IEV 50 ?  Likely not relevant to C37.100 –verify?

  - Bergman:  IEEE-SA will have new definitions automatically go into IEEE 100, as no ballot is required for IEEE 100, but not into C37.100

- IEC References in Standards – ADSCOM / Main Committee Directive of Fall 2003

  - How to assure compliance with ADSCOM directives?

  - What to do if a WG doesn’t follow the directives?

  - ACTION BURSE: to find wording of 2003 Main Committee Directive.

  - IEEE SG committee will recommend not standards shall have precedence over other standards if adequate.

  - Other standards may be used where not IEEE standard exists.

  - Dotson: C37.016 – References IEC documents and IEEE Documents – Allows people to use which ever they prefer?

  - Stone:  C37.100.1 did it this way:

- Site IEEE if it exists

- Site IEC if no IEEE exists

- Site both IEEE and IEC if similar – If using both definitions in the document

- Wood:   Where are the Directives posted?

    - Burse: Will draft a list based on earlier research

    - Steinhagen: Please consider that references shall be used to help understand or clarify the requirement.

    - Differences can be explained in “Introduction” or “Informative Annexes”

    - Can use IEC references, especially for documents intended for “Dual Logo” status.

OLD BUSINESS

- Main Committee Meeting Quorum – (Proposal on Committee, Subcommittee and WG membership listing in the front of each published document sponsored by the Switchgear Committee)

  - Burse:  Quorum issue – didn’t have quorum for last two members.

  - Nelson:  Honorary members do count toward the quorum if present, but do not count against the quorum if they are not present.

  - Nelson:  Propose 40% = quorum.

  - Alexander:  Do we “need” a quorum?  I think the “members present” should constitute a quorum.

  - Nelson:  Can have question of “balance” among users, producers, and general interest.

[ The secretary noted that there is a quorum present here today. ]

- Revision to Switchgear Operations Manual (Jeff Nelson/Ted Burse)

  - NELSON: Comments are welcome;

NEW  BUSINESS  /  ROUND  TABLE  DISCUSSIONS

McQuin:  New “My  Ballot” comment system uses “EXCEL” spread sheets – this has created some resolution problems:

      - Special characters not accepted

      - No longer any reference to person making comments or which comment it was within the comments he submitted

McQuin:  C57.142 – latest draft is better, but is still not very good.

Some Switchgear Committee members have joined ballot pool.

##### McQuin:  Submitted 80 comments – this document must be stopped.

- Haasz:  Jeff to send letter to Txfmr Committee requesting coordination

- K. Smith: Ballot Pool – Swgr people unhappy with document.  Txfmr People are happy.  Small group met at lunch yesterday, and Ted Olsen is combining Swgr. comments, to submit to TX committee.

MOTION:  The IEEE Switchgear Committee shall formally request Coordination with the Transformer Committee on the Development of C57.142.  APPROVED UNANIMOUSLY

McQuin: C57.16 –  Dry-type Current Limiting Reactor Switching is under development – with no participation to date from Switchgear.

ACTION:  All who would like to participate should join the Txfmr Committee balloting pool.  If you would like to be a corresponding member of this WG, please contact the Bill Long or Nigel McQuin.

- Support of Vice-Chair, Standards Coordinator

  - Can we, should we and / or  IEEE PES, help support the expenses Stds. Coordinator?  (Consensus is neither is a likely possibility.)

  - Alexander: Retiree?  How to cover expenses?

  - Burse:  Accounting could be difficult.

  - Morgan:  How many minutes

  - Decision:  Carry this discussion over to Spring 2006 meeting

- Partial Meeting Registration

  - No.

- Assistant Web Master

  - Looking for someone to help.

- WG Position Papers (J. Nelson)

  - Burse / Nelson – Relay Committee does this.

  - Put on Web page – some are 100 pages.

- Officer and SC Chair Rotation (3 Years?)

  - Nelson: SC succession – rotation of officers.

  - PES Tech Council – policy is SC Chairs serve for 1 year.

  - Can renew annually if desired, for up to 3-years.

  - What are the policies for rotation of officers within each SC?

    - Main Committee – rotates offices on a 2-year cycle

    - ER&P – does not rotate officers

    - HVCB – has 3-year rotation of officers

    - HVF – does not rotate officers.  Current chair has served very ably for about 10 years

    - HVS – does not rotate officers

    - LVSD – has rotation of officers

    - RODE – does not rotate officers.  Current chair has served very ably for many years.

    - SA – has rotation of officers

# FUTURE Meeting Plans

- 7-11 May  2006 Galveston, TX,   San Luis Resort

ACTION: Jeff Nelson will check if T&D Show is same week.

[ Secretary notes:  Mr. Nelson has advised that there no conflict between T&D show and the 7-11 May Galveston meeting. ]

- 1- 5 Oct  2006 – Milwaukee, WI

[ Secretary notes:  This is a change from some dates suggested earlier. ]

- Tentatively 6-10 May 2007 – Vancouver, St-Pete Beach or Philadelphia

- Tentatively 30-Sep – 4 Oct 2007 – Pittsburgh

Adjournment:  There being no further business, the Chair declared the meeting adjourned.

Respectively submitted,  R. William Long,  Secretary