Chair	Bill Bergman	bergman@ieee.org

Secretary	Rich York	rich.york@us.abb.com

| Number | Title | Status | WG Chair | Actions underway |
| --- | --- | --- | --- | --- |
| C37.04-1999 | IEEE Standard Rating Structure for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis | requires reaffirmation | Jeff Nelson | Jeff Nelson will initiate a PAR for a corrigendum to eliminate the problem of ongoing distribution of incorrect version of C37.04. An extension will be requested for C37.04 to extend its validity. Jeff Nelson will conduct a reaffirmation ballot The ballot letter will include the corrigenda as a list of know deficiencies. Since the standard cannot be reaffirmed if the corrigenda changes are made. Later when the “a” and “b” series of C37.04 and C37.09 are complete and C37.06 has been balloted, HVCB will start the complete revision of C37.04 and C37.09. We will likely combine C37.04, C37.04a, C37.04b and C37.06 into one document and C37.09, C37.09a and C37.09b into another separate document. NEMA SG-4 will be incorporated into the relevant C37.04 and C37.09 sections. |
| C37.04a-2003 | IEEE Standard Rating Structure for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis---Amendment 1: Capacitance Current Switching | approved | Roy Alexander | valid |
| C37.04b (P2005?) | IEEE Standard Rating Structure for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis---Amendment 2 Required TRV Values: | ready for ballot | Kirk Smith | K. Smith working on the PC37.04b document for TRV revisions. Draft submitted to IEEE for pre-ballot editorial approval in February 2005 and received comments from IEEE in March 2005. Comments appeared to be mainly editorial. However, the document must now use the newest version of the style guide. Kirk hopes to get that done within the next few weeks so the ballot can start. PAR has been extended to December 2006. |
| C37.06-2000 | American National Standard for Switchgear--AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis---Preferred Ratings and Related Required Capabilities | PAR issued 2003; ready for ballot of modified draft | Georges Montillet | As discussed in Spring 2005 Florida, C37.06 requires a change of PAR due to title change, the comments of IEEE meeting, and also to extend the date that was end of 2005. PAR revision waiting approval by Dean Sigmon |
| C37.06.1-2000 | American National Standard Guide for High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis---Designated "Definite Purpose for Fast Transient Recovery Voltage Rise Times" | ready for ballot | Georges Montillet | C37.06.1-2000 will require combination with C37.06 |
| C37.09-1999 | IEEE Standard Test Procedure for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis | requires PAR for revision | Georges Montillet | Georges Montillet will initiate a PAR for a corrigendum to eliminate the problem of ongoing distribution of incorrect version of C37.04. An extension will be requested for C37.04 to extend its validity. Georges Montillet has started the reaffirmation process. The ballot letter will include the corrigenda as a list of know deficiencies. Since the standard cannot be reaffirmed if the corrigenda changes are made. Later when the “a” and “b” series of C37.04 and C37.09 are complete and C37.06 is balloted, HVCB will start the complete revision of C37.04 and C37.09. We will likely combine C37.04, C37.04a, C37.04b and C37.06 into one document and C37.09, C37.09a and C37.09b into another separate document. NEMA SG-4 will be incorporated into the relevant C37.04 and C37.09 sections. |
| C37.09a-2005 | Standard Test Procedure for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis---Amendment 1: Capacitance Current Switching | ballot approved | Roy Alexander | published Sept 2005 |
| C37.09b (P2005?) | Draft Standard Test Procedure for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis---Amendment 2 Required TRV Values: | requires PAR for revision | Kirk Smith | Kirk Smith will submit a PAR for PC37.09b so that it will conform with the TRV revisions in C37.04b. |
| C37.010-1999 | IEEE Application Guide for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis | ballot approved | Yasin Musa | approved – awaiting publication |
| C37.011-2005 | IEEE Application Guide for Transient Recovery Voltage for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis | successful ballot in April 2005 | Denis Dufournet | approved by RevCom September 2005. |
| C37.012-1979 (R2000) | IEEE Application Guide for Capacitance Current Switching for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis | ballot approved | Anne Bosma | ballot approved – awaiting publication |
| C37.013-1997 | IEEE Standard for AC High-Voltage Generator Circuit Breaker Rated on a Symmetrical Current Basis | requires reaffirmation | Bill Long | ??? |
| PC37.013.1 (P2005?) | IEEE Standard for AC High-Voltage Generator Circuit Breaker Rated on a Symmetrical Current Basis---Supplement for generators 10 to 100 MVA | pending ballot | Bill Long | ??? |
| C37.015-1993 (R2000) | IEEE Application Guide for Shunt Reactor Switching | requires reaffirmation | Ken Edwards | Reaffirmation underway by Ken Edwards A revision of this standard will start after the reaffirmation. |
| C37.016 | Draft Standard for AC High Voltage Circuit Switchers rated 15kV through 245kV | recirculation ballot in process | Randy Dotson | This may be the last recirculation for PC37.016; finalize editorial comments in Montreal; and send to the Board. The PAR expires at the end of the year so an extension is likely required. Potential issues/objections with: - Format to new Style Guide since this document intentionally uses IEC format. - References to IEC 62271-1 (60694) rather than PC37.100.1 common clauses (which is still in balloting stage) |
| C37.081-1981 (R1988) | IEEE Guide for Synthetic Fault Testing of AC High-Voltage Circuit Breakers Rated on a Symmetrical Current basis | still used by at least 1 USA laboratory - requires reaffirmation | Mel Smith | Reaffirmation as an individual document. Waiting for Mel Smith to be appointed balloting “designee” |
| C37.081a-1997 | Supplement to C37.081-1981 | still used by at least 1 USA laboratory - requires reaffirmation | Mel Smith | Reaffirmation as an individual document. Waiting for Mel Smith to be appointed balloting “designee” |
| C37.082-1982 (R2000) | IEEE Standard Methods for the Measurement of Sound Pressure Levels of AC Power Circuit Breakers | requires reaffirmation | Anne Bosma | Reaffirmation ballot initiated |
| C37.083-1999 | IEEE Guide to Synthetic Capacitor Current Switching Test of AC High-Voltage Circuit Breakers | still used by at least 1 laboratory - requires reaffirmation | Mel Smith | C37.083 is still be used by one laboratory, but in the coming revision of IEC 60427 (synthetic testing), a whole annex is dedicated to synthetic test circuits for capacitive current switching. With installations increasing in size and voltage, laboratories run into problems with their capacity and have to use synthetic testing. |
| C37.10-1995 (R2002) | IEEE Guide for Diagnostics and Failure Investigation of Power Circuit Breakers | valid | Devki Sharma | valid |
| C37.10.1-2000 | IEEE Guide for the Selection of Monitoring for Circuit Breakers | requires reaffirmation | Bill Bergman | balloting initiated, then “reset” to allow additional members to become part of balloting pool. Balloting pool now formed Balloting opened Sept 27, 2005. |
| C37.11-1997 | IEEE Standard Requirements for Electrical Control for High-Voltage Circuit Breakers Rated on A Symmetrical Current Basis | inherited from NEMA | Bill Long | ??? |
| C37.12-1991 | American National Standard for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis | inherited from NEMA | Ken Edwards | C37.12 will be out for ballot by Fall 2005 meeting and not ready for discussion by the meeting. The style templates were not available until August to allow formatting and submittal |
| C37.12.1 | Draft IEEE Guide for High Voltage (>1000V) Circuit Breaker Instruction Manual Content | Editorial changes to new style format after mandatory pre-ballot editorial review. | Bill Bergman | Awaiting closing of Balloting Pool and initiation of Ballot. |
| Std 1325-1996 | IEEE Recommended Practice for Reporting Field Failure Data for Power Circuit Breakers | valid | Bill Bergman | IEEE have advised that reaffirmation conducted in 2002 so IEEE 1325 is valid until 2007 (IEEE website and IEEExplore list 1996 as last issue). |