# Introduction of Members and Guests	Bill Bergman

See F05HVCBa1.xls  - HVCB Attendance 2005-10-05 for attendance.

# Approval of Minutes of Previous Meeting 	Bill Bergman

Approved as posted.

# Discussion of IEEE patent policy 	Bill Bergman

The chairman read for review   the “IEEE-SA Standards Board Bylaws on Patents in Standards” and “Inappropriate Topics for IEEE WG Meetings”.  These are shown in F05HVCBa2.ppt.

# Membership

|  | Utility | Manufacturer | Independent / Consultants/Corresponding | Guests | Total Membership |
| --- | --- | --- | --- | --- | --- |
| Current membership | 16 | 15 | 15 |  | 46 |
| Attendance | 8 | 9 | 6 | 21 |  |

# Chairman's Report	Bill Bergman

Chairman (Bill Bergman):	bergman@ieee.org	403-862-1504

Secretary (Rich York):	rich.york@us.abb.com 	724-696-1555

- All WG Chairs are requested to maintain a roster of each WG and send to HVCB with example format of:

| WG C37.12.1 –Guide for High Voltage (>1000V) Circuit Breaker Instruction Manual Content |  |  |  |
| --- | --- | --- | --- |
| Name | Affiliation | Phone | Email |
| Bill Bergman | PowerNex Associates Inc. | 403-862-1504 | bergman@ieee.org |
| Rich York | ABB Inc. | 724-696-1555 | rich.york@us.abb.com |

- Request all WG chairs to submit meeting room requirements - data projector, numbe rof people expected, easle, markers, etc. – to the SWGR committee chairman & secretary for the next meeting.

- Update your e-mail in the attendance rosters.  Use an IEEE.org alias or and verify your information.

- The new IEEE style guide automatically extracts ”definitions” in all standards and will insert that definition into C37.100.  Volunteers are requrested to review the HVCB Standards and check for definitions.

# Reports of Working Groups

- Technical Paper Reviews	Jeff Nelson
5 papers have been accepted, including 1 WG paper (C37.011), 4 papers have been rejected, 2 returned to authors for revisions and 2 currently out for review.  One paper reviewed and accepted received a PES Prize paper award.

- WG Activities
Status of standards development and balloting activities (in numerical order of Standards)
See F05HVCBa3.doc for the current HVCB Standard listing and status report

- C37.04b – TRV Revisions WG	Kirk Smith
See F05HVCBa6.doc for WG meeting minutes

- C37.06 – Preferred Ratings	Georges Montillet
See F05HVCBa5.doc for meeting minutes

- C37.09 – Test Procedures
Reaffirmation ballot pool is forming.  The ballot will not be submitted until it has been decided if an errata or a corrigenda is the correct way to proceed.

- C37.010 – Application Guide	Yasin Musa
Need to collect a list of topics that people would like to see added or changed in this document to prepare for the next revision.

- C37.011 – TRV Application Guide	Denis Dufournet
See F05HVCBa7.doc for meeting minutes

- C37.012 – Capacitance Switching Application Guide	Anne Bosma
Two issues need to be addressed:  The ’Class C0’ and the 100 kA-kHz value.

- C37.013 – Generator Circuit Breakers	Bill Long
Extensions have been granted by IEEE to delay reaffirmation.

- Quality & Reliability	Bill Bergman
See F05HVCBa8.doc for meeting minutes

# Reports of Task Forces

- Transformer Data for Transformer Limited Faults 	Mel Smith
No report

# Reports of AdsCom WG

- Conversion Standards (C37.59)	Pete Dwyer

Since the last working group meeting in May 2005, a large number of further suggestions have been received from working group members, including the addition of more definitions of developing conversions. These have been drafted into a D4, which will be reviewed by the working group today. Our objective is to obtain consensus to ballot the result as soon as IEEE editing makes a final review after meeting results are incorporated.  See F05HVCBa4 for the meeting minutes

- Common Clauses (C37.100.1):	Dave Stone
There were 3 main topics of discussion: altitude correction factor, temperature rise allowences and requirements, and table of ratings.

- Capacitance Switching	Neil McCord
It was reported to start with C37.09a and merge the other capacitor switching standards into it.

# Reports of CIGRE

- CIGRE circuit breaker performance survey	Bill Bergman
Bill Bergman demonstrated the spreadsheet that is being used to record and report incidents of breaker performance.  The participation by North American utilities is poor, two (2) US and no Canadian utilities are participating in this worldwide reliability survey.

- “Longer Line Fault” TRV	Roy Alexander
Roy alexander described the activities of this joint CIGRE/IEEE WG.  TRV’s associated with 3-phase ’long line’ faults are being studied and compared with the current TRV values.  Recommendations for revisions will ultimately be the outcome of this WG.

# Old Business

- “Expectations of Controlled Closing”	Roy Alexander
No new activities have been taken on this subject.  Not sure if anything further will take place prior to the next meeting either.

- ”Out of phase tripping” report by Relay Committee	Manufacturers
Jeff Nelson reporting: Breaker capabilities were discussed.  It was questioned where the 25% value of Isc for out of phase switching rating came from.  The CIGRE application guide does discuss this..  The document is still in draft form, will be available in the future, possibly by the next SWGR meeting in May, 2006.

- C57.142 Transformer – Breaker interaction
Nigel McQuin reporting: The current status of this document was reported – the ballot had closed in Sept., 2005.  The contents are still considered inadequate in its treatment of the subject. AdsCom was requested to submit a formal request to IEEE for this standard to have dual sponsership by both the Transformer and Switchgear committees.

# New Business

- ”NEMA SG4” "transference of knowledge" to IEEE for inclusion in the appropriate C37 series
HVCB has been requested by teh NEMA SG4 Technical Committee to include the contents of NEMA Standard SG4 into the appropriate IEEE C37 series standards.  The objective being to eliminate NEMA SG4.

- Bill Bergman proposed to establish a system where technical documents, ’white papers’, background information, etc., be posted on the website for the benefit of the entire switchgear community.  Anyone having any such documents that would like to be posted on the website should send them to any committee oficer for consideration.

# Future Meetings

- Galveston, TX	May 7-11 2006

- Milwaukee, WI	Fall 2006

- Vancouver, BC	Spring 2007

- Pittsburgh, PA	Fall 2007

- Philadelphia, PA	Spring 2008