Reclosers and Other Distribution Equipment (RODE) Subcommittee

Meeting Minutes

Montreal, Quebec, Canada – October 4, 2005

| Members | Present: | Guests: |
| --- | --- | --- |
| Chris Ambrose John Angelis Bob Behl Ray Capra Harry Hirz Ed Jankowich Steve Meiners Don Parker | Francois Soulard John St. Clair Dave Stone Bill Walter John Wood Ken Workman Jan Zawadzki | Jeff Gieger Jodi Haase Eric Sagen Nenad Uzelac |

1.   Call to order

The meeting was called to order at 2:00 PM by Chairman John Wood.   There were 15 members and 4 guests present. The current RODE membership is 28 (see attached membership roster).

2.   Introductions

Members and guests introduced themselves.

3.   Membership Changes

None.

4.   Approval of Minutes

The Spring 2005 meeting minutes were approved without change.

5.   Chairman’s Report

ADSCOM’s meeting summary was reported.  See ADSCOM meeting minutes.

Randy Dotson is the WG Chairman for C37.100 dictionary revisions.  A representative from each subcommittee is required.  Chris Ambrose has volunteered to be the member from the RODE Subcommittee.

6.  Working Group Reports

a) Recloser Standard C37.60  This is a possible new working group.  Now in the formation stage.  Working Group Chairmen Bob Behl and Dave Stone reported the following:

NOTES FROM C37.60 RECLOSER WG MEETING 10/03/2005

Marcel Fortin Comments:

Need Comprehensive technical background before writing a PAR

Whatever this committee suggests, labs must be able to test and have reproducible results

C37.74 is developing similar standard changes.  We need to collaborate with them

We need a Task Force on 2 specific subjects

We need to be careful not to make conclusions for 2 different technologies based on testing results of one of them.

IEC Standard 60466 has supporting Cigre technical documents that we should get a hold of to aid in establishing the technical background for thermal cycling requirements.

Recommend merging together:

Solid Dielectric Thermal Cycling

Mode of Failure testing

Three standards should be the same:  C37.63, C37.74, and C37.60

Propose mandate for this Task Force

Xformer pD problems are due to core losses

Propose Spring 2008 Deadline for proposal for standard changes

Extinction Voltage, which could be above max operating voltage, could be much more significant than pD

We need one Task Force to study mode of failure and test method

Jodi Haasz Comments:

IEC complaint – no reference to IEC stds. in C37.60

Dave Stone Comments:

Ask IEC to be on WG

Not sure we will find something that is appropriate for Thermal Cycling in C37.60

Need to develop laundry list of items that need to be addressed for changes to C37.60

Joint IEC/IEEE logo is approved

We need to find out how the game is played in dealing with IEC

We need clarify with the RODE committee on how to do this.

We should pull common requirements into document (both IEC and ANSI) but don’t reference common requirements documents

I recommend no PAR at this time but we should generate a list of potential changes from everyone

Francois Soulard Comments:

We should standardize interface between controls and recloser

Randy Dobbs Comments:

Maybe Controls should not be in this standard

We should roll in C37.100.1

Don Parker Comments:

Don’t take NEETRAC report literally because it has flaws in communication of its intent

SUMMARY:

No PAR at this time.  Will need to Establish WG and TF for study on Technical Background.  Solicit input for other changes to standard.

b)Sectionalizer Standard C37.63  Working Group Chairman Marcel Fortin.

Marcel was not able to attend this RODE meeting.  However, he sent the following report:

Approved.  Published and available in electronic format on the Web.  WG member will receive their electronic copy this week.

c) Capacitor Switch Standard C37.66  Working Group Chairman Harry Hirz reported the following:

Approved by RevCom on 09/21/2005.

d) Underground Switchgear Standard C37.74  This is a possible new working group.  Now in the formation stage.  Working Group Chairman Steve Meiners reported the following:

Verbalized the patent and inappropriate topics slides for IEEE.

All in attendance made introductions.

Passed out an attendance sheet and requested members to so mark their desire to participate when a WG is formed.

There were seventeen people in attendance for this meeting.  On this list seven individuals indicated that they would participate in a working group to revise this standard once a scope is defined.  This list will be retained and membership to a WG, when formed, will remain open.

John Wood presented to the team the discussion on solid dielectrics, thermal cycling, and failure mode analysis testing from the RODE meeting on Tuesday.  A task force is to be established to take up the work on solid dielectrics.  A TF chair is still open and working group members are being requested.  The first priority for this task force will be to define the scope on this effort.

Dave Stone cited as an example how a VI in SF6 if a phase fails you would not know so a test was developed to detect this condition.  The point is we have emerging technology and we need to analyze this to determine what testing and construction specification may need to be used.

Requested suggestions from meeting participants on C37.74 revisions or additions.  Some suggestions are listed below.

Test lab results or ambiguity information.

PD further clarification & test level definitions.

Non-reclosing FI table clarification.

Incorporate C100.1 common clauses.

Question and clarification was given for PAR development and start of WG.  Matt Caglia stated that the period of time from WG formation to PAR approval is six months.

This is a task force till a PAR is submitted.

The solid dielectric task force is looking for a chair and will be the bases for the addition of testing and/or manufacturing requirements for these types of products.  Once a chair is selected John Wood will notify the RODE subcommittee and the other task force members.  This work will be critical to establishing the bases for future standard work.

At this time the meeting was concluded.

We will meet again in May and at that time review work of the solid dielectric task force and as a team make a decision on how to proceed.

e) Task Force on Controls for Distribution Equipment   Task Force Chairman Bill Hurst.

The taskforce chair, Bill Hurst, was not able to attend this meeting due to flight complications.  John Wood, RODE chairperson, asked Frank DeCesaro to facilitate the meeting in Bill’s absence.

An attendance list was circulated and is attached to these minutes.

Ed Jankowich read the minutes from the previous meeting.  Ed also reminded the group that he could supply copies of IEC standards if requested of him by email (emjj@ieee.org).  Frank reviewed that the IEEE has previously informed Bill Hurst that we can share IEC documents for committee work.  Ed reminded the group that every switchgear meeting is to begin with a review of the patent and secret disclosure per rules setup last May.  John explained what this meant.  The group was encouraged to visit the switchgear web site to obtain the complete wording of this statement since one was not available at the meeting.

Frank provided a summary of the group’s mission.  John stated that his utility has had problems with harmonics and equipment malfunctions based on high temperatures.  John also commented that this group was very important and should continue working towards an output.

Bill had provided a document with the previous meetings minutes.  This was used as a starting point for today’s discussion.  Bill will be requested to resubmit this to the group when today’s minutes are emailed.

The sub-groups to this taskforce were asked for an update.  This provided:

Temperature, Humidity, and Frost: (Chuck Ball)

Chuck found little in the way of specific requirements.  Requirements found in Bill’s list were not as severe as the equipment was to be controlled.  Chuck passed out Draft 3 of Section 5 from his group’s contribution to the Guide for Distribution Controls.

Draft 3 recommends matching the control environmental conditions to that of the equipment it is designed to control.  This led to a discussion regarding the definition of ambient.  Is ambient to be defined as inside the control box or outside of it?  This can make a difference whether the control is an integral part of the apparatus it is controlling or a stand-alone device linked by an umbilical cord or radio.  This generated further discussion since some controls will be in the sun and others underground. Francois Soulard  proposed that the ambient be based on the temperature outside of the equipment.  He suggested that we change the wording to say “applicable to equipment associated with equipment control”.  Don Parker suggested defining both outside and inside conditions.  Don felt that most harsh environments for distribution devices are outside the substation. Boxes mounted on poles have a lot of internal factors that indoor mounted controls do not have.  Some controls self generate heat.  It was agreed that the ambient should be defined as outside the box.  Chuck, stated that what we eventually do will be based on whatever format the product of this taskforce will have.

ACTION ITEM:  Bill Hurst is requested to place an agenda item for the next meeting to have the group finalize a format for our output whether as a paper, guide, or standard.  This needs to be resolved so the groups know how to proceed.

Don Parker also commented that some controls have batteries that may omit gases and, if they accumulate, can be ignited by an arc.  He stated that some vendors are including a fan to extract the fumes out of the box.  It was asked if this group should consider the recycling requirements of the equipment at the end of its life.  John Wood stated these issues are not the responsibility of our group and everyone agreed.

Mechanical Vibration: (Bill Hurst)

Bill was not at the meeting.

Harmonics: (John Angelis)

This group has hit a roadblock and needs some of the IEC standards.  Ed Jankowich reiterated his offer to supply IEC standards to the groups.  John will contact Ed to get what he needs.

Grounding Variations: (Harry Hirz)

Harry Hirz was not at the meeting but Ken Workman is part of this sub-group and reported.  This group stated that there are two considerations for grounding.  One is based on 60 Hz and is more safety related.  This is relatively clear cut but the safety practices in place.  The other is grounding considerations during high frequency surges.  They feel that this is more related to the lightning and other surges group’s area.  There was much discussion on this.  There are several approaches to this.  One is to try to limit the magnitude of the surge voltage and that would relate to getting inductance out of the leads.  Not an easy task.  Another approach is to protect and limit the overvoltages that can occur.  The end result is that this group will coordinate with the lightning and other surges group on grounding considerations.

Electro-Magnetic Interference: (Bob Behl)

Bob Behl, has a multi-tab spreadsheet with a list of standards, titles, features, and with mapping to others standards.  He will clean out propriety information and send it to Bill to share with the taskforce.  Bob also found a MIL spec on an engineering practice study #MIL461E.  Bob will also see that this document is submitted to Bill for inclusion with the minutes.

A comment was made that we have another protective relay standard, PC37.92 coming out that we should watch for.  It will have new requirements for relay. C62.41.1 and .2 and 62.45 are ones that may need to be looked at.  One of the members said that these were the most comprehensive list of standards he could find for transient testing.

Lightning and Other Surges: (Frank DeCesaro)

Frank reported that a list of testing concerns relating to regulator controls was obtained but also needs to be sanitized before disseminating to the group.  He will continue with this and send it to Bill Hurst.

User Survey: (Francois Soulard.)

The survey document has been prepared.  Francois plans to distribute it through the IEEE membership first before going out to others.  The purpose of the survey is to take pulse of utilities and industry to understand the expectation of needs on what is or what is not being requested for controls.  The taskforce will compile all the information by next Spring’s meeting.  Distribution may also go through the Canadian standards.  Francois is also developing a network of people to distribute the survey to Canada. Francois will send the survey to Bill to publish with the minutes.

ACTION ITEM: Taskforce members are asked to provide a name(s) of key that Francois can contact to take the survey.

ACTION ITEM: Francois will ask that the search for volunteers be included on the Utility get together agenda.

ACTION ITEM: Frank will check with Enrique of LAPEM to see if Mexico can supply some information.

7.   Old Business

None.

8.   New Business

Solid dielectric equipment is emerging technology and we need to analyze this equipment to determine what design tests, routine tests, and construction specifications may be needed/used.  The solid dielectric equipment will affect many standards, including C37.60, C37.63, C37.66, and C37.74.  Due to this equipment affecting many standards, the RODE Subcommittee members agreed that a RODE Subcommittee Task Force needs to be initiated to investigate this type of equipment.

This Task Force Chairman is Chris Ambrose.  A small team of 2-Users,  2-Manufacturers, and 2-Test Lab members would be most effective for this task force.  The task force team members are: Randy Dotson, Don Parker, Steve Meiners, Jeff Gieger, Enrique Baqueiro (potential member), and Marcel Fortin.

9. Next Meetings:

- 2006 Spring meeting, May 7-11, 2006, San Luis Resort, Galveston, Texas.  NOTE: Date is subject to rescheduling due to T&D show date possible conflict.

- Fall 2006, Milwaukee, WI.

- Spring 2007, Vancouver, BC.

- Fall 2007, Pittsburg, PA.

- Spring 2008, Philadelphia, PA

Respectively yours,

John G. Wood, P.E.

Chairman

RODE Subcommittee

Attachments:

See F05RODEa1 - RODE Standards Status Report.

See F05RODEa2 - RODE Membership Roster