Reclosers and Other Distribution Equipment (RODE) Subcommittee

Meeting Minutes

Galveston, Texas – May 9, 2006

| Members | Present: | Guests: |
| --- | --- | --- |
| Chris Ambrose Jerry Baskin Bob Behl Bob Brown Ray Capra Marcel Fortin Harry Hirz George House Ed Jankowich Don Martin | Steve Meiners Don Parker Tim Royster Francois Soulard John St. Clair Bill Walter John Wood Ken Workman Jan Zawadzki | Antone Bonner Larry Davis Frank DeCesaro Glenn Dorsey Jeff Gieger Jim Swank Walt Von Miller |

1.   CALL TO ORDER

The meeting was called to order at 2:00 PM by Chairman John Wood.   There were 19 members and 7 guests present. The current RODE membership is 27 (see attached membership roster).

2.   INTRODUCTIONS

Members and guests introduced themselves.

3.   MEMBERSHIP CHANGES

Harvy Bowles and Ian Harvey have resigned from the committee.  Jerry Baskin is a new member.

4.   APPROVAL OF MINUTES

The Fall 2005 meeting minutes were approved without change.

5.   CHAIRMAN’S REPORT

ADSCOM’s meeting summary was reported.  See ADSCOM meeting minutes.

Randy Dotson is the WG Chairman for C37.100 dictionary revisions.  A representative from each subcommittee is required.  Chris Ambrose has volunteered to be the member from the RODE Subcommittee.

6.  WORKING GROUP REPORTS

a) Recloser Standard C37.60  This is a possible new working group.  Now in the formation stage.  Working Group Chairmen are Bob Behl and Dave Stone, and Bob Behl reported the following:

- Motion to enter a PAR was granted.

- Formed working Group to incorporate Corrigendum and any other changes to C37.60-2003 (new revision) that are deemed necessary.

- Ed Yankowich suggested we study C37.61 to determine why number of Automatic shots were selected.  Look at Addendums A and B.  For example, why 56 shots were chosen for 45-55%  Interrupting current shots.  This information should be in the new revision.

- Dave Stone and Bob Behl need to write the Scope for the PAR ASAP.  Scope may reference what is being done on the task force.

- A comment was made regarding PC37.230 Draft 4.  There maybe something in this standard that may apply to new rev.

- Get Microsoft Word format of all pertinent standards and distribute. (Bob Behl)

- New Rev should include any thermal cycling requirements.

Francois Soulard Comment:

- Need tests on electronics that is installed in the Recloser cabinet.  Steve Meiner suggested we survey test labs  on this.  Jerry Baskin said to ask STNLA for info on this.  Steve Meiner volunteered to pursue STNLA for this information.

- Number of Working group members is 18.

b) Capacitor Switch Standard C37.66  Working Group Chairman Harry Hirz reported the following:

Standard is now published and available for purchase.

c) Underground Switchgear Standard C37.74  Working Group Chairman Steve Meiners reported the following:

Open meeting with welcome and introductions.  A roster sheet was circulated and a request to identify on the sign-in sheet desire to be a member of this working group.

There were 14 individuals in attendance, and 9 have volunteered to be members of this working group.  Membership will remain open for this team, for some individuals were not in attendance for this meeting.

The IEEE patent and inappropriate topics information was verbalized to the attendees.

The current state of this standard is a publication of 2003 and is time for us to begin working on a revision or enter a reaffirmation ballot.

Motion made for acceptance of the meeting minutes from October 2005.  Minutes were attached to the RODE subcommittee minutes.  No objection to those meetings and the motion to accept was carried.

Request was made for everyone to use an IEEE alias e-mail address if you do not have one to go create it.  Very easy to create from Myballott go to My Profile and there you can enter the address id you chose and where you want the e-mail to be forwarded to.

Reviewed the areas for revision to the standard from October’s TF meeting.

- Collect test lab results or ambiguity information.  This can follow a similar approach as being used in the Controls TF.  There a survey has been created and distribute this to the STLNA Chair, Marcel Fortin.

- PD further clarification & test level definitions.  Currently in C37.74 PD is presented as a trail test, it was felt that this could now be firmed up in the new revision.  It was requested that manufacturers provide data as a result of current PD testing on products.

- The non-reclosing FI testing should be reviewed for clarity.  A reference is to C37.60 but not specific to a particular table or testing procedure.

- Harmonization with C100.1 common clauses and IEC common terms.

- Para 9.1 – seems to be specific to tank types of construction and padmount enclosed DSG have ground bus.  Recommendation for short time withstand current testing of this type of construction be added to standard.

- In Para. 9.10 reference to enclosure integrity standard C57.12.28 is made to an incorrect paragraph reference.

- A general scope change in wording can also be made to allow application of this standard for indoor applications as well.

- Some of the Power Frequency withstand test levels need to be harmonized with the other swgr standards.

- Review the testing in the cable connector standard 386 and harmonize with this standard.

Other inclusions and revisions that have an opportunity to be made to the standard would result from the TF work.  TF namely Controls for Distribution Equipment and Solid Dielectric will result in inclusions into the standard.  The PD WG (C37.301) will also require references to that standard to be added.

It was suggested that IEC be contacted for participation in this WG on this standard.  Steve Meiners to contact Dave Stone & IEC members to find out how to give this invitation.

A motion was made for a revision to be made to this standard in light of these recommended changes.  A vote was taken from those present and was unanimous.  Those that indicated on roster sign-in sheet to be members will be accepted.  This meeting will be the first meeting of the working group and we will have six months for submission of the PAR.

Focus turned to definition of the scope for the PAR.  It was recommended by John Wood that the scope be written as general revisions with mention to the TF areas of study.  Wording will be created by Steve Meiners and circulated to the WG for review.

Several standards as well as an electronic copy of C37.74 in Word format will be requested from Matt Ceglia of IEEE.  The standards to be requested are.

- C37.74-2003

- IEEE 386 (ballot copy)

- C57.12.28-1999, also C57.12.29-????

- Western Underground standard

- IEEE 1247 (C37.39)

A suggestion was made to use the Word Sharing feature and place a copy of C37.74 on the Website.  This way each individual changes will be captured in the shared document for our review at the next meeting.  Steve Meiners to talk to Mietek about this feature and possibility.

After the meeting Steve approached Mietek and reviewed this possibility.  The Website is only one-way and can only allow downloading not up-loading of documents.  This method will not work with our present Website setup.

It was also discussed with Mietek that a C37.74 WG area can be setup under the RODE Webpage and these electronic documents stored there for member downloading.  The documents will be password protected and only the members will have the password to access the documents.  This will be pursued.

For comments we will use the existing method of putting comments into the comment from and sending to WG Chair for correlation prior to our next meeting.

It was discussed in the meeting that the WG members would return completed comment forms six weeks after receipt of the password and ability to download the electronic copies of the various standards.

Time is needed to correlate the comment forms into one document to review at our next meeting in Milwaukee in October.

Opportunity was given at this time for any additional comments and/or questions.  None were voiced and a motion to adjourn was made and seconded.

Steven Meiners-WG Chair C37.74

d) Task Force on Controls for Distribution Equipment   Task Force Chairman Frank DeCesaro (temporary) reported the following:

Bill Hurst has respectfully asked to be replaced as chairperson for this group because of business commitments.  Bill plans to continue participating as an active member of the taskforce.  The taskforce extends its thanks to Bill for the work performed as chair.

Frank DeCesaro agreed to facilitate today’s meeting until a permanent chair is found.  (See report on Agenda item #3).

- Call to Order:

- Slides #1 and #2 of the IEEE-SA Standards Board By-Laws on Patents in Standards was circulated and discussed by the chair.

- Review and approval of October 3, 2005 Minutes:

- The minutes from the previous meeting were reviewed.  John Wood noted that they were included in the RODES minutes from the Montreal meeting. No changes were needed.

- Selection of New Chairperson

- Frank DeCesaro reported that Bill Hurst requested to be replaced as chair due to business demands.  Bill plans to continue participating as a member of the group.

Bob Behl offered to chair this taskforce if he will not be co-chairing the C37.60 group.  Frank will check with Dave Stone to determine if he intends to remain as C37.60 chair.  If so, Bob will relinquish his co-chair responsibilities and chair this task force.

Francois Soulard volunteered to co-chair this taskforce if needed.

Final outcome on chairmanship will be communicated via email once resolved.

- Taskforce Output Format:

- The taskforce has been together for several years and should start creating a document.  This requires deciding whether the output of the group will be in the form of a paper, guide, or standard.

The group discussed this in-depth.  It was decided to produce a guide because that requires maintenance.  Also, the guide could be transformed into a standard in the future.

- Group Reports:

- Temperature, Humidity, and Frost (Chuck Ball)

- Chuck Ball was not able to attend.  Jeff Gieger reported the group still needed to decide where ambient temperature is defined, inside or outside the cabinet.  Consensus was standards define it outside therefore this group should refer to outside.  The guide can expand on the fact that supplier has to be responsible for inside temperature.

- Mechanical Vibration (Bill Hurst)

No group members were present. A question was raised if mechanical vibration was seismic.  John Wood explained that it was dealing with pole vibration.  Vibrations incurred in shipping were also mentioned.  Bob Behl explained about a MEOST SP? test his company is performing which follows a guide on DOT testing for vibration.  Bob will forward that to Frank for sharing.  There is also a seminar in Florida that Bob wants to attend.  He will share information.

- Harmonics (John Angelis)

John was not present.  Frank will get an update from him.  Ken Workman will send a list of standards that SEL uses to John.  Francois Soulard reported that he just received authorization to proceed with function and interference tests on controls.  Controls will be installed on a real time simulator at Ireq.  He will try to provide feedback on their findings.

- Grounding Variations (Harry Hirz)

Harry was not present.

- Electro-Magnetic Interference (Bob Behl)

Bob just obtained the MIL Std. 461E, “The Requirements for the Control of Electromagnetic Interference Characteristics of subsystems and Equipment”. There was a class offered on this in March that he did not get to attend but has the syllabus from. He will forward this to Frank for sharing.

- Lightning and Other Surges (Frank DeCesaro)

A summary of testing standards used for regulators was circulated to the group.

- User Survey (Francois Soulard)

The user survey had previously been approved for distribution.  Francois sent it to people in Canada but did not get any returns.  The survey will be distributed to each member of the taskforce.  Each member is to send it out to at least one person in his or her company or utility that they know.  It needs to be pointed out that this is a BLIND survey.  The reward for participation is a copy of the summary report that Francois will write.

Francois mentioned that in 1998 Marcel Fortin proposed a control-testing requirement for C37.60 to consider.  It was based on a survey in Hydro Quebec.  It was decided that this should go to the control group.  Francois will forward a copy to Frank to distribute to the taskforce.

- Action Items:

- Frank will provide information to the group on obtaining MIL standards on the web.  See below:

Go to http://assist.daps.dla.mil/online/start/  You will need to setup an account.  One you have your account login and click on search.

- Francois will provide other specification that Hydro Quebec uses relating to lightning and other surges to Frank.

- Each taskforce member is asked to send out the survey and follow-up to see that it is completed.  It is important to let people filling these out know to return it to Francois as stated on the survey to maintain a blind survey.

- A Hydro Quebec control-testing document will be supplied by Francois to be distributed to the taskforce.

- New chairperson will be announced to the taskforce once known.

- ALL GROUPS TO HAVE ROUGH DRAFT OF THEIR SECTIONS STARTED OR COMPLETED BY FALL MEETING.

e) Task Force on Solid Dielectric  Equipment   Task Force Chairman Chris Ambrose reported the following:

Introduction and Roster

The task force convened for its first meeting at 1:30 PM, with 7 members present, 1 member excused, and 19 guests.  The roster is attached below.

IEEE Slides on Patents and Inappropriate Topics

The required slides on patents and the need to avoid commercial issues were presented.  No concerns were raised on these issues.

Task Force Theme

Do the existing standards adequately cover the design and testing for the solid dielectric equipment?

Many manufacturers are producing solid dielectric equipment, and the users are concerned that this is not properly addressed by the existing standards.

The manufacturers and testing facilities should be able today specify the thermal cycle tests and other tests that are needed for solid dielectric equipment.

That way we could very soon be able to add these necessary requirements to the standard which would greatly benefit the industry.

Review of Existing Standards

- Cigre has a WG in solid dielectric, WG A3.21, “Aspects for the application of non-ceramic insulators to HV and MV apparatus”

“The active parts inside electrical apparatus interact with the insulating housing (especially if made of non-ceramic materials) and may influence the behavior of the equipment. The work shall cover all the major aspects of this interaction: i.e thermal, mechanical, electrical and environmental.”

- There are weaknesses in the standards switch standards.

- Insulator testing, for instance, uses boiling salt water followed by immersion in an ice bath.

Concerns with existing standards and Methods

The following concerns were expressed with the following standards and methods:

- Scope needs to include encapsulated type devices (switches, interrupters, etc.).

- Dielectric interaction between the interrupter and the solid dielectric needs to be addressed.

- PD measurements with open contacts would allow pattern recognition to be used to identify the source of PD within the device and/or its dielectric.

- Aging / thermal cycling -- the best way to find impending problem is to run the device trough a thermal cycle (-40 to +85 for 50 cycles) simulating an aging process related to differential.

- HQ tests interrupting tests (12 kA) at -40 and PD tests before and after, 3 fault interruptions.

- Observations for different type of material: only few cycles (4 to 5) the delaminating problems do not show. Those who passed the 50 cycles tests perform well.

- There appears to be a correlation between thermal cycling and actual aging of the solid dielectrics and, ultimately, the overall life of the equipment.

- Test criteria: PD after the cycle. Bad PD specimen has been X-rayed and the defects have been seen. Value of PD 2 pC.

- Pre-stress voltage for PD: 60 Hz rated withstand.

User Expectations

- New equipment - we want to make sure that they will last for 40 to 50 years in service.

- Similar materials are out on the system for many years now. Expected life for utilities is 40 to 50 years. What do we want and what do we expect.

- The depreciation life is 30, but we expect more.

- The expectation is no end of life. We don’t know these polymers will perform. Whole different sort of materials that perform and react differently.

- Expect 40 years for all type of materials.

- Rapid temperature aging simulates aging.

- Curing and changes with time. And curing with time. Surface reactions.

- Emphasize the complexity of aging (chemical, mechanical interfaces, surfaces exposure to chemical and electric field). Literature search is necessary.

- Optical instrument experience. Emphasize the importance of thermal cycling. 3 out of 6 units failed. 35 thermal cycles

- Manufacturer change the insulator shape, the skirt was not good for insulation contamination. Changing from porcelain to polymer is not straightforward. The washability of the material and UV or chemical changes.

- Look at insulator standards for aging tests, tracking wheel, etc.

- Cigre: effect of the insulation system on the interrupter and vice versa.

- Several types of solid insulation material

- Summary of the tests performed by HQ. Lineman’s perception is that the surface gets bad looking with time. Some equipment is followed for 7 years.

- Are the actual interrupters tested at extreme temperature specified in the standard?   Manufacturer Yes.

Manufacturing realities

- IEEE 386.  Is this applicable to solid dielectric equipment?  Is it enough?

- Some do thermal cycle test; do they add on or not. Can we induce failures or failure modes that would never occur in the field?

- Might these tests be prematurely aging the materials and inducing additional defects?

- What is the field experience? Is there a problem out there? Products are good out of the box but how will they perform down the road.

- Be very specific in defining the thermal cycle. Does the interior achieve the desired temperature? How long to keep it at -40 to make sure the interior gets to the assigned temperature.  What rate of rise?

- The environment and application parameters have a major impact on the life. Different material will have different behavior (i.e. glass transition temperatures).

Identifying the Gaps

- How good is the product initially?

- How long will it last?

- How can we best test to discriminate between designs?

- Soft (elastomeric) vs. hard (epoxies).

- Bottle to insulation interface.

- Surface condition and “washing” issues.

- Voltage gradient differences between inside and outside of solid dielectric material.

Action items and assignments

- Send the chair a list of all the applicable standards and/or papers that can be relevant. (1st of June).

- Chris will complete the bibliography search.

- Marcel: send Chris the tools to analyze the bibliography

- All - rank the papers

- Chris will get the papers and assign readers.

- Readers report to the TF at the Fall meeting.

- Standards review (TBD).

Attendance Roster

|  | Name | Company / Affiliation | M / G |
| --- | --- | --- | --- |
| 1 | Steven Meiners | GE - Plainville | M |
| 2 | Randy Dotson | Lakeland Electric | (excused) |
| 3 | Marcel Fortin | Consultant | M |
| 4 | Kirk Smith | Eaton Electrical | M |
| 5 | Jeff Gieger | Thomas & Betts | M |
| 6 | Enrique Baqueiro | CFE-LAPEM | M |
| 7 | Don Parker | Alabama Power Co. | M |
| 8 | Chris Ambrose | Florida Power & Light Co. | M |
| 9 | Bill Walter | WE-Energies - Milwaukee | G |
| 10 | Bob Behl | ABB | G |
| 11 | Don Martin | G&W Electric | G |
| 12 | Edward M Jankowich | Thomas & Betts | G |
| 13 | Francois Soulard | Hydro-Quebec | G |
| 14 | Frank Decesaro | Cooper Power Systems | G |
| 15 | George House | Yaskawa Electric | G |
| 16 | Harry Hirz | Joslyn Hi-Voltage | G |
| 17 | Jerry Baskin | Federal Pacific | G |
| 18 | John Wood | Pacific Gas & Electric Co. | G |
| 19 | Ken Workman | SEL | G |
| 20 | Larry Davis | Reuel Inc. | G |
| 21 | Nick Rassias | Gannett Flemming | G |
| 22 | Ray Capra | Consultant | G |
| 23 | Roy Alexander | PPL - EU | G |
| 24 | Thomas Tobin | S&C Electric Co. | G |
| 25 | Tracy Comely | Warco Inc | G |
| 26 | Trey White | Bridges Electric Inc. | G |
| 27 | Walt Von Miller | Reuel Inc. | G |

Chair: Chris Ambrose

Vice-Chair / Secretary: Marcel Fortin

7.   OLD BUSINESS

None.

8.   NEW BUSINESS

John Wood has resigned as RODE Subcommittee Chairman, and Steve Meiners is the new chairman.

9. NEXT MEETINGS:

- 1-5 Oct 2006, Milwaukee, WI.

- 6-10 May 2007, St. Pete Beach, FL or Orlando, FL

- 30 Sept - 4 Oct 2007, Pittsburg, PA. or Philadelphia, PA

- 4-8 May 2008, Portland, OR or Las Vegas, NV

Respectively yours,

John G. Wood, P.E.

Chairman

RODE Subcommittee

Attachments:

See S06RODEa1 - RODE Standards Status Report.

See S06RODEa2 - RODE Membership Roster