# Report to IEEE SWC, S/C: HVS

# WG 1247, Milwaukee, Wisconsin, 4 October 2006

# Meeting

Meeting took place from 10h15 to 11h30 with 17 attendees, 7 members, 10 guests.

Patent slides have been shown and no patent issue have been raised

# WG or TF decision

Work continue in TF2 (TRV and active load switching) and in TF4 (inductive load switching). Report will be made at the spring 2007 meeting.

## Recommandation to HVS S/C

The WG recommend HVS S/C:

- To withdraw from the standard the load switching test procedures, namely the active and inductive load switching, and make it a Test Code under ADSCOM S/C;

- To keep the standard, with a new C37.xxx number, as a product standard for interrupter switches under HVS S/C.

- Note 1: Marcel Fortin would accept to chair the 2 WG, with Lowell Brothers being co-chair for the product standard.

- Note 2: Possible no for the product standard: C37.30.2 (to be confirmed by Alex Dixon and Mike Wactor).

# Course of action

- Chair :

- Prepare the 2 draft PARs (Test Code and Product Standard).

- Obtain, from Alex Dixon and Mike Wactor, the C37.xx no for the 2 documents.

- TF2 : continue simulations and report to spring 2007 meeting

Marcel Fortin, ing

10 October 2006