IEEE SWITCHGEAR COMMITTEE CORRESPONDENCE

Minutes:	IEEE High-Voltage Fuse Subcommittee

Place:	St Pete Beach, FL

Date:	May 9th 2007

Presiding officer:	John Leach - Chair

Recorder:	Frank Muench - Secretary

MEMBERS PRESENT

G. Borchardt		S & C Electric Company

F. Calderon 	AC Electric Systems

R. L. Capra 	Consultant

F. Ladonne	Underwriters Laboratories

G. Haynes	ABB Inc.

J. G. Leach	Consultant - Hi-Tech Fuses

J. R. Marek		Consultant

F. J. Muench	Cooper Power Systems

D. Parker		Alabama Power

T. E. Royster*		Dominion Virginia Power

M. Stavnes	S & C Electric

J.  Zawadzki	Powertech Labs Inc.

J. G. Wood		Pacific Gas & Electric

MEMBERS ABSENT

J. G. Angelis*		Maysteel

R. H. Arndt*		Consultant

L. R. Beard*	A.B. Chance Co.

J. G. St. Clair	Consulting Engineer

H. E. Foelker*	 	Central Power & Light

S. P. Hassler*		Cooper Power Systems

R. N. Parry		Cutler Hammer

R.    Ranjan*		Consultant

J. S. Schaffer		G & W Electric Co.

F. M. Stepniak		Elastimold/T&B

* Correspondence Only

GUESTS

Chris Ambrose 	Florida Power and Light

Fernando Ciprian	Thomas and Betts Corp.

E. M. Jankowich	Thomas and Betts Corp.

- Call meeting to order

- Began meeting at 3:50 PM.

- Member /guest introduction

- Completed

- Roster check - membership changes – resignations

- Apologies were received from John Schaffer and Neville Parry. Gary Haynes requested, and was granted, membership of the subcommittee.

- Approval of May 10th, 2006 minutes

- Minutes were accepted without comment; therefore accepted as published

- Chairman's report

The patent/inappropriate topics slides were reviewed.

- ADSCOM Report

  - C37.100: The latest information from IEEE is that C37.100 will become a compendium of terms, gathering all our definitions into one place, but that, because it will not be a standard, re-affirmation will be unnecessary. Subcommittees will need to supply a list of definitions from their document (this will be relatively easy for us since we already have them collected in C37.40).

  - C37.100.1, Common Clauses was approved by REVCOM last Monday.  This was after rejection by the Standards board and the need for re-circulation involving the rebuttal of a negative vote.  It was proposed that all working groups be required to check C37.100.1 to determine if its clauses can be incorporated into new and revised documents.  The following motion was proposed and passed:

“The subcommittee chairs are directed to instruct Working Groups involved with the creation and/or revision of documents under their respective scope, to consider the incorporation of C37.100.1 into these documents as suggested in Annex A of C37.100.1 during the creation or revision process where appropriate.

Subcommittee Chairs will incorporate a status report concerning progress of adoption of C37.100.1 into reports to ADSCOM.”

  - Standards Coordination:  Our standard C37.48.1 requires action before the end of 2007.  It must be re-affirmed, revised or permitted to lapse.  I told Michael Wactor that I was aware of this and had planned to discuss this in “new business” at our SC meeting.  He has to inform IEEE before October.

  - Dual Logo (with IEC).  The Automatic Reclosers document (C37.60/62271-111) has been a dual logo standard long enough that it is up for renewal/maintenance.  It is the first such document and so is running into problems involving procedures.  There has been opposition to the present document, primarily from the UK.  It has been decided that a joint working group/maintenance team be set up.  The IEEE will set up a normal WG and have the IEC nominate national experts to participate. Meetings will be held in the USA and Europe to make changes to the document to satisfy European concerns.

  - Guidelines have been written, based on IEEE documents, to help SC respond to requests for interpretations of standards.  Significant points are:

    - An individual should never attempt to respond to a request for an interpretation.  It must come from the Subcommittee after an appropriate “vote” (liability issues).

    - A document cannot be changed in response to an interpretation, but the requestor can be told that if clarification of a document seems appropriate, it will be examined at the next revision.

    - It can be decided that the request is not for an interpretation (we should not provide consulting services).

    - Responses should be made in an expeditious manner.  However, if the request is between meetings, the requestor can be told that a response will not be forthcoming until after the next meeting.

  - We would still like an assistant Webmaster.

6) Working Group Reports

a) Revision of Fuse Specification Standards:  Mark Stavnes reported that 11 members and 1 guest were present at the Monday meeting.   There was a request from 2 individuals to become members of the working group.  Their request was granted,

At the meeting a review of standards being updated was completed

  - C37.45  Approved by the Standards Board on March 22, 2007

  - C37.43  Draft 9 ready for Ballot.  A balloting group request was initiated on May 6, 2007.  Page 10 section 8.2 d.  Needs to be corrected as a single statement.  (Refer to minutes from the last meetings.  This will be updated before distribution.

  - C37.42  PAR submitted May 6, 2007.  A review and discussion of Draft 5 took place.

- Work focused on working through consistent nomenclature for the title and scope. The proposed title is:  “Specifications for High Voltage (greater than 1000 volts) Expulsion Type Distribution Class Fuses, Fuse and Disconnecting Cutouts, Fuse Disconnecting Switches, and Associated Fuse Links .“  After completion of the proposed changes we will accept comments from the working group and then proceed with balloting.

- It was noted that changes in definitions in C37.40 will need to be reviewed and the scope details in C37.41 will also need revision.  The working group will generate proposals to do this.  The working group concluded that Power fuses are not part of C37.42.  Suggested changes will be reviewed as being part of C37.47 where they would be more appropriate.

  - New Pars for C37.46 and C37.47 are to be requested. Application data, which was kept in these documents, should have been moved to C37.48.  This will be verified and any other changes will be identified before requesting the par.

b)	Revision of Fuse Standards: John Leach reported that the group met on the morning and early afternoon of May 9th with 9 members and 6 guests.  In reviewing work items, it was agreed that a task force will address non-ceramic insulators used in cutouts and power fuses, and will attempt to formulate requirements by September 07.  Draft 7 of PC37.41 (fuse test standard) was reviewed and a few changes made, primarily in the area of scope.  This will require a revised PAR, as disconnecting cutouts are covered in our standards, but not mentioned in the scope.  Also motor-starter fuses have been added, from C37.53.1.  It was also agreed to expand the section discussing “cross-over” testing requirements for current-limiting fuses, to be more in line with the new IEC rules (for which we had a substantial input).  The aim is still to have a first IEEE ballot by January 1 2008.  A recommendation was made to request that C37.48.1 be revised (see new business).

- Report of liaison to other committees

- ER&P Committee – J. G. Leach

  - Minutes will be posted on the web 4 weeks after a meeting with all that are available.

  - Thursday AM session can be used for PD credits in some states.

# Switchgear Common Clauses – Frank Muench reported no meeting as C37.100.1 has been approved by REVCOM.

- Report of IEC activities - J. G. Leach

No meetings since the last report, but a CDV has been voted on (see attachment A, for details).

- Unfinished business

None

- New business

Revision of fuse Standards Working group requested permission to apply for a PAR to revise C37.48.1.  This is the “tutorial” document for the application of current-limiting fuses.  Since its 5 year life is up this year, an action is required.  Since there are minor errors in the document and some of the figures were not well reproduced by IEEE a revision rather than a reaffirmation was feltto be best.  The motion was proposed by J. Leach (chair RFSWG) and seconded by M. Stavnes.  The subcommittee approved unanimously.

- Next meeting –2007 Fall meeting, October 14th – 18th, 2007, Philadelphia, PA (Holiday Inn, 400 Arch St. – Downtown)

- Adjournment took place at 4:30 PM.

Respectfully Submitted, 	Frank Muench, Secretary

# Attachment A

# IEC Report 1-2007, May, 2007

From: Dr. John G. Leach, Technical Advisor SC32A, May 5th 2007

#### There have been no meetings of MT3 or MT4 since the September 2006 General meeting.  In December the Committee Draft Vote for IEC 60282-2 Ed. 3.0 (expulsion fuses) was issued.  The vote was due by 2007-05-25.  The TAG approved this document and the US National committee was so informed, along with seven comments (primarily editorial) on May 2nd. IEC 60282-1 Ed 6.0 is to be revised, in order to correct the significant number of mistakes present in this version (that was only issued in November 2005).  The plan is for a CD to be issued in October of this year, with publication in January 2009.

A meeting of MT3 and MT4 is planned for September 2007 in France.  These meetings will be held in conjunction with the 8th International Conference on Electric Fuses and their Applications (ICEFA), in Clermont-Ferrand.  Presently John Leach and Frank Muench have indicated their intention to attend.  MT3 will address a comprehensive application guide for fuses and, presumably, the CD for 60282-1.  We must be on our guard that no proposals to “water down” the changes we worked long and hard to get (that better reflect North-American fuse practices) are introduced.  MT4 will address issues raised by the CDV.

The TAG for TC32 voted to approve the transfer of the secretariat of SC32C (miniature fuses) to Mr. Jun Cai (China).

John Leach

TA for TC32 and SC32A