# TRV WG – Revision of C37.04, .09, …

Purpose of Meeting:

Discuss revisions to C37.04 and C37.09 for TRV. The objective is to revise these standards to harmonize the treatment of TRV between IEEE and IEC as much as is possible.

### Kirk Smith, Chair

1.	To TRV WG Members 	-

Please GET and USE an IEEE Alias!! This makes communications much easier, especially keeping e-mail addresses up to date.

2.	Attendance

16 Members and 30 guests attended.

3.	Discussion

- PC37.04b

  - Draft 13 was re-circulated for ballot

May 8, 2007 - Status after 1st re-circulation

| Response Rate % | Approval Rate % | Abstain Rate % |
| --- | --- | --- |
| 77.7 | 91.4 | 6.9 |

| Recirculation #1 |  |  |
| --- | --- | --- |
| Ballot Open Date: | 04/20/2007 |  |
| Ballot Close Date: | 04/30/2007 |  |

RESPONSE RATE

This ballot has met the 75% returned ballot requirement.

130 eligible people in this ballot group.

| 85 | affirmative votes |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 8 | negative votes with comments |  |  |  |  |  |
| 1 | negative votes without comments |  |  |  |  |  |
| 7 | abstention votes |  |  |  |  |  |
| 101 | votes received = |  | 78 | % returned |  |  |
|  |  |  | 7 | % abstention |  |  |

APPROVAL RATE

| The 75% affirmation requirement is being met. |  |
| --- | --- |
| 85 | affirmative votes |
| 8 | negative votes with comments |
| 93 | votes = 91% affirmative |

- Comments discussed from recirculation

  - 57 comments received from recirculation

  - most were editorial and were reviewed and agreed to by the chair

    - 49 	Agree

    - 8 	Disagree

    - 3 were comments on a different document

  - The WG reviewed all comments with which the chair either disagreed or had not decided on in May 2007

  - Additional discussion of some topics occurred at the Oct 2007 meeting

  - Since cable and line systems descriptions refer to tables elsewhere in the standard, then do not conform to the normal IEEE structure of a definition, so they will changed to “special terms”. See below.

3.1 Definitions

- 3.1.1 circuit breaker class S1

- 3.1.2 circuit breaker class S2

3.2 Special Terms

- 3.2.1 cable system

- 3.2.2 line system

  - Some equations were corrected

  - One Annex was eliminated

  - Effectively grounded definitions were discussed and the draft corrected

## PLAN FOR PC37.04b PROJECT COMPLETION

# 1 year PAR extension requested to end of 2008

# 2 Draft 14 has been created to address comments and resolutions of the negatives if possible

# 3 Re-circulate Draft 14 – Nov – Dec 2007

# 4 Fix any final problems – Early 2008

# 5 Submit to IEEE SA Board – Mid 2008

# 6 Complete project – December 2008

- PC37.09b

  - A PAR was sent in and fast track approval was requested.

    - On 07 December 2005 the IEEE-SA Standards Board approved the above referenced project until 31 December 2009.

  - A task force was formed at the May meeting comprised of:

    - Kirk Smith

    - Zhi Zu

    - Paul Barnett

  - No work done yet. The task force will start working on the draft soon.